## Slide 1
PICO superheated liquid technology
Background Mitigation with PICO
Recent Results
Future Plans for PICO
Conclusions
Outline
Tony Noble
Queen’s University
Recent Results and Future Plans for Dark Matter Searches with PICO

## Slide 2
What we know:
Non-luminous non-baryonic matter makes up a large fraction of the Universe.
It cannot have EM or strong interactions, as it hasn’t been observed directly yet.
What we don’t know:
The form of the matter
How it interacts and what the interaction cross-section is …
The mass
Search strategy:
The cosmic abundance hints at a electroweak interaction strength and extensions to the standard model can accommodate dark matter as the lightest SUSY particle. Hence many researchers are exploring the parameter space predicted by such theories, and are searching for spin-dependent or spin-independent interactions.

## Slide 3
Example showing activity in the field for spin-independent interactions.

## Slide 4
    Very low event rate expected
    ~(1 event per tonne/year)
Direct Dark Matter Detection…The challenges:
    Must detect tiny energy deposition of recoiling nucleus in WIMP-nucleus interaction. ~(1-100 keV).
    Need to remove ~all sources of backgrounds that can mimic the signal

## Slide 5
Multipronged approach world wide:
    Wide range of target materials
      Spin-independent and spin-dependent sensitivity
      Low, Medium and High mass WIMPs
    Different technologies
    Different backgrounds and systematics
For example, at SNOLAB alone:
DEAP Has sensitivity to SI sector and higher mass WIMPs
SuperCDMS Has sensitivity mainly to SI sector and low/medium masses
PICO Has sensitivity to low to high mass WIMPs in SD sector. Can exchange target fluids “easily”
NEWS Has sensitivity to very low mass dark matter in SI and SD
Together, these projects span a large swath of parameter space, with very different technologies and target materials.

## Slide 6
Located 2 km underground in a mine in Sudbury

## Slide 7
SNOLAB is Situated 2 km underground in a Vale mine in Sudbury.
SNOLAB
2 km of rock stops the cosmic rays from reaching the detector and mimicking the rare signals we are looking for.

## Slide 8
Dark Matter at SNOLAB
PICASSO 2.5kg Superheated Droplet C4F10 Completed Run
DEAP I 7kg Scintillation LAr ProtoType Completed
COUPP 2kg Superheated Bubble Ch. CF3I Completed
COUPP 4kg Superheated Bubble Ch. CF3I Completed
DAMIC CCD Si Operational
PICO 60 Superheated Bubble Ch C3F8 Operational
PICO 2L Superheated Bubble Ch C3F8 Operational
MiniClean 500 kg Scintillation LAr Under Construction
DEAP 3600 kg Scintillation LAr Under Construction
SuperCDMS CryogenicéSolidState Ge Si In Preparation

## Slide 9
C. Amole, M. Besnier, G. Caria, G. Giroux, A. Kamaha, A. Noble
M. Ardid, M. Bou-Cabo, I. Felis
D.M. Asner, J. Hall
D. Baxter, C.E. Dahl, M. Jin,
J. Zhang
E. Behnke, H. Borsodi, O. Harris, A. LeClair, I. Levine, E. Mann, J. Wells
P. Bhattacharjee.
M. Das, S. Seth
S.J. Brice, D. Broemmelsiek,
P.S. Cooper, M. Crisler, W.H. Lippincott, E. Ramberg, M.K. Ruschman, A. Sonnenschein
J.I. Collar,
A.E. Robinson
F. Debris, M. Fines-Neuschild, C.M. Jackson, M. Lafrenière, M. Laurin, J.-P. Martin, A. Plante, N. Starinski, V. Zacek
R. Filgas, I. Stekl
S. Fallows, C. Krauss, P. Mitra
I. Lawson
D. Maurya, S. Priya
K. Clark
R. Neilson
E. Vázquez-Jáuregui
J. Farine, F. Girard, A. Le Blanc, R. Podviyanuk, O. Scallon, U. Wichoski

## Slide 10
The Objectives of the PICO Collaboration:
(Merger of PICASSO & COUPP collaborations)
  To develop the bubble chamber technology with the ultimate goal of building a tonne scale detector.
  To fully explore the Spin-Dependent sector and have particular sensitivity to low mass WIMPS
  To reach this capability with a series of detectors of increasing mass and sophistication.
PICO 2L → PICO 60 → PICO “250 L”

## Slide 11
The Principle of Operation for Bubble Chambers

## Slide 12: Bubble Chamber Operation
Phase diagram
Gibbs free energy
When on the saturation curve, liquid and gas are in equilibrium. (Same pressure, temperature and chemical potential).
Liquid
Vapour
At equilibrium, the potential has two minima (one dominantly gas like and one liquid dominated)
Gas Like
(entropy)
Liquid Like
(enthalpy)

## Slide 13
Vapour
Superheated Liquid
Bubble Chamber Operation
Phase diagram
Gibbs free energy
We now lower the pressure of the chamber carefully….starting from the pure liquid phase.
This distorts the potential, leading to a meta-stable superheated liquid state. Unless sufficient energy is added, it will stay in meta-stable state.

## Slide 14: Bubble chambers as nuclear recoil detectors
Thermodynamic parameters are chosen for sensitivity to nuclear recoils but not electron recoils.
Better than 10-10 rejection of electron recoils (betas, gammas).
Alphas are (were) a concern because bubble chambers are threshold detectors.
Take away message:
Energy deposition depends on particle type. So can tune detector to be sensitive to certain types only. → Particle discrimination

## Slide 15: Principle of Operation: Bubble Chamber
Raise pressure to stop bubble growth (100ms), reset chamber (30sec)
Buffer fluid
(water)
Hydraulic
fluid
Target fluid
(CF3I/C3F8)
to hydraulic controller
Synthetic silica jar
See the bubble:
  Cameras trigger. record position, multiplicity
  Microphones record acoustic trace
  Fast pressure transducer recording.
Lower the pressure to a superheated state.

## Slide 16
100fps stereo images
Acoustic Transducers
Fast Pressure Transducer
Screen Display during operations

## Slide 17
Two example events recorded
Single Bubble event
Neutron event

## Slide 18
Background Mitigation Strategies

## Slide 19
Threshold attainable with 10-10 gamma rejection is:
~3 keV with C3F8
~ 11 keV with CF3I
Threshold detector:
We can choose superheat parameters (T, P) so that the bubble chamber is blind to electronic recoils (10-10 rejection or better)
C3F8
CF3I
Excellent electron/gamma rejection has been demonstrated.
C3F8 can reach lower thresholds than CF3I for same rejection.
A lower threshold extends the sensitivity to lower mass WIMPs.

## Slide 20: Alpha Acoustic Discrimination
Discovery by PICASSO of acoustic discrimination against alphas (Aubin et al., New J. Phys.10:103017, 2008)
  Nuclear recoils deposit their energy over tens of nanometers.
  Alphas deposit their energy over tens of microns.
In bubble chambers alphas are several times louder due to the expansion rate difference.
Daughter heavy nucleus
(~100 keV)
Helium nucleus
(~5 MeV)
~40 μm
~50 nm
Observable bubble ~mm

## Slide 21: PICO-2L Analysis: Acoustic discrimination
No multiple bubble events in the low background data
Two distinct alpha peaks, clearly separated from nuclear recoils
Timing of events in high AP peaks consistent with radon chain alphas, and indicate that the higher energy 214Po alphas are significantly louder (a new effect not seen in CF3I)
“Clean” alpha triplets
222Rn
α(5.6 MeV)
218Po
α(6.1 MeV)
214Po
α(7.9 MeV)
3 minutes
55 minutes
3 keV threshold
Acoustic cut
94%
acceptance

## Slide 22: 23 bubble AmBe neutron event
High multiplicity is a result of high bubble nucleation efficiency; 60% of neutron
calibration events in C3F8 are multiples.

## Slide 23: Background Rejection Summary
Neutrons:
Go deep underground
Add local shielding (water tanks)
Select materials carefully
Use multiplicity
Gamma/Beta:
Select materials carefully
Operate detector above gamma threshold
CF3I
Alpha-decay:
Purify all materials
Optimize piezo analysis
>99.3% Rejection
Bubbles per gamma interaction

## Slide 24
Results From PICO

## Slide 25: Three recent results
  PICO-60 (experiment formerly known as COUPP-60)
  New DM results.
PICO-2L Run-1
  2015 DM result.
PICO-2L Run-2
  2016 DM result. Greatly improved.

## Slide 26: PICO-60
Filled with 36.8 kg of CF3I.
PICO-60 Run-1: June 2013 to May 2014.
Run-2 with C3F8 target in 2016.

## Slide 27
PICO-60 at SNOLAB

## Slide 28: PICO-60 results
WIMP search data show ~2000 background events of unknown origin, with mean Acoustic Parameter (AP) slightly above nuclear recoil peak.
AP measures intensity of sound.

## Slide 29: The unknown background
Unknown background
Alphas
The unknown background distributions are markedly different from alphas (and Dark Matter).

## Slide 30
Some classes of events clearly correlated with the temperature of the water and glycol …. Correlation with pump, heaters, electrical noise, vibrations, convection…?
Temperature in Glycol (not to scale)
Temperature in Water (not to scale)
Mystery-Event rate
(not to scale)

## Slide 31: Combined PICO-60 cuts
48.2% combined efficiency, and no surviving background events

## Slide 32: PICO-60 (CF3I) results
Statistical penalty for setting cuts on data is calculated with Monte Carlo (similar to Optimum Interval method: S. Yellin, Phys.Rev. D66 (2002)
We’re currently commissioning PICO-60 for a new clean run with C3F8 target.
Spin-Dependent
Spin-Independent
With CF3I the detector is most sensitive to spin-independent interactions.

## Slide 33: PICO-2L
Silica jar and double bellows attachment.
Two liter active mass of C3F8.
Better fluorine sensitivity than CF3I: (used by COUPP)
Twice the F density.
Lower threshold.
Improved efficiency.
More stable chemistry.
Inside water shield at SNOLAB.
See talk by C. Amole later in this session for full details on the PICO-2L results

## Slide 34: PICO-2L Run-1 results
Well above expected neutron background (<1 event at 3.2keV), and no multiple bubble events observed, so these are not neutron events.
There are timing correlations of events at 3.2keV with previous events, therefore not DM or neutrons.
We set limits by applying a timing cut with MC-derived statistical penalty, similar to PICO-60.

## Slide 35: PICO-2L limits
C. Amole et al., Phys. Rev. Lett. 114, 231302 (2015)
With C3F8 the detector is most sensitive to spin-dependent interactions.

## Slide 36: PICO-2L Run-2
Physics run June 12 – Sept 25 2015.
See talk by C. Amole for details on upgrades to remove particulate backgrounds.
Bulk event rate consistent with expected neutron background.

## Slide 37: PICO-2L Run-1 vs Run-2
Run-1 3.2keV data
32 live days
Est. neutron bkgd 0.9+0.2-0.7 events
Run-2 3.2keV threshold
~66 live days

## Slide 38: SD Limit
C. Amole et al. Phys. Rev. D 93, 061101(R) (2016) [arXiv:1601.03729]
CMS
PICASSO
COUPP-4 (2012)
XENON100
SIMPLE
SuperK
IceCube
Run 2 is NOT background limited.
Apply same mods to PICO 60 with C3F8 to greatly improve limits.
Notes: Run2 is NOT background limited and actually could detect dark matter (the floor is the limit)

## Slide 39: Whither Next?
PICASSO 32 C4F10
World Best
Background Limited
COUPP 4 CF3I
World Best
Background Limited
PICO 60 CF3I
World Best
Background Limited
PICO 2L Run 1 C3F8
World Best
Background Limited
PICO 2L Run 2 C3F8
World Best
Background Free
upgrade
PICO 60 C3F8
upgrade
Merger
PICO RSU C3F8
PICO 500 C3F8
Technology
Choice

## Slide 40: Next steps: Upgraded PICO 60
PICO-60 with C3F8
C3F8 target fluid
New vessel with fused silica flange
Active fluid recirculation with filtering
Projection assumes 6400kg-days (100 days at 40L C3F8), 2 background events
3.2 keV threshold

## Slide 41: New Chamber Design “PICO 40 RSU”
FLIP IT
Thermal Gradient
“Right-side-up” bubble chamber with no buffer fluid
Stable against convection currents
Simplified fluid handling/recirculation.
Wider range of possible target fluids
No source of particulates in active region
Notes: makes filtration way easier

## Slide 42: Next Generation PICO
Proposed 250-500 liter active volume bubble chamber.
Designed for CF3I or C3F8 target.
CFI funding proposal being prepared.

## Slide 43: Conclusions
PICO-2L and PICO-60 have produced world-leading limits on Spin-Dependent WIMP-proton interactions with different target fluids.
PICO-2L also has excellent Spin-Independent limits on low-mass (few GeV) WIMPs.
Both experiments observed a population of background events we believe is due to particulate contamination of the target fluids.
After efforts to reduce the background, Run-2 of PICO-2L now shows an a very low event rate consistent with neutron background.
PICO-60 is being prepared for a second run with similar improvements and C3F8 target fluid and this is in a water tank providing better neutron shielding.

## Slide 45: Problems with the “liquid piston”
Plagued by water droplets
“collar” activity
many wall nucleations
Activity at the vessel bottom
Chamber stabilized after
~2 months of running
Followed by stable and very quiet period of dark matter data

## Slide 46: Dark Matter Backgrounds arising from particulate contamination
Reduction in Surface bubbles
9 low AP events
in 30 days
at 3 keV
Only 1 low AP event
in 40 days at 3 keV
PICO-2L - 2013
PICO-2L - 2015
Activity on the vessel walls and
collar is worse than 2013..
44 !
66 !
…but surface activity and low-AP background is gone.

## Slide 47: Particulate Background Mitigation
It may ultimately not be possible to completely suppress these backgrounds in the presence of a 2-fluid interface
The fluid Interface traps particulates (and may confound attempts to at filtration…)
The fluid interface surface tension MAY ITSELF BE THE CAUSE OF THE BACKGROUND

## Slide 48
Liquid Droplet Merger (Picture is from– Int. J. Mol. Sci. 2011, 12, 2572-2597
Reprinted from Phys. Rev. Lett. 2008, 100, 024501:1-024501:4)
Esurface = 4pr2s
Erelease= 0.41 x Esurface
heat capacity DT ~ 1/r3
acceleration ~ 1/r2
Pressure = 2s/r

## Slide 49
Liquid Droplet Merger (Picture is from– Int. J. Mol. Sci. 2011, 12, 2572-2597
Reprinted from Phys. Rev. Lett. 2008, 100, 024501:1-024501:4)
The merger of
two water droplets
with size near the
Seitz Radius scale
will nucleate an
AP=1 bubble by the
release of surface tension energy
Similarly for the ejection
of an irregular particle
from a droplet

## Slide 50
hydraulic
Fluid
15oC
“water piston”
C3F8
15oC
active volume
active volume
C3F8
15oC
hydraulic
Fluid
15oC
hydraulic
fluid
-5oC
H2O
15 oC
fused silica
piston
hydraulic
Fluid
15oC
hydraulic
fluid
-5oC
PICO-60
PICO-40L
insulation

## Slide 51: Right Side Up design virtues:
Superheated/normal transition is maintained by a thermal gradient with no buffer fluid
    No buffer fluid means no surface tension effects
    No buffer fluid means no constraint on target fluid
    Works with any refrigerant, hydrocarbon, even xenon.
Thermal gradient is naturally stable
All metals at the bottom
    Cold zone, no boiling to liberate particulate
    No convection to move particulate up
Geometry naturally lends itself to a recirculation loop

## Slide 52
The Deepest Lab with International Program. Recently pipped by CJPL.
JinPing
SNOLAB
SNOLAB Muon Flux = 0.27/m2/day