## Slide 1: The PICO 0.1 bubble chamber calibration
Frédéric Girard
CAP congress
June 14th, 2016

## Slide 2: PICO collaboration
Usebubble chambers for dark matter searches
PICO 2L & PICO 60 at SNOLAB
Use smaller chambers for background calibration
Main purpose of PICO 0.1: Calibration with mono- energetic neutrons
Multiple bubbles in PICO 2L
PICO 60 during commissioning
1
Notes: Bubble chamber -> threshold detector
PICO 2L -> World leading limit SD
Queen’s chamber for particulate and alpha calibration
PICO 0.1 -> Most stable chamber

## Slide 3: Why neutron calibration?
Neutrons are heavy, neutral
In bubble chambers, the response to neutrons is identical to that of WIMPs
Characterize WIMP signal with neutrons
Neutron of known flux & energy for calibration purposes
http://cdms.berkeley.edu/Education/DMpages/science/directDetection.shtml
2
Notes: Neutrons won’t see electrons
-> Elastic scattering
Neutrons = major background in SNOLAB
Moderated by water, but…

## Slide 4: Neutron source:
1.6 MeV protons from Tandem Van de Graaff
0.2 keV
Use resonances in the reaction
6 MV tandem Van de Graaff
Target hall
Vanadium Target
Analysing magnet with NMR probe
3
Notes: Lucky to have tandem
Target thickness: 15 nm
Polished platinum substrate
Mono-energetic neutrons important because threshold detectors

## Slide 5: Neutron source:
1.6 MeV protons from Tandem Van de Graaff
0.2 keV
Use resonances in the reaction
Resonances in the reaction
Ref.: J. H. Gibbons, R. L. Macklin, et H. W. Schmitt, Reaction as a 5- to 120-kev Neutron Source, Phys. Rev. 100, 167 (1955).
4
Notes: Lucky to have tandem
Target thickness: 15 nm
Polished platinum substrate
Mono-energetic neutrons important because threshold detectors

## Slide 6: PICO 0.1
75 ml calibration chamber
Two piezoelectric sensors for event characterization
Inner vessel pressure transducer (Dytran) and four temperature probes for threshold determination
Two cameras at 90° for pseudo-3D imaging
Single bubble event in PICO 0.1. Time between frames: 13 ms
CAD concept of PICO 0.1
Mean expansion time, 39.0°C
36.2°C
36.2°C
Max. expansion time
Time (seconds, linear in each regions)
Pressure (PSIA)
Event pressure as a function of time
5
Notes: Like PICO 2L
Two bellows
First chamber with LAB -> Cleaner?
Super stable
Start compressed 200 PSIA
Expand, active
Fast compressed

## Slide 7: PICO 0.1
Active liquid:
First chamber filled with LAB (Linear Alkylbenzene) instead of water
Over 2 years of stable running
Single bubble event in PICO 0.1. Time between frames: 13 ms
CAD concept of PICO 0.1
Mean expansion time, 39.0°C
36.2°C
36.2°C
Max. expansion time
Time (seconds, linear in each regions)
Pressure (PSIA)
Event pressure as a function of time
6
Notes: Like PICO 2L
Two bellows
First chamber with LAB -> Cleaner?
Super stable
Start compressed 200 PSIA
Expand, active
Fast compressed

## Slide 8: Absolute neutron flux normalization
Two neutron counters to normalize the neutron flux
Absolute neutron flux measurement was performed to calculate the counters efficiencies
See poster session for details
neutron counter design
neutron counter
7
Notes: Sens wire inside, see ionization from proton
Pulse = neutron
(_^3)𝐻𝑒+𝑛_𝑡ℎ→ (_^3)𝐻+(_^1)𝐻+760 𝑘𝑒𝑉
Sens wire inside, see ionization from proton
Pulse = neutron

## Slide 9: Pressure transducer signal
Bubbles formed in different locations expand at different rates
Signal rise time from pressure transducer informs on production sites of bubbles
Combine with acoustics to determine the multiplicity of an event
Time (s)
Amplitude (V)
Dytran response for different types of events
Center
Wall
Collar
Surface
Dytran analysis
8
Notes: Surface: Less vaporisation
Wall & collar: faster mechanisim
In SNOLAB: neutron => multiple events
In small chambers: neutrons exit chamber fast
=> Monte Carlo for expected single to double

## Slide 10: Fiducial cut
Use CCD images from the cameras to apply fiducial cut
Need to correct for refraction
Can use the Dytran analysis to exclude non-bulk events
Horizontal correction
X-Y correction
9

## Slide 11: Fiducial cut
Use CCD images from the cameras to apply fiducial cut
Need to correct for refraction
Can use the Dytran analysis to exclude non-bulk events
Fiducial cut
10
Notes: Poor optics at surface/collar

## Slide 12: Results
Bubble chambers are threshold detectors
Recoil nuclei following mono-energetic neutron scattering
  Boxlike spectrum in lab system
Calculate the count rate of the chamber for different neutron energies, with cuts applied
Analysis ongoing for 34, 50, 61, 97 keV
1
0
0
Recoil spectrum for mono-energetic neutrons
Neutron energy spectrum
1
0
1
Mono-energetic neutron response in bubble chambers
Experimental count rate for 50 keV neutrons
50 keV
11

## Slide 13
12
Notes: Monte carlo to calculate nucleation probability

## Slide 14: Near future:
New Freon gas
New fill to be performed soon
Goal: Identify the 17 keV mono-energetic recoil from the reaction
17 keV
600 keV ( 1keV in RC)
35Cl(nth,p)35S
 | Tb(oC) | Tc(oC) | ρ (20o)
C3F8 | -39.10 | 71.90 | 1.35
C2ClF5 | -39.22 | 79.95 | 1.50
Unique possibility to calibrate threshold curve
Determine model parameters (α, b,…), nuclear vs. electronic dE/dx
Tune Monte Carlo to data – absolute measurement possible
Thermal properties of R115 very similar to C3F8
Thermal neutrons
13
Notes: Exciting!
Can still see fast neutron response
But measurement far from there
First absolute calibration of threshold possible

## Slide 15: Conclusion
We calibrated PICO 0.1 with mono energetic neutrons
This measurement will help characterize WIMP signal
Analysis ongoing
Threshold calibration in next months
14
Notes: Poor optics at surface/collar

## Slide 16: Thank you!

## Slide 17: Extra slide: SbBe neutron source
602 keV gamma from decay
Gamma interact with to yield a 22 keV neutron
Source can be used to probe lower neutron energy
Beryllium disk
SbBe source setup

## Slide 18: Extra slide: Experimental neutron yield plot
Chart: 51V resonance
| 70.405583999999862 | 70.405583999999862 | 70.405583999999862 | 70.405583999999862 | 70.405583999999862 | 71.27694399999973 | 72.148303999999825 | 73.019663999999693 | 73.891023999999788 | 74.762383999999656 | 75.633743999999751 | 76.505103999999847 | 77.376463999999714 | 78.24782399999981 | 79.119183999999677 | 79.990543999999772 | 80.861903999999868 | 81.733263999999735 | 82.604623999999831 | 83.475983999999698 | 84.347343999999566 | 85.218703999999889 | 86.090063999999757 | 86.961423999999624 | 87.83278399999972 | 88.704143999999587 | 89.57550399999991 | 90.446863999999778 | 91.318223999999645 | 92.189583999999741 | 93.060943999999608 | 93.932303999999931 | 94.803663999999799 | 95.675023999999667 | 96.546383999999762 | 96.720655999999508 | 96.894927999999481 | 97.069200000000137 | 97.243471999999883 | 97.41774399999963 | 97.592015999999603 | 97.766287999999349 | 97.940560000000005 | 98.114831999999979 | 98.289103999999725 | 99.16046399999982 | 100.03182399999969 | 100.90318399999978 | 101.77454399999965 | 102.64590399999975 | 103.51726399999984 | 104.38862399999971 | 105.2599839999998 | 106.13134399999967 | 107.00270399999977 | 107.87406399999963
25 oct 2013 | 2.955 | 3.185 | 2.87 | 3.225 | 3.175 | 4.12 | 8.315 | 7.51 | 4.105 | 2.095 | 1.245 | 0.845 | 0.71 | 0.775 | 0.945 | 2.65 | 5.65 | 5.605 | 3.42 | 2.135 | 1.95 | 2.26 | 2.11 | 1.22 | 0.95 | 1.02 | 0.895 | 0.68 | 0.345 | 0.585 | 0.395 | 0.965 | 1.445 | 1.04 | 2.025 | 2.49 | 2.7 | 2.775 | 2.5 | 2.51 | 2.26 | 2.37 | 2.28 | 1.94 | 2.01 | 1.555 | 0.745 | 0.7 | 1.105 | 1.165 | 1.02 | 2.875 | 3.715 | 2.035 | 1.47 | 1.615
30 oct 2013 (2) | 0.31667 | 1.375 | 1.4792 | 0.93333 | 2.0292 | 2.6833 | 2.2792 | 1.4667 | 0.83333 | 0.57917 | 1.4583 | 1.3167 | 0.7 | 3.9083 | 3.9667 | 2.2875 | 1.35 | 1.8083 | 1.8917 | 1.1458 | 0.7875 | 1.5375 | 1.8875 | 1.4125 | 1.8458 | 1.55 | 1.3167 | 2.4533 | 3.02 | 3.035 | 3.1633 | 2.75 | 2.4517 | 2.14 | 2.235 | 1.9133
12-nov-13 | 0.92083 | 0.59583 | 0.9125 | 4.7833 | 4.5792 | 2.8542 | 1.8792 | 2.2708 | 2.1 | 1.4792 | 1.2042 | 1.825 | 2.1208 | 1.9583 | 1.4375 | 1.3208 | 2.5333 | 2.9583 | 1.975 | 1.7208 | 1.2875 | 1.6792 | 1.9583 | 1.8917 | 1.5167 | 1.7 | 1.3167 | 1.1375 | 1.5292 | 2.675 | 3.125 | 8.2542 | 6.7 | 3.6417 | 2.1917 | 3.2583 | 5.5 | 4.2125 | 2.7542 | 4.6583 | 5.3875 | 5.2542 | 5.5167 | 5.3792 | 4.6083
14-nov-13 | 1.95 | 2.4875 | 3.1542 | 3.15 | 3.2833 | 3.1208 | 2.8625 | 2.7792 | 2.7833 | 2.55 | 1.9083 | 1.6375 | 1.2667 | 1.9333 | 1.9875 | 1.5 | 1.6625 | 1.475 | 1.0667 | 1.0125 | 2.15 | 2.6708 | 4.9042 | 7.1292 | 4.7792
14 nov 2013 (2) | 2.7625 | 3.2292 | 3.5792 | 3.2417 | 3.2042 | 6.7208 | 7.0792 | 7.5583 | 7.1917 | 6.9042
15-nov-13 | 1.7625 | 4.8958 | 3.4375 | 2.0042 | 1.9167 | 1.35 | 1.0583 | 1.65 | 2.0875 | 2.375 | 2.9 | 3.3458 | 3.4292 | 3.1917 | 3.1583 | 3.0042 | 2.775 | 2.025 | 1.6833
25-nov-13 | 2.0125 | 2.5458 | 2.9958 | 3.0125 | 2.9708 | 2.2625 | 1.8708 | 1.9292 | 1.65 | 1.675 | 1.2708 | 1.125 | 1.3875 | 2.4333 | 2.7667 | 6.5083 | 6.1583
26-nov-13 | 1.3917 | 2.8917 | 2.9875 | 2.825 | 2.8917 | 2.7208 | 2.5792 | 4.3083 | 6.6417 | 4.7208
27-nov-13 | 1.475 | 1.6042 | 2.3917 | 2.6583 | 3.1333 | 2.9667 | 2.6583 | 2.2708 | 2.25 | 2.6375 | 4.6458 | 4.7458 | 6.4292 | 6.275 | 6.9083 | 7.0375 | 5.7333 | 5.6875 | 4.5542 | 5.7208 | 4.6292 | 4.8708 | 4.9833 | 4.6333
28-nov-13 | 2.675 | 2.6958 | 2.7708 | 2.7042 | 2.0833 | 4.85 | 4.5167
29-nov-13 | 2.5542 | 2.7875 | 2.7875 | 2.6458 | 2.7292 | 2.4833 | 2.3292 | 2.2875 | 1.95 | 5.8667 | 4.9292

## Slide 19: Extra slide: Low threshold measurement
Notes: Neutron background is flat
Gamma rejection is great at threshold over 1.5 keV

## Slide 20: Extra slide: Gamma rejection plot