## Slide 1: Machine learning for noise removal in NEWS-G
CAP 2022
Noah Rowe
June 8th 2022

## Slide 2: Presentation Outline
NEWS-G Background
Problem Definition
Signal Denoising Model
Single Output Model

## Slide 3: NEWS-G
NEWS-G – Spherical Proportional Counter
Signal Generation:
Primary ionization
Electron drift
Townsend avalanche
Positive ion drift
Analysis data taken from SEDINE at LSM in France

## Slide 4: NEWS-G Signal Generation
Double Deconvolution Algorithm
Raw Pulse
Double Deconvolved Pulse
Integrated Double Deconvolved Pulse
Detector Response
Integration

## Slide 5: Problem Definition
Goals:
Utilize machine learning methods to remove noise from recorded detector signals
Model implementation should aid in measuring important signal characteristics, such as amplitude and rise-features
Extend existing work on Germanium detector signals to NEWS-G
Our group has designed and trained such a model for a Germanium P-Type Point Contact Detector (arXiv:2204.06655)
4

## Slide 6: Methods – Model Architecture

## Slide 7: Methods – Model Training
Simulated pulses + real noise
Trained on a simulation-based dataset modeled after our real detector
Simulated pulses
X
Y

## Slide 8: Example Pulses
Energy: ~170eV
Energy: ~1370eV

## Slide 9: Example Pulses
Energy: ~380eV
Energy: ~540eV

## Slide 10: Energy Resolution Results

## Slide 11: Single Output Model

## Slide 12: Primary Electron Prediction Examples

## Slide 13: Primary Electron Prediction

## Slide 14: Primary Electron Prediction

## Slide 15: Conclusion
Developed an effective machine learning noise removal model resulting in more accurate energy measurements
Developed a single output model to predict the number of primary electrons for a given event
  Offers improvements in energy measurements
Single output model can be extended to different targets
  Direct energy prediction
  Event drift time

## Slide 16: Thank you!

## Slide 17: Additional Slides

## Slide 18: POLYA Distribution

## Slide 19: Model Architecture

## Slide 20: Dark Matter Search from Electron Counting
NEWS-G searches for dark matter terms of 2, 3, and 4 peak event dispersion times
  Highlighting the need for accurate primary electron counting techniques
Dan Durnford presented on this: “The NEWS-G light Dark Matter search experiment: Current status and preparation for experiment at SNOLAB”