## Slide 1
Accelerated 2D Multislice MRI with Hyperpolarized 129Xe in Human Lungs
Samuel Perron, Matthew S. Fox,
& Alexei V. Ouriadov
June 19th, 2023
Physics in Medicine and Biology (DPMB)
M2-3 MRI - 1

## Slide 2
DISCLOSURES
We acknowledge support from the Natural Sciences and Engineering Research Council of Canada (NSERC); grant number R5942A04

## Slide 3
  Motivation
  Background of Technique
  In-Vitro MRI
  In-Vivo Lung MRI
  Future Work
Roadmap

## Slide 4
  Hyperpolarized xenon-129 has recently been FDA approved for human lung imaging.
  Several key issues still need to be addressed or have recently surfaced:
Patients with non-healthy lungs cannot hold their breath for long
Pressure to limit scan time
Increasing costs of 129Xe gas
Motivation

## Slide 5
Motivation
  We have recently shown1 that accelerated MRI using Compressed-Sensing (CS) and the Stretched-Exponential Model (SEM) is able to:
Provide significant increases in SNR without increasing scan duration
Lower the required amount of 129Xe to a third of typical dose for lung imaging
Background
1 - Perron, S. et al., ISMRM (2022)
  Hyperpolarized xenon-129 has recently been FDA approved for human lung imaging.
  Several key issues still need to be addressed or have recently surfaced:
Patients with non-healthy lungs cannot hold their breath for long
Pressure to limit scan time
Increasing costs of 129Xe gas

## Slide 6
Retrospective Undersampling
Artefact Removal - Phantom
3.0 T - inhaled hyperpolarized 129Xe
1H MRI at 0.074 T - undersampled FGRE
Remove Artefacts

## Slide 7
Fitting to Stretched-Exponential Model
β : heterogeneity index (0 < β < 1)
n : image number
r’ : apparent fractional-density parameter
Fit using Abascal Method2
2 - Abascal, J. et al. IEEE Trans Med Imaging. (2018)

## Slide 8
Averaging Pattern
8
7
6
5
4
3
2
9
9
8
7
6
5
4
3
2
Average for every unique combination without overlap
Predictable SNR ~
where 𝑛 is the image number

## Slide 9
129Xe Phantom Results – 74mT
Undersampled
Reconstruction
RF Interference

## Slide 10
Human Lungs – 7x Acceleration
~5x SNR increase over fully-sampled images
63 images acquired in a single breath-hold!
Acquired with centric-out Fast Gradient Recalled Echo (FGRE)
× 9
× 9
× 9
× 9
× 9
× 9
× 9
7 seconds total scan time

## Slide 11
Moving Forward
Build human lung training dataset for artefact removal neural network
1
2
Develop and implement undersampled X-Centric and Frequency-Encoding Sectoral

## Slide 12
THANK YOU