## Slide 1: DEAP-50T Dark Matter with Liquid Argon
Mark Boulay
Carleton University
(& Queen’s University)
SNOLAB Future Projects, Aug 24, 2015
DEAP-3600 Overview and Status
Scientific Merit of DEAP-50T
Argon and xenon for DM searches
Backgrounds
Ultimate reach
Future Plans / R&D

## Slide 2
DEAP Collaboration: over 60 researchers in Canada, UK, and Mexico

## Slide 3
Liquid argon as a dark matter target
Well-separated singlet and triplet lifetimes in argon allow for good
pulse-shape discrimination (PSD) of b/g’s using only scintillation time
information, projected to 10-10 at 15 keVee
(see Astroparticle Physics 25, 179 (2006) and arxiv/0904.2930)
Very large target masses possible, since no absorption of UV scintillation photons in argon, and no e-drift requirements.
1000 kg argon target allows 10-46 cm2 sensitivity (SI) with ~15 keVee
(60 keVr) threshold, 3-year run
c
40Ar
40Ar
c
Scattered nucleus (with several 10’s of keV)
is detected via scintillation in liquid argon.

## Slide 4: Calibration of DEAP-1 with AmBe neutron source

## Slide 5: β/γ backgrounds
39Ar is the most dominant β/γ background
(~1 Bq/kg in natural argon)
Expect ~109 events in 3 years in (15-30) keVee
Pulse-shape discrimination in DEAP-1 extrapolates to sufficient PSD
PSD sufficient for operation of DEAP-3600 (one tonne fiducial), larger detector requires low-radioactivity argon (LRA)

## Slide 6
210Po on surface
Decay in bulk argon tagged
by a-particle energy
LAr
a
a
Decay from TPB surface releases untagged recoiling nucleus in argon and a in TPB
(see both with low energy)
a Backgrounds in Liquid Argon
TPB
Acrylic
PTFE
Decay from TPB surface releases a in argon and recoil nucleus in TPB
(see mostly a-particle, high energy)
Decay from inside TPB or acrylic releases a which may also enter LAr.
Could see
(a) Light from TPB only (prompt) or
(b) Light from LAr (range of energies)
DEAP-1 and DEAP-3600 surface profile
both TPB and LAr scintillate
Position reconstruction ~5 cm resolution
removes “surface” events

## Slide 7: a Backgrounds in LAr (DEAP-1)
210Po
LAr
TPB
Acrylic
PTFE
232Th chain
238U chain
DEAP-1 data
222Rn+220Rn
In DEAP-1:
100 mBq 222Rn
20 mBq 220Rn
DEAP-3600 target:
5 mBq 222Rn
Events/100 keV
June 2010

## Slide 8
DEAP-3600 Projected Physics Sensitivity
Current best sensitivity

## Slide 9
3600 kg argon target
(1000 kg fiducial)
in sealed ultraclean
Acrylic Vessel
Vessel is “resurfaced”
in-situ to remove
deposited Rn daughters
after construction
255 Hamamatsu
R5912 HQE PMTs 8-inch
(32% QE, 75% coverage)
50 cm light guides +
PE shielding provide neutron moderation
Steel Shell immersed in 8 m water shield at SNOLAB
DEAP-3600 Detector

## Slide 10
Background | Raw No. Events in Energy ROI | Fiducial No. Events in Energy ROI
Neutrons | 30 | <0.2
Surface a’s | 150 | <0.2
39Ar b’s (natural argon) | 1.6x109 | <0.2
39Ar b’s (depleted argon) | 8.0x107 | <0.01
DEAP-3600 Background Budget (3 year run)
Acr+H2O shield
PSD
Resurfacer
Need to resurface inner vessel and ensure purity of acrylic.
removal of order 1/2 mm acrylic
210Pb < 1.1x10-19 g/g for 0.1 events/3 years
(strict control of Rn exposure)

## Slide 11: Fabrication of DEAP Acrylic
Fabrication from MMA monomer, strict control of radon exposure for all steps
Moulds were prepped in a HEPA-filtered clean room made especially for DEAP (RPT Asia)
DEAP Collaborators present during fabrication
Control to < 10-20 g/g 210Pb from radon exposure
DEAP Acrylic Panels
at RPT Asia in 2010

## Slide 12
Spike with 222Rn into
acrylic cylinder
DEAP AV acrylic assay
and backgrounds
Nantais M.Sc. Thesis result (Queen’s, 2014):
210Pb : < 2.2 x 10-19 g/g
( <0.2 bkd events in 3 years )
210Pb assay of acrylic (vaporization of acrylic followed by g and a-counting)

## Slide 13
AV Fabrication (RPT Colorado and U of A)

## Slide 14
AV neck bonding underground (December 2012-January 2013)

## Slide 15
Reflectors on light guides
PMT installation Oct 2014
Light guides on AV

## Slide 16
R5912 HQE PMTs on DEAP-1 (Feb. 2010)
silicone oil optical coupling
identical to DEAP-3600 design

## Slide 17
Completed inner detector
Detector ready for Final Lift onto Neck
Steel Shell in shield tank
Veto PMTs installed Mar 2015
Steel Shell closing Dec 2014

## Slide 18
DEAP-3600 resurfacer (removal of adsorbed and diffused Rn daughters)

## Slide 21: The Resurfacer
Low-radon emanation
Removes acrylic surface
in-situ after construction
Completed Dec. 2014

## Slide 22: TPB wavelength shifter deposition
Deposition into 20-inch test Acrylic Vessel
Vacuum-baked DEAP-3600 AV to reduce outgassing prior to TPB deposition
(spring/summer 2015)

## Slide 23: Completed Detector in Shield Tank

## Slide 24: Data acquisition system
PMT cables
PMT cables
LED
driver
CAEN
V1720
Neck veto
cables
Digitizer & trigger module

## Slide 25: Light injection through fibers (Commissioning Data Spring 2015)
Notes: Light injection though fiber. Here high intensity with PMT saturation to study the matching low amplification/high amplification branches of the detector

## Slide 26: A high energy event (Commissioning running, Spring 2015)
Run: 9406 Subrun: 3 Event: 300460
Total energy: 1520 PE
High event rate: ~1 event/day
Expected muon rate: 1.6 muons/day
preliminary

## Slide 27: Process system
Ar dewar
Ar purification getter and charcoal trap
Cooling coils being prepared for final acid bath
Cryocoolers and LN2 dewar
Notes: Like for instance the process systems. Still with the idea of decreasing background and optimizing the PSD, the Argon is purified with a SAES getter and a Charcoal trap. The cooling coil (which is a thermosyphon) is getting ready for the last citric acid bath before being deployed, which will happen as soon as the TPB deposition is done.

## Slide 28
DEAP-3600 Argon Cooling System
Commissioning at 86 K, June 11 2014

## Slide 29
~30 kg/sec argon flow
in case of failure of AV
Installation of emergency vent line (~1100’ to Vale Air Raise)

## Slide 30: Current Status of DEAP-3600
Acrylic vessel resurfacing was completed at the end of 2014
Detector optical calibration, PMT and electronics commissioning ongoing (winter 2014/spring 2015)
Commissioning cryogenic system (winter 2014/spring 2015)
Vacuum-baked acrylic vessel, prep. for WLS (spring 2015)
Completion of shield tank components, calibration hardware, veto PMT system (late spring 2015)
Inner wavelength shifter deposited on AV June 2015
Optical calibration runs June/July 2015
Currently completing installation of cooling coil into AV neck, planning for start of cooldown early fall

## Slide 31
50-Tonne liquid argon detector (conceptual only)
“Conventional”
ultra-clean acrylic
vessel,
constructed UG
Sanded over ~months
to remove deposited
daughters, meets
requirement
(can tolerate higher
surface backgrounds
in larger detector!)
150-tonnes DAr in AV
50-tonne fiducial
Requires UG storage
of argon target
Will investigate PMTs
versus SiPMs

## Slide 32: Backgrounds in xenon and argon
All the “regular” radioactive backgrounds
neutrons, internal, m-induced
b/g leakage
surface events, a-emitting Rn daughters
Beyond 10-46 cm2, need to consider neutrinos…

## Slide 33
thresh
pp ES
thresh
Neutrino backgrounds in xenon and argon
Coherent scattering from Strigari, New J. Phys. 11 (2009) 105011
pp elastic scattering, Boulay
0.5 event/tonne-year pp background in xenon, after 0.995 discrimination

## Slide 34: Depleted argon
39Ar maintained in the atmosphere through cosmogenic production 40Ar (n,2n) 39Ar
and similar reactions
Pioneering work by Galbiati, Calaprice (Princeton, DarkSIDE) demonstrated the
possibility of obtaining low-radioactivity argon from underground sources
Underground argon activity varies depending on geology, depth due to production
underground:
(a,n) neutrons from U/Th underground
39K(n,p)39Ar
Site in Colorado developed for extraction, in support of both DarkSIDE and
DEAP-3600 (4 tonnes to be produced for DEAP-3600)
Several tonnes of low-radioactivity argon per day are being extracted along with
CO2; Princeton has separated on the order of kg/day from the stream
Would need to scale up to order 100 kg/day or greater for proposed detector
(significant challenge for large detector is production/storage of Depleted Argon)

## Slide 35: The downside: 39Ar in Ar at 1 Bq/kg
Need argon depleted in 39Ar beyond ~few tonnes

## Slide 36
Sensitivity with 50-tonnes argon

## Slide 37: Summary
DEAP Collaboration focused on exploiting DEAP-3600 detector in short term
DEAP-3600 sensitive to SI DM interactions at 10-46 cm2; factor of >20X improvement at high WIMP mass over current LUX leading result
Construction completed, detector being commissioned, planned for liquid filling starting shortly
50T follow-up program builds on DEAP-3600 developments, physics reach approaches ultimate sensitivity of neutrino backgrounds

## Slide 38: DEAP-50T Comments
Plan to inform design from DEAP-3600 performance, in particular achieved light yield, surface backgrounds and radon loads
Large single-phase argon detector has good potential to push DM sensitivity, complementary to xenon or good alternative if background-subtraction of pp neutrino signal required in xenon
Currently conceptual design only ! project may fit in Cube Hall or Cryopit
Significant effort needs to be placed on engineering, in particular
-Seismic requirements at SNOLAB
-Failure analysis, overpressure and venting
(above two required several years of effort for DEAP-3600, much more
effort than initially anticipated, even for “tiny” 3.6 Tonne detector)
-Storage and logistics for ~several hundred tonnes of argon
In addition to R&D for
-Light readout (potential for overlap with other next-gen projects)
-Backgrounds, esp. radon and Pb/Po contamination/migration and control
-Simulations for detector performance, design, etc.
(Plans to start some of the above R&D towards DEAP-50T, in particular Boulay at Carleton)

## Slide 39: END