## Slide 1: NEWS-G: Detector Calibration
Irina Babayan
CASST 2022

## Slide 2: Low-mass dark matter search
Low threshold
  Single electron detection
Light targets
  ex. H atoms in CH4
Low background
  Simple setup less potential background sources

## Slide 3: Signal generation in an SPC

## Slide 4
e-
e-
e-
+
+
Primary ionization
Electron drifts towards centre
Secondary ionization
  Ion-electron pair generated
Ion movement is detected

## Slide 5: Calibration
Goal: signal amplitude energy deposited
x-ray
Nuclear recoil:
Electronic recoil:
Notes: Signal (number of ionization e-) energy deposition
Dark matter will interact via nuclear recoil
  Electronic recoil is used as an intermediate calibration source because it is easier to produce monoenergetic sources of that type
Calibration is important
  It is important to calibrate at different energies so that we know how the detector behaves over a range of signal amplitudes (we need relatively higher and lower energy sources)
Signal (number of ionization e-) → energy deposition
Dark matter will interact via nuclear recoil
  Electronic recoil is used as an intermediate calibration source because it is easier to produce monoenergetic sources of that type
Calibration is important
  It is important to calibrate at different energies so that we know how the detector behaves over a range of signal amplitudes (we need relatively higher and lower energy sources)

## Slide 6: Calibration sources
Source windows
Fe55 source in use
Notes: Interested in sources of energy 0.1 – 10 keV
Sources of energy < 3 keV will be stopped by 20 𝜇m of aluminium (which is what our source windows are made of)
We have to put the sources inside the spheres to achieve low energy calibration, or use gaseous sources (Ar37)
We have more control over the source location AND it is reusable if it is a solid source, Ar37 is not reusable

## Slide 7: Am(Al) source
Al foil
Screw
Am-241 source activity: 37000 Bq 37000 -particles /second
Notes: For low energy dark matter experiments, any signal other than dark matter is unwanted -> alphas are very high energy, and they create track events
Problem: we need the perfect thickness of aluminium foil such that alphas are (mostly) stopped but all the x-rays can exit the foil and be detected
Our source is 1 uCurie (unsure of if it is 4 pi or 2 pi, referring to solid angle)
  We would only see half of it because of the solid angle
  1 uCurie is 37000 alphas in 4 pi
    Of order 10,000 alphas per second

## Slide 8: Goal: optimize Al foil thickness!
Notes: Takes about 1 um of foil to stop aluminium x-rays
The x-rays should be produced very close to the surface
Alpha energy deposition in the foil follows a Bragg peak
  Bragg peak shape is optimal for Am(Al) source because the most amount of energy is deposited closest to the surface
  The less energy charged particles have, the more energy they lose when interacting with other things
  We want a thickness of foil such that the alphas are absorbed very close to the surface of the foil

## Slide 9
30 m of Al:

## Slide 10
25 m
25 m of Al:

## Slide 11
20 m of Al:
20 m

## Slide 12
13.81 keV
Am-241 x-rays
17.7 keV
Am-241 x-rays
1.5 keV
Al x-rays
5.9 keV Fe55 x-rays
1.5 keV
Al x-rays
20 m of Al:

## Slide 13
What’s next?

## Slide 14: Back-up slides

## Slide 15
Graph credit: Studying of characteristics of the HPGe detector for radioactivity measurements - Scientific Figure on ResearchGate. Available from: https://www.researchgate.net/figure/A-typical-spectrum-of-Am-241-source-to-detector-distance-of-20-cm_fig3_272498204 [accessed 11 Aug, 2022]
Al x-rays
~1.5 keV
Am-241 emission spectrum

## Slide 16: Extra slide: Al x-ray emission

## Slide 17: Alpha detector