## Slide 1: Avalanche diode update From SiPM to Dark Matter search and beyond
Fabrice Retiere
Instrumentation for Physics discovery and beyond

## Slide 2: Single Photon Avalanche Diode

## Slide 3: Breaking down
Limited avalanche
Breakdown
https://www.intechopen.com/chapters/49261

## Slide 4: Passive quenching with resistor
Quenching resistor for stopping breakdown
https://physicsopenlab.org/2016/02/16/silicon-photomultiplier-sipm/

## Slide 5: Many SPAD in parallel – aka SiPMs
https://sites.gatech.edu/lanns/research/silicon-photomultipliers/

## Slide 6: Moving away from DS analog scheme?
~0.1nF/mm2
Analog to Digital
Conversion
Comparator (more power)
Waveform digitizer
Amplifier
Need power
to buffer
capacitance
Photon search engine
In software or firmware
Photon time stamp
Timing performance
Limited by size
Large pulse very messy
AQ
Active
Quench
Digital processing
Photon time stamp
Photon
Photon
Tag for every photon
Or some simpler aggregate
Bias
Bias

## Slide 7: SPAD nuisances
Dark noise
  Thermal. At room temperature ~100kHz/mm2
Carrier trap and release => after-pulsing
Light emission during avalanche
  Direct cross-talk
  Delayed cross-talk
  External cross-talk, aka hit another SiPM

## Slide 8: DarkSide-20k
30 tons of (depleted) liquid Argon
Construction on-going
Start physics running in 2027?

## Slide 9: DarkSide-20k photon detection
Taken from Rafał Wojaczyński (Astrocent)

## Slide 10: Photon Detection Unit

## Slide 11: Efficiency requirements are exceeded

## Slide 12: Nuisances are under-control

## Slide 13: Photon detection in nEXO
Energy resolution dominated by light
  Need 3% efficiency of detecting scintillation photons for 1 % energy resolution
  With negligible noise for light detection
Need at least 4 m2 of detection area
Need reflective electrodes

## Slide 14: Imaging re-emitted light
Reflected light
Re-emitted light
FBK VUV-HD3
Technical detour: SPAD light emission

## Slide 15: Spectra
Acceptance:
Objective NA=0.45, i.e. q< 26.7°
Simulation shows that acceptance is about 10% of total
Preliminary
Preliminary

## Slide 16: All processes in Lxe probed by the light only liquid Xenon experiment

## Slide 17: New FBK production for nEXO and SBC 1x1cm2 but most SiPMs don’t work…

## Slide 18: ARGO beyond DarkSide-20k
300 tons of LAr
R&D ongoing
Key challenge is light readout over huge area
Foreseen at SNOLAB in the 2030s era
Outer cryostat
Liquid argon buffer
Ultrapure acrylic vessel
(7m diameter and height)
400 tonnes low-radioactivity
argon within acrylic vessel
250 m2 of single photon detectors
covering full acrylic vessel surface

## Slide 19: ARGO photon detection requirements
 | DarkSide-20k | ARGO minimum | ARGO desirable
Surface Area | 40 m2 | 250 m2 | 250 m2
Efficiency at 420 nm | >40% | >50% | >60%
Efficiency at 128 nm | 0 | 0 | >20%
Dark noise rate at 86K | < 1kHz/m2 | < 1kHz/m2 | < 0.1kHz/m2
Correlated prompt avalanche (cross-talk) | <50% | <50% | <10%
Correlated delayed avalanche (after pulsing) | <5% | <5% | <1%
External cross-talk | Unknown | <50% | <10%
Single Photon Timing resolution | 20ns | 1ns | 0.1ns
Granularity | 25cm2 | 1 m2 | 10 cm2
Radioactive content | Very low | Very low | Ultra low

## Slide 20: The future is digital! 2D SPAD @ Heidelberg
2D SPAD array designed by Heidelberg built by Fraunhofer IMS
The good
  Single chip doing everything
  Dark noise rate of 0.02 Hz/mm2
The bad
  Some loss of active area
  No VUV sensitivity… yet

## Slide 21: 2D SPAD array for DARWIN

## Slide 22: Photon to Digital Converter – Canadian tech.

## Slide 23: Current development state
FPGA-based Controller
45 mm
  TOP
  BOT
57 mm
ASIC-based Controller

## Slide 24: Prototyping progress by Sherbrooke’s group
PDC 3D integration
Silicon interposer

## Slide 25: PDC ++?
Front side: best for <500nm wavelength
  Electron produced in high field region for optimum timing
  Drawbacks: Efficiency, higher manufacturing complexity
Back side illuminated: versatile
  Adjust thickness for desired thickness
  CMOS/CCD BSI sensors are now common
CMOS
Aka. electronics
Molecular bonding
Ultra-thin contact 1-5nm
Thin passivation ~100nm
e-
Low drift field region
Drift field region
Avalanche region
photon
CMOS
Aka. electronics
Molecular bonding
Ultra-thin contact 1-5nm
Thin passivation ~100nm
Low drift field region
Drift field region
Avalanche region
photon
Front Side illumination (ala Sherbrooke)
e-
Back side illumination
e-
h
e-

## Slide 26: Photo-detector performance comparison
Parameters at LXe temperature for cm2 scale channel size | Hamamatsu PMTa | FBK family b | Hamamatsu familyb | Heidelberg 2D SPAD array | Sherbrooke 3D SPAD array
Efficiency at 128nm (LAr) | 0% | % | 10% | 0 | 0
Efficiency at 175nm (Lxe) | 34% | 24.4±1.4%→? | 20.5±1.1%→? | 0→25%→? | 0→25%→?
Efficiency at 420nm | 35% | 60% | 50% | 50% | 15%→?
Single avalanche charge resolution | 25% | 5%c | 5%d | N/A | N/A
Dark noise rate (Hz/cm2) in LXe | 0.23 ± 0.07 | 19 ± 1 | 35 ± 1 | 2 | 1000
# correlated avalanche in 1 ms | 0.02 ± 0.005 | 0.23 ± 0.06 | 0.06 ± 0.02 | AP=0, XT=? | AP=0, XT=?
# Photons emitted per avalanche | N/A | 1 ± 0.5 | 1 ± 0.5 | ? | ?
Single photon timing resolution | 3.9 ± 0.6ns | ~10 nsc | ~100 nsd | 100ps | 100ps
Radiopurity per active area | ~mBq/cm2 | Medium c | < 10 nBq/cm2 d | ~nBq/cm2 | ~nBq/cm2
Power consumption in LXe | 0.13 mW/cm2 | 2 mW/cm2 c | 2 mW/cm2 d | < 1mW/cm2 | < 1mW/cm2
a Massaged from P. Barrow et al., https://arxiv.org/pdf/1609.01654.pdf
b G.Gallina et al., https://arxiv.org/pdf/2209.07765.pdf
c DarkSide-20k readout scheme for 25cm2 channel size
d nEXO readout scheme for 6cm2 channel size (can be applied to FBK)
Issue to scale up to 1cm2. Impacting SBC and nEXO

## Slide 27: Dark matter search with CCD detour…
DAMIC and SENSEI experiments

## Slide 28: Direct DM search with avalanche diode
Block external photons
Using timing coincidence to reject background
  May operate at shallow depth
CMOS
Aka. electronics
Molecular bonding
Thick contact: few um
Reflective coating
1-1000 e-
Low drift field region
Drift field region
Avalanche region

## Slide 29: Adding timing
CCD readout once every ~12h
Avalanche diode coincidence: ns possible
Remove correlated background
CMOS
Aka. electronics
Thick contact: few um
Reflective coating
e-
Low drift field region
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
e-
Cerenkov photon
Cosmic muon
Isolated
electron

## Slide 30: Performances expectations
Work done by GSSI (Agnes) and RHUL (Monroe)’s group

## Slide 31: Beyond Dark Matter search

## Slide 32: Supporting General Fusion
Neutrons
Fusion zone
General Fusion is a company headquarter in Richmond BC
TRIUMF proposed a concept for neutron spectrometry
NSERC ALLIANCE grant being written

## Slide 33: Working using SiPM to detect smoke
Demonstrated over the summer 2022
Photon counting is compelling
New design coming. Easier to build
Smoke injection

## Slide 34: “Outlook” – the 3D integrated revolution that SAPES did not fund…
+ Digital Hybrid Photodetector
With Juan Pablo Yanez (Alberta)

## Slide 35: The end

## Slide 36: Back-side conceptual issue: light emission?
SiO2 (passivation)
e-
p substrate
p epi
gain
p++
Electronics (CMOS)
n
n
Trenches
Delayed x-talk?
Direct cross-talk?

## Slide 37: Triggering an avalanche
Easier for electrons to start an avalanche than for holes
Only a limited region of silicon is active
holes
Electrons
Diffusion
Diffusion

## Slide 38: Detecting photons
38
holes
Electrons
Diffusion
Diffusion

## Slide 39: VUV focus
39
holes
Electrons
Diffusion
Diffusion

## Slide 40: 3D vs 2D digital option
SPAD
Electronics
SPAD
Electronics
2D - trade-off between photon detection and electronics performances
3D vertical integration – Complexity

## Slide 41: Or are they? What about light emission into the detector?
Light emission assumptions:
  At p-n junction – maximum field
  Isotropic
External cross-talk
  Photon escaping the SiPM surface
Internal cross-talk
  Photons being absorbed in a neighboring SPAD
We measure photons escaping with objective acceptance

## Slide 42: Microscope for the Injection and Emission of Light
Cryogenic stage: 80-290K
Laser injection at 405nm
Record SiPM signal with waveform digitizer
  Assess the probability that the laser trigger an avalanche
Longpass
filter
Objective
Olympus inverted
microscope
Dichroic
mirror
405nm
laser
Technical dtour: SPAD light emission

## Slide 43: Can we, particle physicists, help mitigate the impact of climate change?
Early forest fire detection
Supporting emergence of clean energy sources

## Slide 44: Characterizing smoke by detecting particulate scattering
Based on a single photo-diode
Low noise electronics in an ASIC + AI
Designed primarily in Mississauga, ON
80$/unit

## Slide 45: Core Single Photon Detection technology
PDC developed for Astro-particle physics
“Front-side” illuminated single photon detector
Designed at U.Sherbrooke (QC, Canada)
Built at Teledyne-DALSA (QC, Canada)
Parent, Samuel, et al. "Single photon avalanche diodes and vertical integration process for a 3D digital SiPM using industrial semiconductor technologies." 2018 IEEE Nuclear Science Symposium and Medical Imaging Conference Proceedings (NSS/MIC). IEEE, 2018.

## Slide 46: (single SPAD) Photo-detection efficiency in 2022
*all measurements done at 20°C, Vov = 25%, tho = 545 ns, typical.
15% @ 810 nm
Notes: PDE vs wavelength: 3D ~ 2D. Mostly the same p+n junction => peaks in blue. Different oscillations are due to different SiO2 top layer thicknesses (2D = 1280nm. 3D = 1775nm. see backup slide, where SiO2 transmission matches PDE). See increase in red spectrum for 3D.

## Slide 47: TDC integrated in each Single Photon Avalanche Diode (SPAD)

## Slide 48: Photon to digital converter in the dark
Sherbrooke’s 2D SPAD
Technical detour: SPAD light emission

## Slide 49: keV e- for Digital Hybrid Photo-Detector
Beat down dark noise by firing multiple SPADs Diffusion layer
  Photocathode thermal noise at room temperature ~1Hz/mm2
  SPAD thermal noise at room temperature ~100kHz/mm2
CMOS
Aka. electronics
Molecular bonding
Ultra-thin contact 1-5nm
Thin passivation ~100nm
e-
e-
e-
e-
Zero field region
Drift field region
Avalanche region
keV e-
Photo-cathode