## Slide 1: Optimization of Gas-Curtain based Ionization Profile Monitor for Laser-Driven Proton Therapy Applications
Farhana Thesni M P
University of Liverpool/ Cockcroft Institute

## Slide 2: Overview
Motivation
Gas-Jet Monitor
Detector System Simulations
Conclusion and Future Plans

## Slide 3: Proton FLASH Therapy
Plan comparisons for clinical IMPT and proton FLASH plans.
Significant increase in number of proton therapy centres, globally
Increased dose conformity to the tumour and Organ At Risk (OAR) sparing
Novel treatment techniques like FLASH and Proton Arc Therapy
Development of advanced facilities for pre-clinical studies.
Durante, M. ,et al., Br J Cancer 120, 777–778 (2019). https://doi.org/10.1038/s41416-018-0329-x
Kneepkens E, et al., Phys Med Biol. 2023 Nov 2;68(21). doi: 10.1088/1361-6560/ad0280. PMID: 37820687.
Ionization Chamber
Amorphous silicon detector

## Slide 4: Gas-jet Monitor
MCP
Phosphor screen
Camera
Ionization
Ions extraction
Visible light

## Slide 5: Proton Beam Profile Measurement
Proton beam of MC40 cyclotron at UoB.
Proton beam of energies 10.8, 16, 20 and 28 MeVs and different beam currents.
The X and Y profiles 28 MeV and 69.06 nA with 500 ms integration time
Optimized jet profile
Selecting the gases according to the beam to get higher ionization cross sections
Improvement in reconstruction of data (Machine Learning)
Improved extraction system
Intensity (arb)
Intensity (arb)
Pixels
Pixels
Data
Fit
Data
Fit
Horizontal= 1.215 ± 0.026 mm​
Vertical= 1.234 ± 0.044 mm​

## Slide 6: Extraction System-V0
Electric field distribution along drift region
The electric field distribution and trajectory of argon ions
  V0: ±17.6%
Trajectory shift (around 2.35 mm)
Detection efficiency of MCP
https://www.hamamatsu.com/eu/en/resources/library.html
Electric field (Z) (V/m)
Drift direction

## Slide 7: Compact Extraction System- V1
Electric field distribution and trajectory of V1 extraction system.
Electric field distribution along the drift region
  V1: ±5.03%

## Slide 8: Energy Distribution and Shift in the profile
1.41 mm off-centre

## Slide 9: Beam Profile at MCP
Input beam radius : 0.5 mm
Horizontal profile at MCP : 1.28 mm
Vertical profile at MCP : 0.49 mm

## Slide 10: Beam Profile at MCP
Input Beam (mm) | X-profile (mm) | Y-profile (mm) | Variation (%)
0.5 | 1.28 | 0.49 | X= 160.07 Y=0.78
2.5 | 2.66 | 2.47 | X=6.54 Y= 1.17
5 | 4.99 | 4.97 | X=0.2 Y=0.6
10 | 9.91 | 10.26 | X=0.9 Y=2.6
15 | 14.37 | 15.12 | X=4.21 Y=0.8

## Slide 11: Conclusions and Future
Potential of Real-time beam profile monitoring.
Shot-by-shot measurement of beam profile for laser-driven protons.
Uniform potential distribution with less variation:
  V0: ±17.6%
  V1: ±5.03%
Beam size limitation of less than 40 mm.
Comparison of experiment and simulation.
Study the impact of Beam misalignment.
Commissioning and testing the new extraction system.
The design modification to accommodate broader range of beam sizes.

## Slide 12: Thank you!
Team: Narender Kumar
Milaan Patel
William Butcher
Carsten Welsch
3m
2.8m
8m
7.5m
0.2m
0.5m
3m
0.85m
1m