## Slide 1: Energy dependence of detectors for 3D dosimetry of light ion beams
Hugo Palmans
MedAustron, Wiener Neustadt, Austria
and National Physical Laboratory, Teddington, UK

## Slide 2: Overview
Need for measuring absorbed dose
Characteristics of ideal 2D and 3D detectors
Energy dependence of detector response to absorbed dose

## Slide 3: Absorbed dose versus fluence
Most of this conference:, or
This presentation:
energy imparted
thermalisation
ionisation
chemical states
physical states

## Slide 4: Need for accurate dosimetry
0.0
0.2
0.4
0.6
0.8
1.0
0.0
20.0
40.0
60.0
80.0
100.0
Dose (Gy = J kg-1)
Probability
probability of tumour control
probability of severe complications
(x-rays)
complications (x-rays)
probability of tumour control without severe
probability of severe complications
(protons)
probability of killing tumour without severe
complications (protons)

## Slide 5: Need for measuring absorbed dose
At the cellular level:
direct DNA damage: ionisation at nanoscale
indirect DNA damage: ionisation at microscale
other damage: tens of micrometers scale
bystander effects: millimetre scale
For photons and electrons:
biological effects ~ ionisation ~ absorbed dose
For protons and ions:
biological effects ~ ionisation * wi ~ absorbed dose * wi * wD

## Slide 6: Need for 3D dosimetry
  Homogeneity
  Target coverage
  Cold spots
  Out-of-field dose
  Integral dose

## Slide 7: Requirements
  High spatial resolution
  Small dosimetric “voxels”
  Ease of operation, non-toxic
  Reasonable cost
  Fast readout
  Stable in time; reproducible
  Signal proportional to dose (or known functional relation)
  Dose rate independent, large dynamic range
  Orientation independent
  Water-equivalence
  Minimal/managable perturbing

## Slide 8: passive (scattered) – dynamic (scanned)
range modulator

## Slide 9: Scanning for passive beams
+

## Slide 10: Arrays and 2D, 3D dosimeters for dynamic beams



## Slide 11: Calorimetry (thermalisation)
a
(m2·s-1)
1.44×10-7
0.80×10-4
c
(J·kg-1·K-1)
ΔT/D
(mK·Gy-1)
water
4180
0.24
graphite
710
1.41
Dmed=cmed·ΔT

## Slide 12: Calorimeters - water vs graphite
thermistor
0.6 mm
0.5 mm

## Slide 13: Water calorimeters – energy independent chemical heat defect?
0,0
1,0
2,0
3,0
LET (keV.mm-1)
G (100 eV-1)
10-1
100
101
102
H+
OH•
e¯aq
H•
OH¯
H2
HO2
H2O2
60Co
(100 MeV)
(1MeV)
protons
Brede et al (2006) Phys. Med. Biol. 51:3667
Ross et al (1996) Phys. Med. Biol. 41:1

## Slide 14: Graphite calorimeters – energy independent dose conversion?
?

## Slide 16: Ionization chambers

## Slide 17: Dose determination with ion chamber
Q: charge produced in the air of the chamber
W: mean energy required to produce an ion-pair in air
Unfortunately, for commercially available chambers, the volume V is not known with the necessary accuracy (would otherwise be a primary standard!).
We have to rely on methods other than “first principles”, which involve the use of ion chamber calibration factors
p
s
D
D
=
air
w,
air
w
e
W
m
Q
D
=
air
air
e
W
V
Q
=
air
r

## Slide 18: Water/air stopping power ratio
r
o,p
= 1mm
r
o,e
= 1mm
100
101
102
103
10-6
10-4
10-2
100
102
t
= E
k
/E
rest
S
coll
/
r
(MeV cm
2
g
-1
)
proton water
protons air
electrons water
electrons air
0.90
1.00
1.10
1.20
1.30
s
w,air
sw,air protons
sw,air electrons
ICRU 49
ICRU 37
Medin et al. 1997, Phys Med Biol 42:89

## Slide 19: Perturbation correction factors
0.0
10.0
20.0
30.0
40.0
50.0
60.0
70.0
0.0
10.0
20.0
30.0
Depth (mm)
D
air
per proton per cm
2
(Gy)
-5.0
0.0
5.0
Difference pdd and
reconstruction
Palmans 2006 Phys Med Biol 51:3483
z
sleeve
wall
air
c.e.
z0
water
x
Rcel
Rcav
Rwall
Rsleeve
Proton
p
Palmans 2011 Proc IDOS
IAEA-CN182-230

## Slide 20: Ionisation chambers – overall conversion air to dose
Palmans, Dosimetry, in : Proton
Therapy Physics, Ed Paganetti

## Slide 21: Ionisation chambers (& any ionisation detector) – charge recombination
Palmans et al 2006 NPL report DQL-RD003

## Slide 22: Ion chambers - recombination
HT
CE
E
Volume recombination
(pulsed) (continuous)
Initial recombination
Charge multiplication

## Slide 23: diamond detectors
Fidanzio et al 2002 Med Phys 29:669

## Slide 24: Silicon-based detectors
Kohno et al 2006 Phys Med Biol 51:6077

## Slide 25: TLD - protons
Besserer et al 2001 Phys Med Biol 46:473
Notes: For TLD a detailed experimental energy-response curve is determined by Besserer et al and can be explained by a complex model of track structure theory, charge mobility and distribution of traps and luminescent centres.

## Slide 26: NPL therapy level alanine/EPR
Operates since 1991
Bruker ESP 300 X-band 9” magnet
Pellets
  90% alanine + 10% paraffin wax
  5 mm diameter
  0.5 mm and 2.5 mm nominal thickness
Measurement reproducibility of
2.5 mm pellets ~ 0.05 Gy

## Slide 27: Alanine/EPR dosimetry
Bassler et al, NIMB 266 929-936, 2008
CERN anti-proton beam
Birmingham 15 MeV beam
GSI 12C ion beam
Herrmann et al 2011 Med Phys 38:1859

## Slide 28: Radiochromic film
Piermattei et al 2000 Med Phys 27:1655

## Slide 29: Radiochromic film – energy dependence
Kirby et al. 2010 Phys Med Biol 55:417

## Slide 30: An interesting one… depth dose distribution for fluence determination
Pic laser induced beam
Kirby et al. 2011 Laser Part Beams 29:231

## Slide 31: Alanine – plan verification

## Slide 32: Polymer gels

## Slide 33: Polymer gel dosimetry
Palmans et al 2006 NPL report DQL-RD003

## Slide 34: Polymer gel dosimetry
BANG3-Pro2:
Zeidan et al. 2010 Med Phys 37:2145

## Slide 35: Plastic scintillators
Liu et al. 2011 Phys Med Biol 56:5805
Goulet et al. 2012 Med Phys 39:4840
A. Beierholm, Risoe

## Slide 36: Scintillators
Safai et al. 2004 Phys. Med. Biol. 49:4637
Notes: Another promising approach is illustrated here. People in PSI found that some scintillator mixtures under respond while others over respond so they mixed two of them in adequate proportions to obtain a perfect match with an ion chamber measurement. The problem is that it works only for this particular energy so it needs to be further investigated if a more universal detector can be based on such an approach.

## Slide 37: Microdosimetry…
Chip :
about 5x5 mm2
Andrea Pola, Politecnico di Milano
TE Absorber SQUID
Junctions
Superconducting Absorber
Seb Galer, NPL

## Slide 38: Nanodosimetry…
Ion counter / PTB Startrack / INFN

## Slide 39: Reading
C. P. Karger, O. Jäkel, H. Palmans and T. Kanai, “Dosimetry for Ion Beam Radiotherapy,” Phys. Med. Biol. 55(21) R193-R234, 2010
H. Palmans, A. Kacperek and O. Jäkel, “Hadron dosimetry” In: Clinical Dosimetry Measurements in Radiotherapy (AAPM 2009 Summer School), Ed. D. W. O. Rogers and J. Cygler, (Madison WI, USA: Medical Physics Publishing), 2009, pp. 669-722
H. Palmans, “Dosimetry,” In: Proton Therapy Physics, Ed. H. Paganetti (London: Taylor & Francis), 2011, pp. 191-219
H. Palmans, “Monte Carlo for proton and ion beam dosimetry,” In: Monte Carlo Applications in Radiation Therapy, Ed. F. Verhaegen and J Seco, (London: Taylor & Francis), 2013, pp. 185-199