## Slide 1: Status of the muon measurement in LSC
MUON MONITOR WORKSHOP
A. Bayo
Laboratorio Subterráneo de Canfranc (LSC)

## Slide 2
Introduction
Notes: The outline of the presentation is the following:
First, a short introduction of flux value expected and the glossary used
Secondly, we will see the structure and the first file discrimination rule: the multiplicity. Also we will analyse the “size” (how many modules fired there are in each event) of events.
Next, we have to fix the discrimination rules to obtain the number of muons detected
After that, we will show the detection process of fire forest and power consumption of node.
Finally, the results and conclusions will be analyzed.

## Slide 3
Introduction
Depth (max.): ~ 2450 meters of water equivalent (m.w.e.)
Composition of the rock and average density: limestone, mainly calcium carbonate, ~2.7 g/cm3 plus traces of
quartz, ~2.6 g/cm3)
Expected Muon flux: = 2.5 x 10-3 m/m2s
Héctor Gómez Maluenda, University of Zaragoza.
JRA1-N2 Meeting, Zaragoza, Nov 23rd 2007
Notes: The outline of the presentation is the following:
First, a short introduction of flux value expected and the glossary used
Secondly, we will see the structure and the first file discrimination rule: the multiplicity. Also we will analyse the “size” (how many modules fired there are in each event) of events.
Next, we have to fix the discrimination rules to obtain the number of muons detected
After that, we will show the detection process of fire forest and power consumption of node.
Finally, the results and conclusions will be analyzed.

## Slide 4
Introduction
LSC, LAB2400 , Hall A
DAQ & power supply

## Slide 5
Introduction
3 layers assembly of the SC16 detectors:
3x3=9 SC16s (9x16=144 pixels)
2x2=4 SC16s (4x16=64 pixels)
3x3=9 SC16s (9x16=144 pixels)

## Slide 6
Introduction
0.5 m
1.5 m
Scintillators (pixels) of the 1-st and 3-d layers
Scintillators (pixels) of
the 2-d layer
(marked by the gray)
Top view
SC16
SC16
SC16
SC16
SC16
SC16
SC16
SC16
50 mm
120 mm
Pixel
Wooden frame
Pb bricks
Steel table
Supporting grid
ϴzenith
Muon trajectory
Size of pixel
122x122x30 mm3

## Slide 7
Raw data
0 -> trigger
1 -> module hit
EVENT
Number of detector
Hit time
(10 ns units)
Pixel hit map information
px. 0 px.1 …………...px15

## Slide 8
Discrimination rules

## Slide 9
Multiplicity (M)
Pixels multiplicity of one detector(M)
  M < 6 - accepted
  6 < M < 10
    less than 5 detectors - accepted (regular files)
    more than 5 detectors - rejected
  M > 10 - rejected

## Slide 10
Multiplicity
Without Lead Shield

## Slide 11
Events groups
RMM100-119
296417 EVENTS

## Slide 12
Discrimination rules
“Zero events”
  Pattern info missing
  Time info missing

## Slide 13
Window Time (RMM100-RMM110)
t2-t1 t3-t2 t3-t1
Discrimination rules

## Slide 14
Tracking discrimination - neighbourhood
Discrimination rules

## Slide 15
Discrimination rules
Tracking discrimination
  8 straight lines (corner top – corner bottom)
  5 faces of middle layer pixel

## Slide 16
Tracking discrimination - multiplicity
Discrimination rules

## Slide 17
Discrimination rules
Zenith angle
Azimuth angle
We have fixed θ = 0 when:
  xtop - xbottom = 0
  xtop - xmiddle = 0
  xmiddle - xbottom = 0

## Slide 18
Results – LAB2400

## Slide 19
Results – LAB2400
Around 446 days of “good” data

## Slide 20
Results – LAB2400

## Slide 21
Results – LAB2400

## Slide 22
Results – LAB2400
Rioseta Valley
(minimun rock thickness)
ϕ ≈ 180 º

## Slide 23
Results – LAB2400

## Slide 24
Scintillator plastics
2 SCIONIX detectors (1000 x 500 x 50 mm3)

## Slide 25
Scintillator plastics

## Slide 26
Scintillator plastics

## Slide 27
Scintillator plastics

## Slide 28
Scintillator plastics
Particle Data Group, Review of Partyicle Physics, Chinese Physics C Vol. 38, No. 9 (2014) 090001
Surface Calibration
Material Attenuation ????
600 mm concrete
200 mm light concrete
100 mm extruded polystyrene
…….

## Slide 29
Scintillator plastics
Muon Flux

## Slide 30
Scintillator plastics
Plastics
Muon monitor

## Slide 31
Scintillator plastics
Gap Calibration

## Slide 32
Scintillator plastics
Measurement of absolute muon efficiency of the SC16 pixels using the additional scintillators. The four-fold coincidence: 2 pixels of 2 different levels + AS1 +AS2 seems to be muon event. If so, we can count absences of fits for the 3-d level pixel which can be hit by muon but has not been.
SC16
Top SC16 level
Mid
SC16 level
Bottom SC16 level
PixelB
PixelM
PixelT
Additional scintillator AS1
Additional scintillator AS2
Muon track

## Slide 33
Results – LAB2500

## Slide 34
Results – LAB2500
Around 183 days of “good” data

## Slide 35
Results – LAB2500

## Slide 36
Results – LAB2500

## Slide 37
Results – LAB2500

## Slide 38
Results

## Slide 39
Results

## Slide 40
We have made a muon monitor for underground measurement which is sensitive, precise and reliable.
We have enough data to obtain a good statistic value
The value measured is similar to the expected
We observe the dependence between muon flux and mountain profile
The gaps observed in the angles distribution is related with the pixel gap
Conclusions

## Slide 41
Geometry Monte Carlo simulation can correct the final value
This final value must be similar to plastics scintillator corrected (surface and gap calibration) value
We could include the date and time in the program in order to check the modulation
Could be interesting make a program similar to used to check the final values
The monitor data can be applied for tomography of LSC overburden
To do….

## Slide 42: Status of the muon measurement in LSC
MUON MONITOR WORKSHOP
Thank you for attention!!