## Slide 1: Low background facilities in LSM
Overview of the germaniums and available at LSM

## Slide 2: Germanium
Germanium hosted in LSM
Example of detector
Sample management
Partage project
Comparison to mass spectrometry

## Slide 3: Laboratoire Souterrain de Modane
Located in Modane
12 permanents
1000 visitors days per year
Wide range of interdisciplinary topics
Astroparticles, nuclear physic, environment, electronics, radioactivity measurement, biology

## Slide 4: Laboratoire Souterrain de Modane
Merger with Laboratoire de Physique Subatomique & Cosmologie (LPSC-IN2P3) in Grenoble
  70 researchers, 90 Engineers & technicians
  Covering fields in particle & nuclear physics, astroparticle and cosmology
LSM now becomes a « national facility » as labelled by the CNRS
  National facility for IN2P3 / CNRS
LSM as an national experimental facility for :
  Fundamental Physics
    Neutrino property determination
    Direct Dark matter search
  Gamma spectrometry measurement
    14 detectors measuring continuously
    Open to geosciences, materials, biology and medecine
      Actually 1000 samples measured per year
    PARTAGe project to automatize measurments
      Increase significantly the scope of the LSM

## Slide 5: Location and access
4 fire-proof doors
Footmen entrance
Tunnel Routier du Fréjus
LSM

## Slide 6: Germanium basics
Sample at room temperature
Sensitive to gammas from 20keV up to 3MeV
Non destructive measurement
Sensitive to muons and cosmic activation
Coax
Well
Planar
Notes: Quick reminder of the basis of a Germanium detector

## Slide 7: Germanium facility
LSM hosts currently 18 ultra low background Germanium this number is expected to grow to 24 in the next years
Different shape and sizes are available.
The detector should be chosen accordingly to the sample nature
The gamma measurement allow to search for contamination (month scale measurement)
Detector fight radons different way. Pure nitrogen, boil off the dewars or radonless air.

## Slide 8: Main contaminants

## Slide 9: Germanium facility
Example of detection limits
Mafalda : (our swiss army knife)
Size 150 cc – 43,1%
  Φ 80mm h 31,7mm
Resolution
  122 keV 920 eV
  1,33MeV 1,97keV
  Background
    Integral 1153,5 count/day
    133 c/kg
    Peaks
    46,5 keV 1,49  0,37 c/d [210Pb]
    75 keV 3,6  0,62c/d [Pb]
Nucleide |  | Bq/kg
210Pb | < | 1,58E-02
226Ra | < | 1,27E-03
238U | < | 6,27E-03
228Ra | < | 3,82E-03
228Th | < | 8,66E-04
230Th | < | 1,42E-01
Silicon wafer measurement
700 000s 650g
Std
Std
536
Shielding
ARCH
limit (Bq)

## Slide 10: Germanium facility
Improving detection limit :
  Imply choices :
Obélix :
Size
  600cc-160%
Background
  95 counts/kg.d
Resolution
  122 keV 1,1 keV
  1,33MeV 2keV
250 mm
200 mm
Nucleide |  | Bq/kg
210Pb |  | NA
226Ra | < | 4,96E-4
238U |  | NA
228Ra | < | 1,78E-03
228Th | < | 4,37E-04
Theoretical sample of 1kg for 500000s
Sample Chamber
This detector can welcome much bigger sample but the low energy gamma are stopped by the dead layer around the detector.

## Slide 11: Sample management
Priority between measurement and quality checks
Necessity to define the level of contamination aimed for the experiment on every considered nucleides
Necessity to define the nucleides of interest especially 210Pb and 238U
Influence of (,n) on the background and contamination level associated

## Slide 12: Sample management
Database foreseen to agregate the measures?
Modane has its sample management system called BaDGe
Used to centralize measurements and track the samples
Possibility to merge the systems?
Naming rules no space, no special characters less than 16 letters and only upper letter

## Slide 13: Nickel 58

## Slide 14: Partage project
Reduce footprint of Germanium detectors
Free space for more detectors
Keep the same level of shielding
Improve radon mitigation
March toward robotisation

## Slide 15: Lead shield for marinelli
Global doctrine : 20 cm standard lead 5cm archeological
No specific design
All shield are
the same
Archeological lead
Standard lead removed with crane
Standard bricks

## Slide 16: Future of germanium at LSM
PARTAGe project
  Combining shields in common walls
Robotisation
Optimisation of measurement time based on the radiopurity objectives

## Slide 17: Radon tent
10m3 inlet max
2,1m3 boil off nitrogen <1mBq/m3

## Slide 18: Tent
O-ring
Metalic enveloppe
+ pressure vent

## Slide 19: Cosmogenic inside crystal
énergie | intégrale | Coups par jour | Identification
46.5 | 51 | 1.7 | Pb210
66.9 | 33 | 1.1 | Th-230
143.8 | 78 | 3.57 | Co-57
238.6 | 20 | 0.57 | Pb-212
1124.5 | 60 | 2.73 | Zn-65
1460 | 7 | 0.36 | K-40
Detector mafalda
Integral background 0,27/min may 2008
P.Loiaiza et al
Integral now : 0,086 cnts /min
only 210Pb =1,5 cnts/min
40K =0,47cnts

## Slide 20: Mass spectrometry
 | T1/2 | 1ppt en Bq/g | LD en Bq/kg
238U | 4,47E+09 | 1,24E-08 | 1,24E-05
230Th | 7,52E+04 | 7,64E-04 | 7,64E-01
226Ra | 1600 | 3,66E-02 | 3,66E+01
210Pb | 22,3 | 2,82E+00 | 2,82E+03
232Th | 1,40E+10 | 4,07E-09 | 4,07E-06
228Ra | 5,75E+00 | 1,01E+01 | 1,01E+04
228Th | 1,91E+00 | 3,04E+01 | 3,04E+04
Conversion from mass to activity considering 1 ppt as LD
Consider analysing a standard lead sample

## Slide 21: Conclusions
Deciding the number of sample that must be measured and detection limits required
Choose the right combination of techniques for optimum results (Analyse Pb with ICP-MS)
Germaniums measurements have a life ahead
More demands to put germanium in LSM more fields to explore …