## Slide 1
Updating the Power Converter Control Software
Due to the variety of types of power converters and the generic nature of the FGC platform, the different types of converters are supported by specifying them in the definitions files installed in each one of them. But because of the large number of types of converters and misuse and inefficient in the memory allocated for this purpose a new structure was needed.
Works
Abstract
Introduction
The LHC has ~1700 magnet circuits, each driven by a power converter. Each power converter is controlled by an embedded computer called a Function Generator/Controller (FGC). Converter Control Software section is responsible for the development of the embedded Real-time software used to control the power converters that drive the magnets and provide reliable and well adapted power converter controls software for CERN operators and converter specialists as well as minimizing the effort needed for development and maintenance. CCS aims to provide standard solutions that cover all use cases.
• FGCLite: ~950 systems in LHC.
• FGC2: ~1,200 systems in LHC and PS.
• FGC3: ~1,250 systems in Linac4, PSB, PS, AD, Isolde and COMPASS.
• Others: ~3,100 systems in Linac2, Linac3, PSB, Leir, PS, AD, East Area, nTOF and transfer lines.
Conclusions
Due to the large number of systems managed and the long life cycle of the equipment at CERN, updating works with a DevOps view were needed in the current software in order to make it more efficient and a more modularized architecture to support the actual and future needs. Part of this work has been done in order to update and improve this points and thanks to it, the maintenance effort has been reduced and new system types can be supported quickly.
CERN, Geneva, Switzerland 1 CIEMAT, Madrid, Spain 2
Dynamical access to analog values retrieval for PowerSPY visualizing tool reducing slightly the work needed to define systems and DIMs.
References
[1] Q. King, FGC3 Overview, FPC Section Meeting, Feb 2013.
[2] Q. King et al., Function Generation and Regulation Libraries and their Application to the Control of the New Main Power Converter (POPS) at the CERN CPS, ICALEPCS, 2011.
[3] Page, S., Integration of the LHC Power Converters within the High-level LHC Control System, ICALEPCS, 2005.
Accurate control of power converters is a vital activity in large physics projects. Several different control scenarios may coexist, including different requirements in the regulation of a circuit's voltage, current, or field strength within a magnet. Depending on the type of needs, a circuit's reference value may be changed asynchronously or synchronously with other circuits. Synchronous changes may be on demand or under the control of a cyclic timing system. In other cases, the reference may be calculated in real-time by an outer regulation loop of some other quantity, such as the tune of the beam in a synchrotron. The power stage may be unipolar or bipolar in voltage and current. All these different cases are supported by the FGC Converter Control Systems at CERN.
More efficient use of the space allocated to the definition of the different types of systems.
  *This work has been funded by CERN and CIEMAT
  † victorjgf@gmail.com
Abstraction in the code of the different platforms through integration of the DB library into the FGC2 and the FGC3 codebase for the access to the definition of the different types of system improving its management and handling.
Analysis of the use of resources resulting in the filtering of ~3400 entries from the DB of relations of non-necessary components releasing ~17Kb.
Comparison of configuration device‘s values against the the corresponding values stored in the DB for the properties of the device.
New consistency checks added in the FGC definitions parser.
Victor J Garcia Fernandez†12, Raul Murillo Garcia1
Structure reduced from 194Kb per comp to ~150Kb per comp (33% of saving).