## Slide 1
1
Ana Karen Reascos Portilla TE-VSC
Supervisors:
Marcel Himmerlich TE-VSC
Mauro Taborelli TE-VSC
Ana Karen Reascos Portilla
1
20/01/2022
Laser treatment for electron cloud

## Slide 2
2
Ana Karen Reascos Portilla
Summary
Laser installation
LHC visit
20/01/2022
Laser long test
Hardware implementation
Software implementation

## Slide 3
3
Ana Karen Reascos Portilla
Experimental setup for laser treatment
Chiller
Vacuum pump
Hyper-Rapid Laser
BDS
N2 pipe
Interface
cable
20/01/2022

## Slide 4
4
Ana Karen Reascos Portilla
Optical principle of working – Beam Delivery System
Laser output power
Power meter
Optical fibre
20/01/2022

## Slide 5
5
Ana Karen Reascos Portilla
Laser long test
Laser output power
BDS output power (Power meter)
Laser output power (initial power)
BDS output power (final power)
Pressure
77h30
73h25
46h39
23/11 - 15:20
22/11 - 12:34
22/11 - 9:29
25/11 - 13:59
20/01/2022

## Slide 6
6
Ana Karen Reascos Portilla
Laser long test
Vacuum gauge
Laser output power (initial power)
BDS output power (final power)
Pressure
23/11 - 15:20
22/11 - 12:34
22/11 - 9:29
25/11 - 13:59
Pump the fiber before starting the laser
Maintain static vacuum
Pump the fiber
Maintain static vacuum
77h30
73h25
46h39
Vacuum gauge – Weekend test
20/01/2022

## Slide 7
7
Ana Karen Reascos Portilla
New hardware implementation
Power meter
Shutter (BDS)
Half-wave plate
Chillers
Vacuum gauge
Stabilization system
BDS Output power
Check list of errors
Monitor fiber pressure
On / off
Monitor the alignment
Change the angle
20/01/2022

## Slide 8
8
Ana Karen Reascos Portilla
20/01/2022

## Slide 9
9
Ana Karen Reascos Portilla
LHC visit
20/01/2022
Point 2
Point 8
Impact order
impact.cern.ch

## Slide 10
10
Ana Karen Reascos Portilla
What’s next?
Eliminate the leak
Finish the stabilization system integration
Test the laser functionalities from the CRio interface
Align the optics in the robot
START TO TREAT SAMPLES
20/01/2022

## Slide 11
11
Ana Karen Reascos Portilla
FTEC PROGRAM
20/01/2022
Gran oportunidad internacional
Centro de investigacion de alto nivel
Mas contacto con la industria
Plan de retorno mas espeficico