## Slide 1: A hybrid method calculating linear energy transfer for intensity modulated proton therapy
J. Lentz, X. Ding, M. Bues, W. Liu
ENSAR2 workshop: GEANT4 in nuclear physics
24 April 2019 – 26 April 2019 – CIEMAT Madrid, Spain

## Slide 2: Facility Layout
Synchotron
G1
G2
G3
G4

## Slide 3: Treatment Room

## Slide 4
Daniel Robertson

## Slide 5: Pencil Beam Scanning
Layer by layer (energy switching)
Spot by spot (magnetic deflection)

## Slide 6: Linear Energy Transfer (LET) calculation
LET is one of the important factors in determining the biological effects of proton radiation therapy
No commercial Treatment Planning System (TPS) offers an LET calculation
We developed a hybrid method to calculate LET distributions in real patient geometries
The hybrid method was implemented in our in-house TPS and has been in routine clinical use for 2 years

## Slide 7: Hybrid method to calculate LET
Developed a Geant4 MC code to model the proton therapy nozzle
Generated the LET kernels by the MC code
Incorporated the kernels into our in-house treatment planning system

## Slide 8: Developed a Geant4 MC code
Started from an example (hadrontherapy) from the Geant4 example set
Wrote the geometry (proton nozzle) based on the vendor’s documentation
Default physics model QGSF_BIC_EMY
Parameterized proton source (energy, momentum, position) to match measurement
Validated the MC code by measurement (IDD, profile, and FSF)

## Slide 9: Mayo Clinic proton nozzle
[1] G.A. Pablo Cirrone, Giacomo Currone, Franceso Di Rosa, Santi E. Mazzaglia, Francesco Romano, Andrea Attili, Faiza
Bourhaleb, Germano Russo, Pekka Kataniemi, Aatos Heikkinen, Flavio Marchetto and Shin Jungwook. Hadrontherapy:
An open source, Geant4-based application for proton-ion therapy studies, 2009 IEEE nuclear Science Symposium Conference
Record

## Slide 10: Validation by measurement: (1) IDD comparison

## Slide 11: Validation by measurement: (2) In-air profile comparison

## Slide 12: Validation by measurement: (3) In-water profile comparison

## Slide 13: Validation by measurement: (4) FSF comparison

## Slide 14: Generation of LET kernels ()

## Slide 15: Comparison between hybrid and MC: (1) Two lateral profiles through a lung tumor

## Slide 16: Comparison between hybrid and MC: (2) LET deposition and LET-volume histograms for a H-N case

## Slide 17: Comparison between hybrid and MC: (3) LET deposition and LET-volume histograms for a Brain case

## Slide 18: Conclusions
Geant4 MC code can be used to calculate LET data for proton radiation therapy
The hybrid method can be used to calculate LET distribution for real patient geometry accurately and efficiently

## Slide 19: Questions & Discussion