## Slide 1
Experimental Prospects
on Muon g-2
Mark Lancaster
University College London

## Slide 2
Aim
0.14 ppm
0.54 ppm

## Slide 3
How to achieve 0.1 ppm
0.14 ppm
0.54 ppm
“Never measure anything but frequency”
I. Rabi

## Slide 4
Spin precesses around B at
a frequency determined by “g”
Interaction between
magnetic moment (spin) with B-field.
B field (photon)
g-2 basics

## Slide 5
Spin vector of muon rotates slightly quicker than Momentum vector.
For a 1.5T field spin rotates in 144ns and momentum in 149ns.
Particle in a circular storage ring (B-field): two frequencies:
Motion in B-field storage ring

## Slide 6
But real beams are not all on the same perfect circular orbit and can have a (small) transverse velocity component.
These imperfection causes beam to diverge vertically.
The real world
Two approaches:
- cancel the divergence with an electric quadrupole field (CERN,BNL, FNAL)
- minimise the divergence by reducing the beam pT (J-PARC)
FNAL
J-PARC

## Slide 7
FNAL
J-PARC
3.094 GeV muons
1.45 T, 14m bespoke magnet
Focussing quadrupoles
Kicker magnets
Emittance: 1000pimm
0.3 GeV muons
3T, 66cm MRI magnet
ΔpT/pT = 1e-5
Apparatus and hence systematics are very different
Two very different experiments

## Slide 8
J-PARC: MAKE ZERO
BY HAVING E=0
FNAL: MAKE ZERO BY
CHOOSING “MAGIC” 𝝲
Addition of E-field
Both expts need to measure two quantities
- B field
- ωa
To better than 0.1 ppm

## Slide 9
Measure two quantities
B is measured using NMR in terms of the proton Larmor frequency : ωp
λ+ measured from muonium hyperfine structure
Uncertainty in aμ determined by precision of ωp and ωa measurements

## Slide 10
FNAL g-2 experiment

## Slide 12
http://paperscape.org/

## Slide 14
FNAL g-2
Inject 3.09 GeV muons into
a storage ring (B = 1.45 T)
Exploit property that direction
of e+ from μ+ decay is strongly
correlated with μ+ spin
for highest energy e+
24 calorimeters and 3 straw trackers measure e+ for O(1 ms) for spills
separated by 10ms.
16,000 stored 3.09 GeV muons from 1012 protons per spill.

## Slide 15
BNL calorimeters

## Slide 16
0 – 100 ms
100 – 200 ms
200 – 300 ms
300 – 400 ms
400 – 500 ms
500 – 600 ms
600 – 700 ms
The Wiggle Plot
Need approx
100B muons !

## Slide 17
The Move

## Slide 18
The Move

## Slide 19
Long Live The Risk-Register
ENERGY
FRONTIER
Notes: Back Row: Gordon Danby, John Field, Francis Farley, Emilio Picasso, and Frank Krienen. Kneeling, from left:John Bailey, Vernon Hughes and Fred Combley.

## Slide 21
FNAL Improvements
More μ per proton
Improved modeling of beam
& detectors
Lower inst. rate
Fewer pions
Unique capabilities
of FNAL accelerators
Improved detectors
Improved field uniformity, field
measurement & calibration
Improved stored muon
beam dynamics
New / improved technologies
Additional collaborators
Building on wealth of experience
from BNL E821 & other expts

## Slide 22
g-2
Mu2e
Accelerator modifications mostly complete at FNAL
RECYCLER
BOOSTER
TARGET
DELIVERY
RING
MUONS

## Slide 23
AP30 Delivery Beamline
Beam Quads Into g-2 Ring
Beam infrastructure 90% complete
First beams (low muon intensity) from April 2017
Beamlines

## Slide 24
Inflector Magnet
Kicker magnets
μ+
7 cm
7.1 m
Beam doesn’t enter on the
correct orbit and needs a kick
to get there !
Beam Injection

## Slide 25
Ideal kicker pulse
Kicker

## Slide 26
BNL kicker pulse
New FNAL (Cornell) kicker pulse
Kicker Pulse

## Slide 27
Improvements to injection system
Q1
Q2
Q4
Q3
Inflector Magnet
Kicker magnets
Focussing quads
μ+
7 cm
7.1 m
Baseline: existing BNL inflector
but new design under R&D which
gives x2 stats
New with
improved kick
Collimators
New and with
sensors
Using higher
voltage for
improved tune

## Slide 28
Beamline simulation

## Slide 29
72 pole pieces
864 wedges
48 iron “top hats”
144 edge shims
8000 surface iron foils
100 active surface coils
Yoke : 26 tons to 125 microns….
g-2 Magnet

## Slide 30
The laminators !

## Slide 31
B-field been on for last 12 months

## Slide 32
+
Poles
Top hats & wedges
Surface foils
Shimming progress

## Slide 33
50
ppm
~1400
ppm
Oct 2015  Aug 2016
Field uniformity x30 improved in a year and now x4 better than
achieved at BNL after first shimming round.
Field Uniformity

## Slide 34
Muons are distributed over storage volume
B-field is not uniform over this volume
Need to convolute the two.
B-field map

## Slide 35
Trackers
Reconstructed decay position
Straw tracking detectors
Measure beam profile
Identify pileup and muons lost from beam
Measure EDM

## Slide 36
Straw tracking detectors

## Slide 37
Position in vaccum chamber

## Slide 38
Muon EDM
Essentially zero in SM : any observation is new physics
Needs non mass-scaling BSM effects to
be in expt’s reach given e- EDM limit
Expect several billion events in the
trackers and so reach 10-21
vs 2x10-19 at BNL

## Slide 39
PbF2 calorimeter
50 MeV resolution at 2 GeV and pulse separation < 5ns.

## Slide 40
NIM A 783 (2015),
σt ~ 25 ps
Temporal separation at 5 ns
Energy Resolution
Timing Resolution
Electron pile-up
Position from Energy Deposit
Calorimeter testbeam results

## Slide 41
Status
1st beam is expected in April with first muon data to be
accumulated towards the end of 2017.
BNL-level statistics by mid-2018 and by 2020 x20 the statistics
Expectation is to publish 3 results with 100%, 50% and 25% of BNL
precision
Systematics: 3 missing pieces
That’s 3000ppm !!!

## Slide 42
Systematics: 3 missing pieces
That’s 3000ppm !!!
Systematics x 1/3

## Slide 43
Systematics x 1/3
132 “1000-piece” puzzles. If you lose just 1 piece it’s a 7 ppm error
The 1976 CERN result

## Slide 44
Systematics x 1/3
7128 puzzles. Lose 1 piece : 140 ppb

## Slide 45
Requires several innovations to achieve 106 muons/sec
- production of sufficient muonium using special materials
- pulsed 100 μJ VUV lasers to ionise muonium
- muon linac keeping ΔpT/pT < 1e-5 : world’s 1st muon accelerator !
J-PARC g-2 Experiment

## Slide 46
MRI magnet and Si detectors
Very precise tracking using
Si detectors
Very uniform field (MRI magnet)
Spiral 3D beam injection !

## Slide 47
Feb 2016
First slow muons in beamline

## Slide 48
Tests of 1st two acceleration stages completed.
Acceleration progress

## Slide 49
B-field uniformity / shimming

## Slide 50
R&D phase being completed in next year
Funds for most of construction are secured.
Expect data taking to begin after FNAL g-2 i.e. 2020.
Initial sensitivity at 0.37 ppm (stat) reducing to 0.1 ppm (stat)
i.e. similar to FNAL 0.1 ppm (stat) [0.1 ppm (syst)]
This will provide a crucial measurement with completely different
systematic effects compared to the FNAL measurement.
J-PARC STATUS

## Slide 51
Conclusion
“If you enjoy doing difficult experiments, you can do them, but it is a waste of time and effort because the result is already known” : Pauli
"No experiment is so dumb, that it should not be tried” : Gerlach

## Slide 53
FNAL B-field / ωp systematics

## Slide 54
FNAL ωa systematics