## Slide 1: Calorimetry
H. Simon ● GSI Darmstadt
JENAS-2022
2nd Joint
ECFA-NuPECC-APPEC
Symposion
20220503-06 Madrid

## Slide 2: Calorimetry
Wealth of different systems (APPEC, NuPECC, EFGA)
Discuss enabling techniques, from a nuclear (structure) physicist point of view.
Cross fertilization (also into commercial sector) – but the similarities are within our communities
Idea: typical demands are defined, e.g. in roadmap documents
Go through specific examples where synergies where explored
Calorimetry, is accompanied by different methods in order to clarify interaction points and, subsequetly, allow for tracking of interactions in the absorptive material.
Example to be used: Target Calorimeter for ‚high‘ energy nuclear physics, where interaction point is key

## Slide 3: Key technologies - Calorimetry (from the EFCA Detector Roadmap – 2021)

## Slide 4: Key technologies - Calorimetry (from the EFCA Detector Roadmap – 2021)

## Slide 5: FAIR – The Facility in view of Nuclear Physics
Production of secondary beams
Production of Antiprotons
High Energy and Storage Ring
Linear- accelerator
SIS18
100 Meter
PANDA:
Antiproton beams
NUSTAR:
Radioactive ion beams
CBM:
Relativistic nuclear collision
APPA:
Ions, antiprotons
Experiment- and
Collectorring
Existing Facility
FAIR Facility
Experiments
APPA
APPA
HESR
CR
SIS100
pLinac
UNILAC
PANDA
CBM
NUSTAR LEB
NUSTAR R3B
SuperFRS
pBar
Ion Sources
Intense secondary beams
Primary beams p..U from SIS100 with high intensity
Matched Super-Fragment Separator (SuperFRS) with large apperture and rate capability
5

## Slide 6: Super-FRS workhorse for Nuclear- and Astro- Physics with Reactions (NUSTAR), e.g.
Testing@CERN : All sc Magnets
Powerful
separator
for exotic nuclei
6

## Slide 7
Physics Example: Quasi Free Scattering (p,2p) at relativistic beam energy in inverse kinematics
D. Cortina, NN 2015, Catania
p
(k0,T0)
A
A-1
(kA-1,TA-1)
p
p
p
(k1,T1)
(k2,T2)
θ2
θ1
Bound proton
target proton
~ 700 A MeV
Momentum transfer q
Tracking: A, A-1
Correlated protons
180 deg in f
90 deg in   tracking into calorimeter
(deg) | Ep (MeV) | CsI(Tl) range (cm) | Efficiency (%)
7 | 686 | 71,8 | 15%
20 | 592 | 59,7 | …
40 | 356 | 26,4 | 50%
evaporate n,p,d,t
de-excite via  radiation
Physics imposes the scientific requirements
Huge dynamic range
100keV γ-rays – 700 AMeV charged particles
high efficiency, good resolution
high granularity  Doppler correction
particle identification
7
Notes: 7
7
7
7
7
7
7

## Slide 8
Requirements (from scientific aim)
Spectroscopic properties
Calorimetric properties
NA48 Experiment at CERN and KTeV Experiment at Fermilab, Homogenous calorimeters with Liquid Krypton (NA48) and CsI (KTeV). Excellent and very similar resolution.
(Compilation W.Riegler/CERN)
Intrinsic photopeak efficiency | 40% (up to E=15 MeV projectile frame)
Gamma sum energy resolution D(Esum)/<(Esum)> | < 10% for 5  rays of 3 MeV
Calorimeter for high energy Light charged particles | 200-700 MeV in lab system
Gamma energy resolution | ~5-6% (FWHM at E=1 MeV) ~ 3% for very forward angles
Light charged particles resolution | ~2% (stopped particles) ~ 5% (punch through particles)
Proton- ray separation | For 1 to 30 MeV
B
However:
Beam momenta are different
NA48/KTeV
8
Notes: 8
8
8
8
8
8
8

## Slide 9
GEM TPC for high rate tracking (Super-FRS)
- Anything in common with the panda EMC ?
σ: 50 ps
Timing res.
Pos res. σ  1 mm
ΔE resolution σ: 1-2 %
p…U: large dynamic range
Z
A/Z, P
Br=A/Z・β・g
ΔE～Z2/β2
TOF=L/β
Rate capability some MHz  Timestamped readout high rate also required for calorimetry with gas detectors
Beam Particle ID  Br-DE-TOF method: Requirements
9

## Slide 10
GEM TPC for high rate tracking
- Anything in common with the panda EMC ?
APFEL ASIC (0,35µm AMS): 2 outputs with different GAIN
Digital interface for configuration
Rate/ch. ~350kHz  Similar Demands for GEM-TPC
Power <= 50 mW/ch (22k Ch.)
K. Brinkmann/U. Thoma – ASIC: P. Wieczorek and H. Flemming, IEEE Nucl. Sci. Sym. & Med. Imag. Conf. (2010) 1319
10

## Slide 11
P. Wieczorek, H. Deppe, H. Flemming, Low noise amplifier with adaptive gain setting (AWAGS),
accepted from JINST as TWEPP2021 proceeding.
GEM TPC for high rate tracking
- Competition of solutions
VMM3a: „Swiss army knife“ ASIC (HEP) ATLAS small wheel (µMEGAS)
Perfect fit for GEM readout ?
ASIC with adaptive gain; - very large dynamic range (71pC)
AWAGS build. blck. for panda trans, rec.
AWAGS ASIC
Availability of building blocks allows for optomized solutions.
11

## Slide 12
Enabling technologies
- from Space to medical applications
K. Kanxheri et al 2022 JINST 17 C03035
AMS-02 Detectors in Vacuum low power (!)
Box geometry
CH2 target
https://ams02.space/ detector/silicon-tracker
Physics Reports 894 (2021)
1-116
Cocotier LH2 target with FOOT Si-trackers as subsystem of the
CALIFA calorimeter
VA64.hdr
IDE1140
12

## Slide 13
Enabling technologies
- ALICE Alpide
Test system at GSI
Geometry adaptation to the limit (‚surrounding the target‘)
Pixel detectors
  suppression of delta rays
  noise environment / noise reduction & selective trigger/selection schemes
  option for inner tracker in front of Calorimeter
13

## Slide 14
Enabling technologies
- close geometry / magnetic field / mechanics
APD readout:
- Hamamatsu / CMS - APD S8664-55
- Hamamatsu / panda - APD S8664-1010 PbWO4
 Characterized to be suitable for Califa CsI readout  APD-S8664-SPC1010 (2CH)
CMS Ecal - CMS NOTE 2000/048
Carbon fiber alveoli
+ APD readout
Carbon fiber
Alveoli (panda)
14

## Slide 15
CALIFA
 | Barrel | Endcap | 
 |  | iPhos | CEPA
Scintillator | CsI(Tl) | CsI(Tl) | LaBr/LaCl
Geom. | 11 | 16 | 6
Crys. Len (cm) | 15-22 | 22 | 4/7
Polar cov. | 7-20o | 20-43o | 43-140o
Read-out | LAAPD | LAAPD | PM/SiPM
Dete.chan. | 1952 | 480 | 96
Elec. chan. | 1952 | 960 | 96 x2
Weight (Kg) | ~ 1500 | ~ 550 | ~ 50
Volume (cm3) | 285.000 | 90.000 | 11.000
- External structure 3.5 x 4 m
- Detector volume ~ 1.3 m3
- Detector weight ~ 2.5 t
- 2528 detection units
D. Cortina-Gil et al. Nuclear Data Sheet 120(2014) 99-101
15

## Slide 16
Enabling technologies
- Phoswitch/IPHOS (Dual Readout)
GAGG:Ce (Cerium-doped Gadolinium Aluminium Gallium Garnet)
HERMES nano satellites
(Gamme ray burst detection)
arXiv:2101.03945v1
3U platform
Available Payload volume:
  97 x 97 x 150 mm
Available Mass:
  0.5 to 1.5 kg
Data rate in the air:
  up to 150 Mbps
GAGG:Ce
PARIS White Book – 03/2021
CEPA: 4x 4cm LaBr3(Ce) + 6cm LaCl3(Ce)
12C(p.p´) 12C* @ 21 MeV MLL
IPHOS CsI(Tl) light at 600 ns / 3.5 ms
?
16

## Slide 17
The 10-ps Wave Union TDC:
Improving FPGA TDC Resolution beyond Its Cell Delay
Jinyuan Wu and Zonghan Shi
IEEE Nucl. Sci. Symp. Conf. Rec. (2008)
Enabling technologies
- Precision timing (few...100 ps)
LHCb R&D
Light coupling
Materials
Geometry
…
Time distribution systems
- e.g. Based on WR network (… KM3NeT)
- https://white-rabbit.web.cern.ch/
- CAMPUS wide (e,g, ToF: Separator – Exp.)
FPGA TDCs down to 7ps resolution
Precise position measurement
Amplitude information via time over threshold
E.g. ToF Wall based on plastic scintillator
st=14ps, sE/E=1%
17

## Slide 18
Enabling technologies
- Fully digital electronics
@ sensor level
B. De Canditiis
AGATA Week – 2021
@ system level
P. Reiter
18

## Slide 19
Ultimately 5D readout: x,y,z,t,E
A. David (CERN)
EFCA TF-6 2021
Online pile up correction in
FPGA (deconvolution, 2010)
Use: t - information
Key: Online processing of incoming channel data
19

## Slide 20
Summary (form a nuclear physicists perspective)
Enabling technologies presented
Hardware focus
Common needs can be easily identified
Nuclear physics applications require often large dynamic range - requirements resemble calorimetric
Processing in frontends is possible
- software methods can be later (partially) implemented - Machine learning results to a certain extend also
The availability of sample systems for testing are key for common applications  open access, documentation and awareness
Example: WR time distribution system (open hard & software) - e.g. used at german stock market
- … and KM3Net - … replaced „home made“ BuTiS in our lab.
Machine learning
20

## Slide 21
Summary
Similarly: Detector samples (with or w/o readout sysytem) for testing
- for external collaboration key
A lot of processing in frontends is technologically possible
  - software methods can be later (partially) implemented - Machine learning results to a certain extend also
  - Quality monitor/Many channels
Special thanks:
Martin Aleksa, David Barney, Roberto Ferrari, Thomas Peitzmann, Frank Simon, Ulrike Thoma
Thank you for your attention !
21