## Slide 1: (WIMP) Dark Matter and the Nature of Neutrinos (part II)
Diego Gonzalez Diaz
9/01/2020, IGFAE retreat, Santiago

## Slide 2
Dani
(PhD)
Marwan
(PhD)
Cris
(PostDoc)
Jose
(PostDoc)
J. Saborido/A. Gallas (LHCb group)
B. Fernández/I. Durán (FICA group)
J. Benlliure (GENP group)
group leaders
Xunta (OTPCs
for Rare Event Searches)
Xunta (Fission
TPC)
CERN-RD51 (OTPCs)
FPA
(active targets)
J. A. Hernando (LHCb group)
M. Caamaño (FICA group)
D. Gonzalez-Diaz (GENP group)
IPs
J. A. Garzón (LabCaF)
Faculty Dean
Institute Director
own the hangar
young researchers
David
(technician)
Enrique
(head engineer)
Gonzalo
Senior (PostDoc)
FPA (NEXT)
2019
Gonzalo
Junior (PhD)
Miguel
(PhD)
Brais
(PhD)

## Slide 3
group leaders
Xunta (OTPCs
for Rare Event Searches)
CERN-RD51
(cryogenic detectors)
new!
J. A. Hernando (LHCb group)
D. Gonzalez-Diaz (GENP group)
IPs
J. A. Garzón (LabCaF)
Faculty Dean
Institute Director
own the hangar
Miguel
(PhD)
A. Saa
(PostDoc)
young researchers
David
(technician)
Enrique
(head engineer)
IGNITE
(DUNE-ND)
new!
(DUNE
PostDoc?)
P. Amedo
(PhD)
FPA (NEXT)
save the date: CERN-RD51 collaboration meeting
in June 22, 2020,
Santiago !
J. Saborido/A. Gallas (LHCb group)
J. Benlliure (GENP group)
2020

## Slide 4
OTPC gaseous detector lab
Nausicaa0
(FAT-GEM studies)
Nausicaa1
(Optical TPC)
Nausicaa2
(R+D)
main results of 2019!

## Slide 5
New amplification structures for pressurized time projection chambers (e.g., NEXT).
FAT-GEM: a ‘super-thick’ (5mm) acrylic-based GEM with semitransparent ‘gate’ plane
several geometries procured at the RD51 workshop
‘FAT-GEM’ (Field-Assisted Transparent Gaseous Electroluminescence Multiplier)
designed, tested, optimized at IGFAE
‘A new amplification structure for time projection chambers based on electroluminescence’, D. González-Díaz, M. Fontaíña, D. García Castro et al, arXiv:1907.03292 [physics.ins-det].
standard thick-GEM coupled to a resistive electrode
RP-WELL (for cryogenic operation)
G10 source Holder
cathode/mesh
Fe Ceramic RP, 2 mm
conductive anode
10 mm
5mm
uncollimated 55Fe source
0.6 mm FR4 single-sided THGEM
developed by IGFAE in collaboration with ICMM
measurements at Weizmann Institute (A. Roy)
Ne/CH4
‘First results of Resistive Plate Well (RP-WELL) detector operation at 163K’, A. Roy, M. Morales et al, JINST 14 (2019) no.10, P10014.
New amplification structures for cryogenic time projection chambers (e.g., XENON and DUNE).

## Slide 6
Refactorization of state of the art TPC simulation code from Fortran to Python.
‘Electron transport in gaseous detectors with a Python-based Monte Carlo Simulation Code’, B. Al Atoum, S. F. Biagi, D. González Díaz, B. J. P. Jones, A. D. McDonald, arXiv:1910.06983 [physics.ins-det].
Some teasers on ongoing activities towards next generation OTPCs.
𝛼-particles
OTPC
fundamentals of high-pressure xenon
applications
e-
beamline
sample
FAT-GEM
structure
hard X-rays
x
y
z
e-
cathode
SiPM
plane

## Slide 7
New amplification structures for pressurized time projection chambers (e.g., NEXT). Expanded…
NEXT concept for 𝛽𝛽0𝜈 searches
-28 kV
-7.9 kV
Edrift = -53 kV/cm/bar
EEL = -1.32 kV/cm/bar
P = 10bar
stainless steel elastic limit: 700N/mm2
typical size of NEXT-100 (1m). NEXT-1T is at least 2m in size!.
Unfortunately, electrostatic mesh/wire sagging limits the detector size!
Alternative:
develop rugged and versatile structures that can be customized at will.


*JINST 13 (2018) no.10, P10002

## Slide 8
New amplification structures for pressurized time projection chambers (e.g., NEXT). Expanded…
II. Fabrication (CERN workshops)
III. Characterization
(IGFAE)
IV. Data analysis (IGFAE)
I. Design phase (IGFAE)

## Slide 9
New amplification structures for pressurized time projection chambers (e.g., NEXT). Expanded…
V. Some results
optical gain
energy resolution
First proof that this type of structure works at least as well as a conventional electroluminescence mesh in NEXT conditions!
Next steps:
Optimize the geometry (several patterns have been produced). At Santiago, several post-processing steps will be tried (wavelength shifting and resistive coating).
Scale-up the chosen design to at least 50cm x 50cm.