## Slide 1: TPCs & Active Targets in Nuclear Physics
Emanuel (lolly) Pollacco
for the PUMA, GET, AT-TPC GADGET, ACTAR, TeBAT … collaborations
IRFU/DPhN
6th October 2020

## Slide 2: Nucl. Phys. and other domains
Diego G Diaz et al.(2017)

## Slide 3: Nucl. Phys. Labs Using TPC concept m:- Magnet
Rare Isotope Beams Labs – Inverse Kinematics
A large fraction of the instruments are “portable”:- #
  RIKEN (Japan) – CATs / SpIRIT m # / MINOS#
  GANIL – S3 m / ACTAR
  Texas A&M (US) – AstroBox # / TexAT # / TeBAT # / SPECTRO m - neutron beam physics 12C(n,n’)3a
  NSCL (US) – AT-TPC /pAT-TPC # / GADGET 1 / GADGET 2
  CERN (Swiss) – PUMA m #(TUD) / SpecMAT m (Louven) - Anti proton beams
  UoW (Poland) - ELITPC - g beam (g,p) or (g,a)
  GSI/FAIR (Germany) – HYDRA m (TUD)
  SPES (Italy) – ATS #
  RAON (S. Korea) – LAMPS m
  IMPCAS/EicC (China) – HAIF m
  …
  …

## Slide 4: Physics Programs in Inverse Kinematics
AstroPhys
  High beam currents (low x-sections)
  Very Low energy recoils BUT Angular & Energy resoln
  Reactions with 3 or more particle final states eg 16O  4a
  4p solid angle cover
  He & H2 targets
Implantation-Decay
  ß-delayed p/ 2p/3p/ ap  45Fe/67Kr
Reactions - low incident energies < 50MeV/A
  Particle Spectroscopy in shell structures
  Low energy recoil BUT Angular & Energy resoln
  He & H2 targets eg (d,p), (3He,2p),… (a,a’) - GDR Vandebrouck, Gibelin et.al (2014) PRL
  3 body final states possible
Reactions - high incident energies > 250MeV/A
  Spectroscopy
    LH2 targets (p,2p,g), (p,pn,g)
  Study of Symmetry Energy
    eg 132Sn+134Sn
Exotica
  . Gamma Beam  (g,p) or (g,a)
  . Neutron beam  12C(n,n’)3a
  . p + Nucleus

## Slide 5
MINOS
Obertelli et al.
NaI +PM
ACTAR
Roger et al.
CsI & Si
SpecMAT
Raabe et al.
LaBr3 +SiPM
TexAT/TeBAT
Rogachev et al.
Si & CsI
GADGET 1/ 2
Wrede et al.
Ge (SeGa)
Examples TPC/ATTPC with
Spectroscopy Auxiliaries
Publishing
Machine

## Slide 6
e-
A. Obertelli et al., Eur. Phys. Jour. A 50, 8 (2014)
http://minos.cea.fr
MINOS :
Magic
Numbers
Off Stability
In-beam
knockout
experiments
TPC
(p,2pg)
(p,png)
(p,ag)
…
- spectroscopy
Doppler corrected
Allows 1Hz beam physics
Gas & DSSD
Spectrometer

## Slide 7
Gas & DSSD
Can we build a TPC
with much higher
tracking resoln ?
Minos Vertex 3-4mm
Replacing of MINOS
by DSSSDs is being done

## Slide 8: AstroBox2
Multi-Function high resoln Pad Planes
ß
A small 32 Channel Large
Simplicity
Micromegas
Multi-fn
AstroBOX
23Al--

## Slide 9: AstroBox2
Multi-Function high resoln Pad Planes
ß
Simplicity Hides Difficulties
if 23Al--- is not neutralized rapidly??
23Al--
AstroBOX

## Slide 10: Spectrometer Focal Plane
X2 Improvement in Resoln

## Slide 11
X10 more e /Signal
Be  Mg/S

## Slide 12: Some Difficulties with AT/ TPCs Today
Small & transportanle structures detectors
  Small dyn rnges  magnets / DSSSD, CsI …
  A complex compact device
  Simulations, tests … being done
Gas H2, D2, 3He, 4H, … 12CO2
  Pure or small % quencher
  High drift fields
  Cortesi et al (NSCL M-THGEM) soln in view
Low energies (close to the Bragg peak)
  Short Tracks  Energy & Angular resoln
  High density pad plane
  Pancin et al (GANIL) J. Giovinazzo et al (CENBG)
  Work being accomplished
Beam in the active zone
  A major difficulty
    Vertex resoln (No magnet/Dipole/Solenoid)
    Field distortions – local & MPGDs
    Resistive option (not discussed)
      GADGET/PUMA/TeBAT/…
      Soln in view
dE/dx
E
Z2/E
12-22/E’

## Slide 13: R-MM TeBAT – Texas & E Galyaev / Radiation Detection and Imaging (RDI) – OPERA code simulations
Mesh
R-MM
OPERA+GARFIELD
Pillar
R-MM
OPERA+GARFIELD
Mesh

## Slide 14
ACTAR ACTAR – For multi particle decay & Spectroscopy
High pad density
2x2mm2  16k ch
Typical System – ACTAT (GANIL)

## Slide 15: Electro-Mechanics Difficulties in AT detectors
AT need low pressures – 50-1000Torr  track length /resoln/…
Low capacitance signal transport - Direct very front-end.
Pad-plane that does support 1.5Ton of negative pressure:- air vacuum
Soln #1 :- CENBG + CERN  ACTAR  Metal Frame with 16k holes, custom built connectors, precise mechanics, tests, expensive
  J. Giovinazzo, et al., , Nucl.NIM. A892 (2018) 114–121.
Soln#2 :- Texas A&M +CERN + IRFU  TeBAT  PCB+Metal support, (7000 ch)
standard PCB 5mm, 10mm Stainless frame, glue, screws, tests, expensive (In progress) No pictures yet

## Slide 17: TPC/AT-TPC Tracks (x,y,z) & Engy Near the Bragg peak not so easy
  Total S-Charge Measure  Large pads (100mm2)
     AstroBox (Texas A&M) & GADGET1 (NSCL) ß – background /resoln
  Track length + S-Charge Measure/( q,f ) Small pads 4-9mm2
     ACTAR, PUMA, AT-TPC …  ACTAR 38(4) keV FWHM and 54(9) keV FWHM
    B. Mauss et al. NIM A, 2019, 940
  Measurement close to Bragg is complex:-
    J. Giovinazzo, J. Pancin, J. Pibernat, T. Roger - NIM, A 953 (2020) 163184 (ref there in)
Drift V/cm
vs s (fwhm)

## Slide 18
Not connected
Methods to Removing or Attenuating the Beam wrt light ions z=1 or 2

## Slide 19: Positive Approach for ff & more “Cage the beam” 136Xe (7.6MeV/A)+Ag I beam = 106 @ 7.6MeV/A Carmen Rodrguez USC, Spain Z2/E = 1000/E  104/E Close to 108 Raether Limits for G=103-4 Interesting for ISOLDE Beams ie Low emittance  close to beam vertex

## Slide 20
B
Gas & DSSD

## Slide 21
Data
46Ar + p
First RA beam
at FRIB
Run 112
Event 23

## Slide 22
SpIRIT Symmetry Energy Studies via pion & ion flow Isobe et al. Riken & NSCL

## Slide 23: SpIRIT: Affects Of Saturation & data loss Representative of what is seen in AT with/without magnets
Dead-Time in ms
Linearity
Dead-Time
X-Talk

## Slide 24: Electronics for TPC & Active Targets in Nucl. Phys. A Stopper for Nucl. Phys. projects
  Budget
  Appropriate design for Nucl. Phys. Experiments (Experience)
  Local Computing (Infrastructure)
  Manpower & Analysis Knowhow (Infrastructure)
A significant progress was achieved over the years via a multi-lab effort via GET
But difficult to keep up with improvements & advance in µ-electronics.

## Slide 25
Ex
T

## Slide 26: ASIC FEANICS pre & amp (16)
Energy range in Si :
100 keV to 20 MeV with a resolution ~ 21 keV FWHM
15 MeV to 500 MeV with a resolution < 1% FWHM
On Going Project
Florent BOUYJOU, Olivier GEVIN, Thomas CHAMINADE, Eric DELAGNES,
Marine VANDEBOUC & Emanuel POLLACCO

## Slide 27
CSA_output (t)
threshold
t
Discri output
Cmd_LG
2.4 µs
t
Time
Saturate
Close Gates LG
Add CL
Trigger
Disc 1
Disc 2
Disc 3
For 3 different detector signals

## Slide 28
Dynamic Range = 216-17
Pre+Amp to a Single/Diff-Output

## Slide 30
Dets
FEANICS
16ch
FEANICS
16ch
GET
Sampling
ADC
Performance
High Gain 7.8keV/22MeV
Low gain 0.4/500MeV
Peaking Time: 10ns
Recovery time: 4µsec
Dyn Rnge 1:217
or
Diff

## Slide 31
Towards Solving the Pure Gas Difficulty Via M-THGEM
Compitable with
DE &Dq resoln ?

## Slide 32: Detection PUMA
p
p
p
Solenoid
4T
Double Layer
Field Cage
Active Volume
TPC - Small
Scint. Barrel
MINOS
Field Cage
antiproton
Decay photons
Surface annihilation
& pions, …
p
p
p

## Slide 33
PUMA Detection
  Reaction Zone
  TPC Resistive Micromegas
    Electronics
    5000 channels
    STAGE/AGET (IRFU)
  Storage Zone
  Reaction Zone
  Plastics Barrels (x3)
    SiPM
    512 Channels
    GSI

## Slide 34
TPC
R-MM
Anti
-Proton
Reaction
Zone
Anti
-Proton
Reaction
Zone
PUMA
Sabrina Zacarias
Rui d’Oliviera
Bertrand Mehl
EP
Statistical Displacement
Garfield
Plastic
Sol
enoid

## Slide 35: Thanks

## Slide 36: Example: 23Al(bp)22Na to probe 22Na(p,g)23Mg reaction and 22Na production in novae
M. Friedman et al., Phys. Rev. C 101, 052802(R) (2020)
Beta background suppressed to reveal low-energy proton peaks
Sensitive to proton-gamma coincidences

## Slide 37: GADGET1/2 – Grid switching
M. Friedman, D. Perez-Loureiro et al., NIM A 940, 93 (2019)

## Slide 38: X-ray bursts: which reactions impact modeling of the light curve?
R. Cyburt et al., Astrophys. J. 830, 55 (2016)

## Slide 39
Experiments with TexAT
Resonance scattering:
        Structure of 9C - 8B+p [J. Hooker, et al. (2019) arXiv 1903.01402 ] (August 2017)
        Search for linear chain states in 14O - 10C+α (April 2018)
        Clustering in 18Ne - 14O+α (April 2018)
        Structure of 13Be through 13B IAS - 12Be+p (August 2019)
      Direct measurement of 8B+40Ar fusion (September 2018)
        β delayed charged particle emission from 12N - Hoyle state decays (November 2018, March 2019)
        Nucleon transfer reaction - 12B(d,3He) (May 2019)

## Slide 40
AstroBoX - II
Gas det. 
  Multi-Function (generic)
  High resoln.
  Rejection of ß-background
b
p
Micro Pattern GD
GEM/MICROMEGAS
Resistive
Anti-
Coinc
Ring
OUT
Beam Anti-Coinc
/Aligment
IN
Beam Coinc
/Aligment
Position
Beam
Count
Beam
DZ
Charge
EP, A.Saastamoinen, et al.,
NIM. A 723 (2013)
A.Saastamoinen, et al
NIM 376 (2014)
HR-Resoln MM
CERN
ß Delayed p decay
23Al, 31S, 25Si
Generic
GEM
Resistive
GLASS