## Slide 1
The HUNTER experiment - searching for keV sterile neutrinos
by energy-momentum reconstruction of atomic K-capture events
Peter F Smith (UCLA)
interdisciplinary collaboration (particle physics, nuclear physics, atomic physics):
Jeff Martoff, Francesco Granato, Xunzhen Xu, (Temple University)
Andrew Renshaw (University of Houston)
Peter D Meyers (Princeton University)
Eric Hudson, Paul Hamilton, Christian Schneider, Hanguo Wang, Peter F Smith (UCLA)
• Dark matter could be sterile neutrinos (K N Abazajian, day 1)
• Direct detection not yet feasible (PFS DM2016 & arXiv:1607.06876)
• Could be detected in laboratory K-capture experiments
• Initial demonstration phase (proof of principle) recently funded by Keck Foundation

## Slide 2
Neutrinos n1 n2 n3 electron muon tau
1meV
10meV
100meV
1 eV
10eV
100eV
1 keV
10keV
100keV
1 MeV
10MeV
100MeV
1GeV
10GeV
100GeV
1TeV
Bound Quarks D,U, S, C, B, T
Wide mass range of known ‘elementary’ particles and new particle searches
No heavy particle dark matter signals seen in underground ton-scale detectors or at Large Hadron Collider. Multi-ton detectors planned.
New stable particle needed for dark matter ?
Galactic dark matter Problem
100meV
10meV
1meV
Axion searches
WIMP searches
No Axion signals so far

## Slide 3
Neutrinos n1 n2 n3 electron muon tau
1meV
10meV
100meV
1 eV
10eV
100eV
1 keV
10keV
100keV
1 MeV
10MeV
100MeV
1GeV
10GeV
100GeV
1TeV
Bound Quarks D,U, S, C, B, T
New mass range expected for sterile neutrino dark matter
100meV
10meV
1meV
axion searches
WIMP searches
Theoretical calculations show
• 5 - 30 keV sterile neutrino mass range
could give known dark matter density.
• Weak relative coupling < 10-4
gives stability for universe lifetime.
• Not detectable in existing or
foreseeable experiments
sterile n

## Slide 4
Galileo (1564 – 1642):
“Measure what is measurable.
Make measurable what is not so”
How do we ‘make measurable’ a keV sterile neutrino ?

## Slide 5
neutrino flavors ( ne , nm , nt , ns1 ns2 ns3 ) mixtures of definite mass ( n1 , n2 , n3 , n4, n5, n6)
mass
eigenstates
=
ne c11 c12 c13 c14 c15 c16 n1
nm c21 c22 c23 • • • n2
nt c31 c43 c33 • • • n3
ns1 • • • • • • n4
ns2 • • • • • • n5
ns3 • • • • • • n6
ne = c11n1 + c12n2 + c13n3 + c14n4 + c15n5 + c16n6
‘electron neutrino’
admixture of ‘sterile’ neutrinos
lower probability but will be seen as rare events
Search for sterile neutrinos in electron neutrino emission
standard neutrino mass states
Electron neutrino is a mixture of mass eigenstates
beta decay
or K-capture

## Slide 6
1 mm
• Cloud of 131Cs atoms (10 day half-life)
suspended in vacuum
make precision momentum
measurements of:
• recoil ion
• X-ray photon
• Auger electrons
calculate missing n momentum
Proposed K-capture experiment: measuring the mass of an unseen neutrino
Proton in nucleus
absorbs K-shell
atomic electron
Neutrino emitted
Nucleus recoils
X-ray emitted
Auger electrons emitted
neutrino
recoil
electron
Auger electrons
X-ray photon
K-shell
0 50 100 200
No of events
keV sterile ns seen as
separated population(s)
standard neutrino events
form population around
zero mass
reconstructed mass2 (keV2)
Reconstructed mass spectra:
Reconstruct neutrino mass for
large number of events
mn2 = [Q - Ea - Eg - EN]2 - [ pg + pea + pN]2
missing energy missing momentum

## Slide 7
MOT - Magneto-Optical Trap
Developed for over 20 years for
cooling and suspension of neutral atoms
No of trapped atoms: 106 - 1010
Atom temperature: 10 - 100 mK
(Atomic & Molecular Optics Group UCLA)
Used extensively for 20 years for 3-D studies of atom-atom and photon atom collisions
COLTRIMS – COLd Target Recoil Ion Mass Spectroscopy
time of flight precision 200 ps
spatial precision (MCP) 40 mm
(supplied by Roentdek, Germany)
Requires advanced versions of two established techniques

## Slide 8
Trapped atoms
Laser beam
MCP array
for recoil ion
Auger electrons .
<---Recoil ion
Trigger
X ray
Position sensitive
X-ray & Auger
detector arrays
Plane of laser beams
4m
Amti-Helmholz coils
Anri-Helmholz coils
magnetic screen
BaF2
SiPM
plastic
grid
phoswitch + multi-anode SiPM array
grid
Original (2016) suggestion for 4p collection and time-of flight measurement
Ultra-high
vacuum

## Slide 9
sub-mm precision X-ray g/e
detection 106 dollars/squ m

## Slide 10
Ion MCP
Electron
MCP
6 Gauss solenoid
anti-Helmholtz coils 8 G/cm at center
E = 0.5V/cm
source
recoil ion
Auger electron
200cm
X-ray panels
100cm
E = 1.5V/cm
5 cm laser beams
Ultra-high vacuum
HUNTER experiment (Heavy Unseen Neutrinos by Total Energy-momentum Reconstruction)
Phase 1 (proof of principle) funded by Keck Foundation
magnetic screen

## Slide 11
Antarctic ‘ICE CUBE’
Detector + CR muons
Sterile neutrinos would produce minute distortions
In beta decay spectra
Mass (keV)
10-4 10-3 10-2 10-1 1 10 100 1000
+
Laboratory beta spectra
(ten experiments)
Possible X-ray signal
HUNTER phase 1a
HUNTER phase 1b
HUNTER upgrades
Dark matter
mass range
Existing limits and future coverage of HUNTER experiment
X-ray astronomy limits
If significant sterile n
component of DM

## Slide 12
Principal technical challenges !!
• MOT 107 - 108 131Cs atoms in 1-2mm volume
• MOT scalable to 109 - 1010 atoms
• MOT magnet coils aligned to 0.5mm precision
• Constant replenishment with 10 day half life
• Pulsed MOT operation with 20ms cycle
• Compensation for eddy currents in vessel
• Ultra-high vacuum 10-11 tor
• Minimum loss loading
• Periodic uv desorption of lost atoms
200cm
100cm
• LYSO/SiPM detector panel selects N-shell X-ray photons
• Gives event trigger time to 0.5ns
• Requires X-ray photon angle to 5.10-3 radian
• Requires spatial calibration relative to source to < 0.3mm
• LN2 cooling for low electronic noise
• MCP 60 micron spatial precision
• Time of flight < 1ns precision
• Recoil ion momentum 0.02% precision
• Recoil angle precision 2.10-3 radians
• Axial time-focusing of source axial size
• Electrostatic focusing of lateral source size
• External magnetic fields shielded to 0.1mGauss
• Non-magnetic vacuum vessel material
• Simultaneous detection of 1 or 2 Auger electrons
• Energy precision 3.10-3 for 20 – 120 eV energy
• Directional precision 2.10-3 radians each electron
• Rejection of ‘shake-off’ electrons from Cs -> Xe transition
• Timing rejection of electron background from 131Cs & X-rays
• Computed relation between MCP signals and initial angles
• Photo-ionization calibration of residual transverse field correction

## Slide 13
• Phase 1a Keck funding (3-y) from Jan 2018
Source 1E7 atoms
demonstrate mass reconstruction,
assess backgrounds, optimize analysis.
• Phase 1b: Source 1E9 atoms
Detector improvements
Analysis improvements
• Phase 2a: Source 1E10 atoms
larger detector coverage
• Phase 2b: Upgrade to multiple sources ?
1E3
1E4
1E5
1E6
1E7
1E8
1E9
1E10
events/y
Conclusions :
• sterile neutrino masses in range 7 – 300 keV detectable with Cs-131
• lower mass limit depends on achieved momentum precision
• coupling sensitivity governed by no of events/y, increasing with upgrades
K-capture emits only one particle
Factor 100 gain in efficiency
(see PFS arXiv 1607.06876v4 )
Large possible gain by
development of a
high population Be-7 trap
ALTERNATIVE REALITY

## Slide 14
Spare slides for questions

## Slide 15
Background reduction by event timelines
X-ray trigger
Auger electrons
Recoil ion
0.2ms
200ms
15ms average trigger interval
• find trigger with matching Auger and ion signals
• wait for completion of event before searching for next matching set
Decays
1.5ms average decay interval
time
time
time
time
average 300ms

## Slide 16
Faster event processing by overlapping timelines
X-ray trigger
Auger electrons
Recoil ion
0.2ms
200ms
Decays
• search for overlapping events by matching corresponding Auger and ion signals
• majority of events are incomplete (Auger and/or ion signals missing)
• thus overlap allows more analyzed events/year, but software analysis complex
(shown timescales not linear)

## Slide 17
K-capture provides excellent example of wave packet collapse
recoil ion
electron neutrino
ne c11 c12 c13 n1
nm c21 c22 c23 n2
nt c31 c43 c33 n3
=
ne = c11n1 + c12n2 + c13n3
Mass
eigenstates
different masses -> different momenta and speed
recoil ion wave components
(unresolved until detected )
neutrino wave packet components
Detection selects one component of wave function
100cm, 1 ms
Single neutrino mass state becomes defined as it passes over Las Vegas !
300 km