## Slide 1: Statistics and Error propagation Christian Bohm - Stockholm University

## Slide 2
Measurement statistics
To use a measurement result one must know about its reliability and precision
Most measurements are affected by many random processes and are only fully characterized by their
probability distribution
In statistical terms this is a stochastic variable
The probability distribution function can be determined from knowledge of the random processes involved
or determined experimentally by performing a large number of measurements
A stochastic variable x can assume different values with the probability
density function f(x) and x is therefore completely defined by f
y = 2x has a probability density as well and is thus also a stochastic variable, now with the probability distribution f(x/2)

## Slide 3
Probability distribution function (PDF) -> Complete information about all
statistic properties of the random variable
Main classification discrete - continuous distributions
which distribution function - depend on the measuring process
Other names: density function
or frequency function
f(x) ≥ 0
Distribution functions
The measurement result is completely characterized by its PDF
Probabilities are always positive
The probability for any value is 1

## Slide 4
If it is not possible to identify the pdf of the result - one should characterize it as well as possible
The most important parameter is position, then width, skewness, etc.
(these parameters can be determined with good precision from a smaller amount of data)

## Slide 5
Population mean
Choice of parameter depend on the type of measurement
Mean most common
Position measures
f’s 1:st moment
(center of gravity)
Mode
Median
The expectation value of x

## Slide 6
s = standard deviation
Width measures
Population variance
f’s 2:nd moment
Choice of parameter depend on the type of measurement
Standard deviation and Full Width Half Maximum (FWHM) most common
For a normal distribution FWHM=2.355s
f50%
f75%
f25%
FWHM
FWTM
100%
50%
10%
Range
Quartile distance
f’s 2:nd central moment

## Slide 7
Repeating independent elementary binary events (succeed – fail)
each with the probability p
E.g.
Tossing coins elementary event – coin toss
Drawing tickets with replacement elementary event – draw
Radioactive decay elementary event – decay of a nucleus
Monte Carlo simulations elementary event – one case
Parameters
N>0 number of trails
Variable
Probability distribution
Mean
Variance
Discrete Distributions
Binomial distribution
probability
0
2
4
6
8
10
12
14
16
18
20
0
0.05
0.1
0.15
0.2
0.25
0
2
4
6
8
10
12
14
16
18
20
0
0.02
0.04
0.06
0.08
0.1
0.12
0.14
0.16
0.18
N=20
p=0.2
N=20
p=0.5

## Slide 8
Repeated independent elementary events with many (k) outcomes
each with the probability pi where
e.g.
Throwing dices
Monte Carlo simulations with several outcomes
Histograms
Parameters probability
k, the number of outcomes
N number of trails
Variable ri
Probability distribution
Mean
Variance
Covariance
The multinomial distribution
2 dices
Probability for one 5 and one 2

## Slide 9
The Poisson distribution
The probability for a certain number of events during a time period if the probability per time unit for
such a event is constant (l) and independent of what happened before. One can say that the process
have no memory
Radioactive decays (approx. Poisson)
Telephone switchboard load
Parameter
0<
l
, events/time unit
Variabel
r≥0, the number of events
Probability distribution
Mean
Variance
Binomial distribution --> Poisson distribution with
E.g.
Np=const
0
2
4
6
8
10
12
14
16
18
20
0
0.02
0.04
0.06
0.08
0.1
0.12
0.14
0.16
0.18
l=5
Poisson distribution with n>50 looks like a normal distribution
l=50
0
10
20
30
40
50
60
70
80
90
100
0
0.01
0.02
0.03
0.04
0.05
0.06
Histograms with many events (approx Poisson)

## Slide 10
Variable
x, real number
Parameter
s,m
Probability distribution
Mean
m
Standard deviation
s
N(m,s2) denotes a normal distributed parameter with mean m and
standard deviation s
Normal distribution
68%
95%
99.5%
Also called Gauss distribution
m+s
m-s
FWHM=2.354s
m+2s
m+3s
m-2s
m-3s

## Slide 11
The law of the large numbers
According to the law of large numbers
The sample mean will approach the true value as the size of the sample increases:
More generally, one can say:
When applied to the variance this implies:

## Slide 12
The calculation {X} --> TN implies a data reduction
Statistics
TN =f (X1,X2,,XN) is a statistic
A statistic is a function of stochastic variables

## Slide 13
If T uses the information well it is
N
effective
If T
N
is not sensitive to small variations in the distribution then T
N
is robust
Estimators
One can say that lack of consistency correspond to systematical errors
And lack of efficiency correspond to statistical errors
Let us use the statistics T
N
to estimate the physical parameter
q
T
N
is the called an estimator
If then T
N
is consistent
If for all N then T
N
unbiased
Unbiased
biased
inconsistent
consistent
An infinitely large sample should give the true value
The mean of a large number of small sample estimators should give the true value

## Slide 14
If you have a sample with N measured values xi then The sample mean is
It is a consistent estimator of the population mean m (the law of large numbers)
One also easily show that it is unbiased, since the mean of many small samples is the same as the mean of one large sample
and
Samples
is more central in the sample than m thus
are both consistent estimators of s2 but only the right one is unbiased, but why N-1?
N-1 compensates for the under estimation

## Slide 15
The Poisson distribution also implies that variance can be estimated by
Estimator examples
If we know that r is binomially distributed then r/N is a consistent
estimator of m or p (according to the law of large numbers):
Since small samples also have the mean l it is also unbiased
If we know that r is Poisson distributed then n is a consistent
estimator of l (according to the law of large numbers):
and

## Slide 16
Find a representative value (estimator) for a physical parameter
which corresponds to X
In order to find which estimator gives the most representative value you need
a figure of merit to minimize
E.g. you can minimize
giving
If Xi has different variances you can instead use
Minimizing -->
Simple estimators
good
bad

## Slide 17
The Likelihood function
L(X|q)=P(X|q) is called the likelihood function
which expresses the probability to get the result X if the parameter is q
L(X1X2X3|q) = L(X1|q)L(X2|q)L(X3|q) if X1, X2 and X3 are independent
In the maximum likelihood (ML) method you choose the q that gives maximum L
or, which is the same, maximum lnL.
If the X are normally distributed ML is identical to LSM (the least square method)

## Slide 18
Information
The precision in the ML-determination is better with a more narrow maximum .
Narrow maximum (small variance) --> more information about q
More observations (smaller variance) --> narrower maximum
approximate information about position
better information information about position
You can define information (according to Fischer) as
evaluated where L is maximal
The information is then additive
I(X1X2X3)=I(X1)+I(X2)+I(X3)
if X1,X2 and X3 are independent

## Slide 19
Covariances and correlations
or for continuous variables:
The magnitude of the normalized correlation coefficient is defined as:
x
i
x
j
x
i
x
j
x
i
x
j
0
1
Close to 1
-
1
x
i
x
j
corr(xi,xj)
Non-diagonal
Diagonal
Non-diagonal
Non-diagonal
V
If we have two random variables then as x varies around mx, y will vary around my
The covariance will tell us if these variations are connected:
is always less or equal to 1:
The covariance matrix is defined as::
cov(x,y) = cov(y,x)  V is symmetric

## Slide 20
x
i
x
j
0
x
i
x
j
0
corr(xi,xj):
Whether the pattern is “circular” or “elliptic” along the coordinate axes, does not affect the correlation
Since the “ellipticity” can be removed by re-scaling
Independent
Uncorrelated
But it is important to realize that:
corr(x,y) = -1 for sample 1
corr(x,y) = +1 for sample 2
Here corr (x,y)= 0 for the combined sample 1 + 2 but x and y are definitely not independent
thus:

## Slide 21
Addition of two stochastic variables
If x and y are uncorrelated 
If you subtract two random variables you get the same formula. X can be signal and y background
If the signal plus background is 25 and the background 16 the error in N-B=9 is about 6
One can easily show that:
and more general after linearizing:
This is called the error propagation formula
If you combine two measurements negatively covariance helps

## Slide 22
Negative correlation
Estimating the DC bias of an AC signal by random sampling require many samples to get a precise result using averaging.
If you realize that voltages are pairwise negatively correlated if the time interval is close to half the period.
If the interval is exactly half the period the correlation is exactly -1. The variance is then:
Since:
The average of two sample points with half a periods distance is exactly base line.

## Slide 23
where the covariance matrix is diagonal
Marginal
distributions
Multidimensional probability distributions
The multivariate distribution
This expression can be given in matrix form
If x1 and x2 are independent and normally distributed, the compound 2-d distribution is given by:

## Slide 24
Normality in several dimensions
When measuring independent normal distributed parameters in connection
with events 67% are within one standard deviation from the mean and 95%
Within 2 standard deviations.
The probability of 10 independent parameters each being within one standard
deviation from the mean in is 0.6710 = 1.8%. The corresponding probability for
being within two standard deviations is 0.9510 = 60%.
Thus when considering several parameters in connection with an
event it is probable that some parameters are far from the mean.

## Slide 25
If V is not diagonal then x1 and x2 are correlated
Multivariate distributions
Marginal
distributions
The marginal distributions do not tell the whole story

## Slide 26
Tests of hypotheses
H0 null-hypothesis- the hypothesis you want to test - e.g. there is a pulse
H1 an alternative hypothesis – there was no pulse
Error of the first kind (E1): Erroneous rejection of the null-hypothesis – the pulse was lost, inefficiency
Error of the second kind (E2): Erroneous rejection of the alternate hypothesis – noise
Choose a limit so that P(E2) becomes sufficiently small – below a significance level 5% is common.
In particle physics you demand 5s for a discovery of a new particle (this corresponds to P(E1) = 0.00003%).
If P(E2) becomes too large improve the data (improve the measurements)
Find a cost function which includes the probabilities and the cost caused by errors
Choose the hypothesis that minimizes the cost function
P(E2)
P(E1)
P(X|H1)
P(X|H0) – does the data look like a pulse
Accept H0
Reject H0

## Slide 27
Why we need to record many events
To determine if our N new observed events constitute a discovery we must determine if the same data could be produced by combinations of well-known events. The probability for is the background B.
For N to be a discovery N must be significantly larger than B
For example if N is 80 and B is 64 then s(B) is 8 (assume Poisson distribution s2=N)
N is 2s above i.e. 2% probability that N is just random noise
If we measure twice as long N will be 320, B is 256 and s(B) is 16 i.e. about 4s above (0.004% that it is random noise). Much smaller probability that N is due to random noise but not enough.
5s (0.00002% it is random noise) is required for discovery.
68.3
95.5
99.7
m-s
m+s
m
Normal distribution
Almost the same
as Poisson if N>50

## Slide 28
Stochastic processes
A stochastic process is a family (ensemble) of functions
depends on time t and the outcome of the experiment z (family member)
for each t, x(t,z) is a stochastic variable and
for each z, x(t,z) is an ordinary time function
It is thus a time dependent stochastic variable whose values are described
by a multi-ordered probability distribution function:
ensemble
Random
variable

## Slide 29
Random walk
Weiner process
Telegraph process
Poisson process
.
Noise can be expressed as a wiener process
Examples of stochastic processes

## Slide 30
Correlation in stochastic processes
In stochastic processes it is possible to calculate the correlation between the stochastic process at different times.
This is called autocorrelation.
If the autocorrelation is localized measurement separated with an interval larger than the width of the autocorrelation function, these values are uncorrelated. If the autocorrelation function is a delta infinitely close data are uncorrelated (clearly unphysical). This is the case of white noise (also unphysical).
If you sample a stochastic process so that the samples are uncorrelated but normal every third sample is more than
one standard deviation away from the mean. 5s is a good criterion if you look at one measurement.
If you have many measurements this reasoning is not valid anymore.
If you have a digital transmission you need a Bit Error Rate (BER), i.e. the probability that noise would corrupt one bit, of the order of or better that 10-16. With 5s for each sample you would find 2 pulses/second if you sample with 40 MHz.
This argument can be applied to the situation where you look for a pulse in noise or a peak in a noisy spectrum.
This is sometimes called the “Look elsewhere effect”
If a peak could happen in any of n bins you need to improve the 5s margin with the factor n.

## Slide 31
Example of interpretation of uncertain experimental results
The 750 GeV diphoton excess reported by ATLAS and CMS in 2015 disappeared in 2016 data, in the meantime about 500 theoretical studies were made to explain the early results. It never reached the 5s level but showed promise. There was also a hope to find something new after the Higgs (see Wikipedia for more information).
From https://physicsworld.com > and-so-to-bed-for-the-750-gev-bump

## Slide 32
Literature
My favorite statistic book:
Statistical methods in experimental physics
By Frederic James
This book contains everything that is necessary to know in experimental statistic,
But it is rather extensive and takes time to read if you want read it thoroughly.
If you don’t intend to spend much time on the project there are many other good books on statistics.