## Slide 1: Assessment of IEEE 1588-based timing system of the ITER Neutral Beam Test Facility
L. Trevisan
A. Luchetta, G. Manduchi, C. Taliercio, A. Rigoni, P. Barbato
23rd Virtual IEEE Real Time Conference

## Slide 2: OUTLINE
NBTF
The synchronization problem
ITER CODAC networks
Time Communication Network (TCN)
Precision Time Protocol (PTP) in ITER
MITICA TCN topology
Omnet++ Simulation tool
Omnet++ network modelling
Hardware apparatus
Simulation data comparison (Slave - Switch)
Simulation data comparison (Slave - GMC)
Performance comparison (real data)
Performance comparison (simulation data)
TCN application: "Lazy Trigger"

## Slide 3: 1 - NBTF
NBTF buildings

## Slide 4: 2 – The synchronization requirement
NETWORK
≤50 ns

## Slide 5: 3 - ITER CODAC Networks
Time Communication Network (TCN)
Data Archive Network (DAN)
Synchronous Databus Network (SDN)
Plant Operation Network (PON)

## Slide 6: 4 – Time Communication Network (TCN)
Ethernet multicast UDP/IPv4 strategies
It ensures the synchronization of all the connected devices
It relies on the Precision Time Protocol (PTPv2)
Sub-microsecond accuracy with an RMS of 50 ns at maximum
Its APIs support various kinds of hardware modules to synchronize the plant hosts to the network time

## Slide 7: 5 – Precision Time Protocol (PTP) in ITER
PTP timestamping scheme
PTPd software pre-installed in CODAC
Hardware timestamping performed by external devices
TCNd software to synchronize the CODAC servers to the TCN

## Slide 8
5 – Precision Time Protocol (PTP) in ITER
PTPd clock servo model

## Slide 9: 6 – MITICA TCN topology
MITICA networks scheme

## Slide 10: 7 – Omnet++ Simulation tool
Open-source discrete event simulator
Based on C++ libraries and frameworks
Modular and highly extensible
“PTP-sim project” to simulate PTP networks
  libPTP library
  libPLN library
PTP-sim flow

## Slide 11: 8 – Omnet++ network modelling
Omnet++ test simulation

## Slide 12: 9 – Hardware apparatus
1 GMC: Meinberg Mycrosync RX201
2 switches: Kyland SICOM 3000A
2 slaves: NI PXI-6683H

## Slide 13: 9 – Hardware apparatus: GMC time
TCN
GPS SYNCHRONIZATION
GPS SYNCHRONIZATION

## Slide 14: 10 – Simulation data comparison (Slave - Switch)
offset from master

## Slide 15: 10 – Simulation data comparison (Slave - Switch)

## Slide 16: 11 – Simulation data comparison (Slave – GMC)
offset from GMC

## Slide 17: 11 – Simulation data comparison (Slave - GMC)

## Slide 18: 12 – Performance comparison (real data)
VS

## Slide 19: 12 – Performance comparison (real data)

## Slide 20: 13 – Performance comparison (simulation data)

## Slide 21: 14 – TCN application: "Lazy Trigger"
Network
t0
t0+ Δts + Δtn
TCN
t0
t0 + Δtn
event
event
event + timestamp
event + timestamp
Lazy Trigger
synchronization

## Slide 22: 14 – TCN application: "Lazy Trigger"
2nd system acquires the trigger
1st system switches frequency

## Slide 23: 14 – Conclusions
Hardware apparatus compliant with the project requirements
TCN APIs and features have been tested
Omnet++ simulation tool gave good results and will be adopted to study more complicated topologies
The test campaign has been concluded and the RMS constraints have been respected both in the 1 switch case and in the 2 switches scenario