## Slide 1
Design of Low-Power Readout Electronics for
3He Tube Position-Sensitive Neutron Detectors at CSNS
Vacuum
Input cold air
Scattering Vessel
Output hot air
Scattering vessel
Vacuum
Low-power electronics
3He tube
3He tube
Both detectors and electronics are placed in vacuum scattering vessel.
New choice
External cooling
How to avoid overheating of electronics?
Advantage:
Stable operation in vacuum
Support up to 8 3He tubes
Support TOF
Maintenance is more convenient.
Qicai Li, Hongbin Liu, Jiayi Ren, Hong Luo, Yubin Zhao, Zhijia Sun
Chart: Power consumption(W)
| Traditional electronics | Low-power electronics
Power consumption(W) | 12 | 3
Flowing air
Traditional electronics
csns
3He Tube Position-Sensitive Neutron Detectors
Front-end Board
Front-end Board