## Slide 1: Deep-sea In-situ Active Neutron Detector
Deep-sea in-situ active neutron detection based on neutron capture or scattering
  Capture-type gamma detector (Energy Spectrum)
  Scattering-type neutron detector (Time Spectrum)
active neutron detection based on neutron capture
active neutron detection based on neutron scattering

## Slide 2: Readout Electronics System
Generic readout electronics for two types of detectors
  Front-end Electronics: SiPM Readout, Temperature Compensation
  Data Acquisition: Waveform Digitization, Real-time Data Processing
  Storage and Control: eMMC Storage, Detector Control
If you are interested, remember abstract id #89