## Slide 1: Fast-Settling high input dynamic range Automatic Gain Control Front-end circuit for particle detect
School： Central China Normal University
Traditional SiPM readout circuits
Circuit we proposed

## Slide 2
High gain(19.73dB)
Low gain(-6.6dB)
Post-simulation result
linearity
High gain
Low gain
GAIN
Layout of the die
Delay Circuit
Current Buffer
0.27%
1.29%