## Slide 1: Statistics and Data Analysis
Christian Bohm
University of Stockholm
The aim is to introduce and discuss some key statistical concepts

## Slide 2: Classical measurements
The determination of the size or magnitude of some physical entity
or
Comparison of an unknown quantity with some known quantity of the same kind

## Slide 3
The physical entity to be measured can be assed to be fixed. It can, of course, vary with time but at each instant it has a fixed value.
The measurements are affected by fluctuating parameters that cause their exact value to be undetermined, but their variations can be described by a probability distribution function (pdf)
The distribution can not be determined by one measurement
you need several measurements,
infinitely many for a exact determination, but
a smaller number, a sample, can be sufficient for an approximate determination
However, sometime the distribution can be deduced from physics

## Slide 4
Thus in a measurement, it is important to identify the pdf of the result
If this is not possible - one must at least characterize the pdf as well as possible
The most important parameter is position, then width, skewness, etc.
(these parameters can be determined with good precision from a smaller amount of data)

## Slide 5: The position of the distribution
Population mean
Choice of position parameter depend on the type of measurement
Mean most common
f’s 1:st moment
(center of gravity)
Mode
Median
The expectation value of x

## Slide 6: The width of the distribution
s = standard deviation
Population variance
f’s 2:nd moment
Choice of parameter depend on the type of measurement
Standard deviation and Full Width Half Maximum (FWHM) most common
f50%
f75%
f25%
FWHM
FWTM
100%
50%
10%
Range
Quartile distance
f’s 2:nd central moment

## Slide 7: The Normal Distribution
Variable
x, real number
Parameters
s, m standard deviation, mean
Probability distribution
N(m,s2) denotes a normal distributed parameter with mean m and standard deviation s
68%
95%
99.5%
Also called the Gaussian distribution
m+s
m-s
FWHM=2.354s
m+2s
m+3s
m-2s
m-3s
A 100x100 image with Gaussian data will contain about 500 2s points and 50 3s points.
Finding a 5s point is not so spectacular
The number of fake signals increase in large data sets

## Slide 8: Central limit theorem
If the independent events Xi have the mean m and the variance s2
then
has the mean Nm and the variance Ns2
 has the mean m and the variance s2/N
has the mean 0 and the variance 1
The central limit theorem claims that is normally distributed
i.e. it has the limit distribution N(0,1)
This is why the normal distribution is so important
Quadrupling the number of measurements -> halves the statistical error

## Slide 9: The Binomial Distribution
Repeating independent elementary binary events (succeed – fail) each with the probability p
E.g.
Tossing coins elementary event – coin toss
Drawing tickets with replacement elementary event – draw
Radioactive decay elementary event – decay of a nucleus
Monte Carlo simulations elementary event – one case
Parameters
N>0 number of trails
Variable
Probability distribution
Mean
Variance
0
2
4
6
8
10
12
14
16
18
20
0
0.02
0.04
0.06
0.08
0.1
0.12
0.14
0.16
0.18
N=20
p=0.5
0
2
4
6
8
10
12
14
16
18
20
0
0.05
0.1
0.15
0.2
0.25
N=20
p=0.2
probability

## Slide 10: The uniform distribution
E.g.
Pseudo random number in a computer, truncation errors and digitization
errors are uniformly distributed
Variable x, real number
Parameters a, b, a < b
Probability distribution function
Mean
Variance
;

## Slide 11: The Poisson distribution
The probability for a certain number of events during a time period if the probability per time unit for such a event
is constant (l) and independent of what happened before.
One can say that the process has no memory
Radioactive decays (approx. Poisson)
Parameter
0<
l
, events/time unit
Variabel
r≥0, the number of events
Probability distribution
Mean
Variance
Binomial distribution --> Poisson distribution with if and while
Np=const
0
2
4
6
8
10
12
14
16
18
20
0
0.02
0.04
0.06
0.08
0.1
0.12
0.14
0.16
0.18
l=5
Poisson distribution with n>50 looks like a normal distribution
l=50
0
10
20
30
40
50
60
70
80
90
100
0
0.01
0.02
0.03
0.04
0.05
0.06
Histograms with many events (approx Poisson)
Assuming Poisson instead of Binomial when p is large leads to over estimation of variance.
In semiconductor detectors this is compensated by using the Fano factor

## Slide 12: Stochastic variables
a variable x which can assume different values with the probability density function fx
x is therefore completely defined by f
You can multiply sv:s with coefficients, add or subtract them
y=2x has a probability density as well and is thus also a stochastic variable. Here the distribution just expanded with a factor 2.

## Slide 13: Linear transforms of stochastic variables
y=2x
fy
fx
Probabilities for the selected event:
fy(y) dy = fx(x) dx
but since: dy = y´dx = 2dx
fy(y) = fx(x) /2 = fx(y/2) /2
The areas correspond
to the same event
y
The stochastic variable y=2x has the probability density fx(y/2)/2

## Slide 14: Non-linear transform of stochastic variables
y=g(x)
fg(x)
fx
Probabilities for the selected event:
fg(x)(g(x)) dg(x) = fx(x) dx
but since: dg(x) = g’(x) dx
fg(x)(g(x)) = fx(x) /|g’(x)| provided g(x) is one-one
If g(x) is non-linear the pdf will be deformed
But if g(x) is approximatively linear in the main range of x
then g(x) will, apart from a coefficient, have the similar pdf as x
The stochastic variable y=g(x) has the probability density fx(x) /|g’(x)|
The areas correspond
to the same event
g(x)

## Slide 15: Monte Carlo simulations
are consists of many choices of sv:s with different distribution functions
A uniformly distributed sv is easily generated in a computer.
You start with a seed number to initialize the random number genertor which then generate a sequence of numbers, one for each function call, a sequence of approximately uniformely distributed values.
This is called pseudo random variable. If you start with the same seed you get the same sequence (very useful if you are developing a program).
The pseudo random variable can then be transformed into any desired distribution

## Slide 16: Statistics
The calculation {X} --> TN implies a data reduction
The task is to perform data reduction without loosing information
TN = f(X1,X2, ,XN) is a statistic ;where X is a measurement
A statistic is a function of stochastic variables

## Slide 17: Estimators
Let us use the statistics T
N
to estimate the physical
parameter q
T
N
is the called an estimator
If then T
N
is consistent
If for all N then T is
N
unbiased
unbiased
biased
inconsistent
consistent
An infinitely large sample should give the true value
The mean of a large number of small sample estimators should give the true value

## Slide 18: Estimators
If T uses the information well it is
N
effective
If T
N
is not sensitive to small variations in the distribution then T
N
is robust
A lack of consistency correspond to the presence of systematical errors

## Slide 19: Samples
If you have a sample with N measured values xi then
The sample mean is
It is a consistent estimator of the population mean m
One also easily show that it is unbiased,
since the mean of many small samples is the same as the mean
of one large sample
Why N-1?
is more central in the sample than m thus
and
are both consistent estimators of s2 but
only the right one is unbiased
N-1 compensates for the under estimation

## Slide 20: Bayes’ theorem*
P(AB) = P(A)P(B|A) = P(A|B)P(B) Bayes’ theorem
A
B
AB
P(B|A) = P(AB)/P(A) 
P(A) Prior distribution
P(AB) Posterior distribution
Bayesian methods
P(A|B) is the conditional probability that A will occur if B has occured
P(A) is the probability that A will occur

## Slide 21: Tests of hypotheses
H0 the null-hypothesis the hypothesis you want to test - e.g. there is a pulse
H1 an alternative hypothesis – there was no pulse, just noise
Error of the first kind (E1): Erroneous rejection of the null-hypothesis – loosing the pulse, inefficiency
Error of the second kind (E2): Erroneous rejection of the alternate hypothesis – reading noise as a pulse
Choose a limit so that P(E2) becomes sufficiently small – below a significance level 5% is common.
If P(E2) becomes too large improve the data (more measurements)
Difficult to optimize choice of two conflicting parameters
Find a cost function which includes the probabilities and the cost caused by the different errors
Choose a limit that minimizes the cost function
P(E2)
P(E1)
P(X|H1)
Accept H0
Reject H0
P(X|H0)

## Slide 22: We need many measurements to claim a discovery
To determine if N observed events include a new type of events that would constitute a discovery we must determine if the data could be produced by combinations of well-understood events.
The probability for such events is the background B and its standard deviation (B)=sqrt(B) (Poisson statistics)
For N to contain a discovery, N must be significantly larger than B
For example if N is 80 and B is 64 then (B) is 8
N is 2 above B i.e. 2% probability that N is just random noise
If we measure 4 times as long N´ will be at 320 and B´ 256 making (B´) 16, i.e. the difference is then about 4 corresponding to 0.004% that the measurement is just random noise. This is a much smaller probability but it is not enough to claim a discovery.
5 (0.00002% it is random noise) is often required for discovery.
However, this argument assumes no systematic errors. Increasing the number of events means that the relative influence of the systematic errors increase.
68.3
95.5
99.7
m-s
m+s
m
Normal distribution
Almost the same
as Poisson if N>50

## Slide 23: Fitting parametrized expressions to data sequences*
To fit a theoretical expression f(k,q) that depends on the parameter q to a set of data y(k) where k=1 to n, you need a figure of merit to optimize.
The f.o.m. expresses how close f and y are.
Since y contains noise the f.o.m. is a statistic with a pdf even if f is correct.
One such methods is the Least Square Method (LSM) where the f.o.m. is the sum of the square normalized distance between the f and y points. Normalize means that you divide the square distance with the variance of the distance.
The sum of the squares are c2-distributed
The degrees of freedom is the number of data points minus the the number of parameters fitted.
Another method is to calculate the probability (Likelyhood) for getting the measurement results y if f is the correct description. The parameter values are choosen that maximizes the Likelyhood (ML-method)

## Slide 24: The c2-distribution*
If xi are N different N(0,1) normal distributed variables then the sum
is c2-distributed with N degrees of freedom
Variable
q, positive real number
Parameter
N degrees of freedom
Probability distribution
Mean
Variance
2
4
6
8
10
12
14
16
18
20
0
The G-function is defined as:

## Slide 25
Thank you for your attention