## Slide 1: EasyPET
Gabriela Jazvac1
1Institute for Medical Reasearch and Occupational Health, Ksaverska cesta 2, Zagreb, Croatia

## Slide 2: PET Imaging
β+ decay  annihilation
  two 511 keV photons
~180° angle + time coincidence
  lines of response (LoR)
    image reconstruction
S. R. Cherry, J. A. Sorenson, M. E. Phelps, Physics in Nuclear Medicine, 2012

## Slide 3: Experiment Setup
CAEN EasyPET, MCA
2 x (scintillator (CsI) + SiPM)
2 motors
  360°
  adjustable range
source in the middle (22Na, 12 µCi)
  single point source
  two point sources

## Slide 4: Initial measurements and calibration
dark count measurement
  bias voltage (linear gain)
multi photon spectrum
22Na spectrum
alignment calibration counts

## Slide 5: Measured Spectra
22Na spectrum
Multi photon spectrum

## Slide 6: Results: Overlap of LoR
Single point source
Two point sources

## Slide 7: Conclusion
Proper alignment is important
Working equipment is important
  If these conditions are met, PET can resolve multiple sources

## Slide 8: Thank you for your attention!