## Slide 1: Introduction to EasyPET Exercise
Martin Grossmann :: Center for Proton Therapy :: Paul Scherrer Institute

## Slide 2: What is PET

## Slide 3
PET – Positron Emission Tomography
Back-to-back 511KeV photons are detected
Radionuclide decays, emitting +.
+ annihilates with e– from tissue, forming back-to-back 511 keV photon pair.
511 keV photon pairs detected via time coincidence.
Positron lies on line defined by detector pair (known as a line of response or a LOR).
Ring of Photon
Detectors
From Martin Purschke!

## Slide 4
An Example - 18F
18F-FDG - Fludeoxyglucose is one of the commonly used radiotracers
It is a sugar, so it accumulates where the body burns a lot of energy (“uptake”)
Unusual “hot spots” can point to cancer
Whole-body PET scan using 18F-FDG to show liver metastases of a colorectal tumor
From Martin Purschke!

## Slide 5: PET image of the brain
Dopamine = chemical messenger in our body
Parkinson’s disease: dopamine production in the central brain not properly working
PET image using dopamine with F18 isotope

## Slide 6: Coincidence detection

## Slide 7: 2D PET image
LOR (lines of response) arranged into sets of 1-dimensional parallel projections

## Slide 8: 2D PET image
Back-Projection allows to reconstruct original source distribution

## Slide 9: Commercial PET scanner

## Slide 10: Commercial PET scanner

## Slide 11: EasyPET
2 detectors moving around the target

## Slide 12: LySO Crystals
Lutetium-yttrium oxyorthosilicate Lu2(1-x)Y2xSiO5
Scintillator crystal

## Slide 13: Silicon Photo Multiplier - SiPM
Solid state photon detectors
High gain, low voltage («bias»)
Very compact
Compatible with magnetic resonance imaging MRI

## Slide 14: Silicon Photo Multiplier - SiPM
SiPM is a High density (up to 104/mm2 ) matrix of diodes with a common output, working in Geiger-Müller regime
Common bias is applied to all cells (few % over breakdown voltage)
Each cell has its own quenching resistor (from 100kΩto several MΩ)
When a cell is fired an avalanche starts with a multiplicative factor of about 105-106
The output is a fast signal (trise~ ns; tfall ~ 50 ns) sum of signals produced by individual cells
SiPM works as an analog photon detector

## Slide 15: EasyPET PCB
Channel 1
Channel 2
Analog output
Comparator signal
Coincidence signal

## Slide 16: DT5770 Multi Channel Analyzer (MCA)
Analyze pulses
Accept signal and trigger input
Readout with PC

## Slide 17: Source Alignment

## Slide 18: Multi Channel Analyzer (MCA)
Look at individual pulses
Acquire spectrum

## Slide 19: EasyPET GUI

## Slide 20: Handling radioactive sources

## Slide 21: Handling radioactive sources

## Slide 22: PET image