## Slide 1
BESSY II BEAMLINE CONTROL -
SYSTEM STATUS &
FUTURE PLANS
04.06.2019
Anna Ziegler
Andreas Balzer Parvathi Sreelatha Devi

## Slide 2: Motion Control Hardware
‹#›
13.05.2019

## Slide 3: Motion Control Software
User
GUI
Tools
LISE
User
EPICS CA
AMC/EMC
EPICS DB / Device Support Layer
Abstract Mono Software Interface
EMC Interpreter
Encoder
Slit
EMP/2
HOS
Mono
. . .
‹#›

## Slide 4: Obsolescence Management – Issues & Solutions
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
Update to EPICS 7
Involves OS: Upgrade to Linux / RTEMS / VxWorks V6.8
Involves Hardware: CPU Boards / IPC
EPICS 3.14 Branch
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
Old OMS Motion Controllers
Fast upgrade: MAXv (OMS) / Geobricks
Full stack: Omron, Beckhoff TwinCAT, Newpor, Galil, Aerotech, OMS, ...
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
Heidenhain Encoders RON905
Incremental Encoders
Absolute Encoders -> More hardware involved
Interface to motion controller
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
Old DT motion controllers
Power Brick or comparable full stack motion controllers
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
CAN Bus > Other field bus with Ethercat and IPC?
Serial Connection, Involves AMC > EMP/2 and others
Analog/Digital IO has to be replaced
VME Crates / CPU Boards
Lorem ipsum dolor sit amet at nec at adipiscing
Donec risus dolor porta venenatis
Pharetra luctus felis
Proin in tellus felis volutpat
GUI
EPICS: Python, C++ or Java
‹#›

## Slide 5: Choosing the Motion Control Concept
‹#›
Long term availability and support
Continuously deliver small high quality upgrades
Hardware decisions as late as possible
Compact industrial design
→ Lean Software development with agile work cycles

## Slide 6
THANK YOU FOR YOUR ATTENTION!