## Slide 1: Continuous Delivery and Deployment of EPICS IOCs at FRIB
Enrique Bernal Controls Engineer

## Slide 2: Outline
Overview of Continuous Delivery/Deployment at FRIB
Deploying EPICS IOCs using Puppet
Experience

## Slide 3: FRIB Controls Environment
Almost all IOCs run on virtual machines in the data center
  Improves availability
  Reduces hardware cost and maintenance burden
  Resources can be assigned flexibly
All IOC machines run Debian GNU/Linux 9
Development, Test and Production environments
Device | Interface to IOC | IOC Runs On | Quantity
Power Supplies, RF Amplifiers, Vacuum Gauges/Pumps,… | Ethernet (TCP with text protocol) | Virtual Machine | Thousands
LLRF Controllers | Ethernet (UDP) | Virtual Machine | ~350
MPS Controllers | Ethernet (UDP) | Virtual Machine | ~50
MTCA.4 Systems | PCIe | MTCA CPU (Intel) | ~25
PLCs | Ethernet | Virtual Machine | ~20 processors
Timing Master/Receiver | PCI | cPCI CPU (Intel) | 2

## Slide 4: How should a SW update solution look like?
Standardized and automated
Update all machines and IOCs fast but safe
Flexible enough to allow multiple configurations in different environments
Helps to catch issues before code is deployed to production system
Full traceability
No risk of breaking anything (you can always roll back)
Facilitates team work

## Slide 5: Continuous Integration Principles
Maintain a code repository
Automate the build
Make the build self-testing
Merge changes into a shared mainline several times a day
Every commit to mainline should build
Keep the build fast
Test in a clone of the production environment
Make it easy to get the latest deliverables
Everyone can see the results of the latest build
Automated deployment

## Slide 6: Continuous Delivery vs Continuous Deployment
Continuous Deployment (used with FRIB test environment)
  Continuous Integration
  Automatic deploy after each change on desired VM.
Continuous Delivery (used with FRIB production environment)
  Continuous Integration
  Automatic build of a candidate after each change that could potentially be deployed
  Deployment process is automated but requires approval (e. g. one-click deployment or merge into a release branch to deploy)

## Slide 7: Version Control System at FRIB
Central Git version control system
Engineers follow next Gitflow approach
  Feature branches for development
  Master branch (deployed to Test environment)
  Release branch (deployed to Production environment)
Branch permissions prevent accidental push to “release” branch
    Pull requests are enforced

## Slide 8: Continuous Deployment Pipeline for Test Environment
Jenkins,
Jenkins Debian Glue
VCS
“master”
Build
Unit Tests
Packaging
Package
Test
Lintian,
piuparts
Package
Repository
aptly
Deploy to Test Environment
Integration Tests
Manual
VCS
“release”
Merge
VCS
“master”
Merge to “release” branch initiates deployment to production system

## Slide 9: Continuous Delivery Pipeline for Production Environment
Jenkins,
Jenkins Debian Glue
VCS
“release”
Build
Unit Tests
Packaging
Package
Test
Lintian,
piuparts
Package
Repository
aptly
Deploy to Production Environment
Verification
Manual
Requires manual decision to deploy, but fully automatic from there

## Slide 10: Deploying IOCs with Puppet: Motivation
The FRIB approach
  Deploy EPICS base and support modules as Debian packages
  Build IOCs on the target machine
    Allows tweaking of IOC database in the production environment
Challenges
  Hundreds of IOCs, maintained by multiple engineers
    Consistency is important
  Wide variety of IOCs require flexible deployment solution
  Steps for setting up an FRIB IOC evolve over the years
  Typical problems include
    New revision of IOC database gets pulled from Git repo but IOC maintainer forgets to restart IOC
    New version of support module gets deployed, but IOC doesn’t get rebuild
    Out of disk space due to missing logrotate configuration for procServ log files

## Slide 11: EPICS softIOC Puppet Module
Features
  Supports multiple IOCs on the same machine
  Automatically builds and restarts IOC if something has changed
  Runs IOCs as a daemon with systemd
  Provides access to IOC shell via procServ
  IOC directory can come from any source
  By default runs IOC process with limited user privileges
  Rotates procServ log files
  Lots of configuration options including
    Setting environment variables like EPICS_CA_MAX_ARRAY_BYTES
    Managing autosave directories
    CA security configuration

## Slide 12: Example of Puppet manifest file
Ensure EPICS Base, procServ etc. are installed
Configure IOC process (use multiple of these sections to run multiple IOCs on the same machine)
Install support packages

## Slide 13: r10k
Create different puppet environments according to different needs.
Gives engineers all flexibility they need for testing
Each VM and IOC can be tested using any SW version of any desired package
Easy to configure by non experience Puppet users.

## Slide 14: Experience
Works very smoothly
Saves quite some time when upgrading many IOCs at the same time
For most use cases we rebuild and restart IOCs automatically after upgrading database files or support modules
  Thus we always know that we are running the latest version
    Avoids surprises when an IOC needs to be restarted later
  It took a while until all engineers were comfortable with this behavior
Very useful solution to solve unexpected issues. Almost every engineer know which code is running and which version, on every VM or IOC.

## Slide 15: Summary
FRIB uses
  Continuous Deployment with test environment
  Continuous Delivery with production environment (needs approval)
Libraries are being build as Debian packages on CI server
IOCs are being build on the target machine
EPICS Soft-IOC Puppet module automates deployment of IOCs
  It’s generic (no FRIB-specific functionality)
  It’s free software
    https://forge.puppet.com/mark0n/epics_softioc
    https://github.com/frib-high-level-controls/mark0n-epics_softioc
Very flexible and easy to use by non-experienced users