## Slide 1
EPICS Build and Deployment

## Slide 2
The Consistency Crisis:
Support Modules are compiled against specific releases of their dependencies.
Any IOC will be linked against exactly one set of versioned modules.
Graphs of module dependencies have to be kept at consistent version sets.
Old applications can only be rebuilt if their set of versioned modules is kept.
Bugfixes (new versions of single modules) must be possible and manageable.

## Slide 3
The Consistency Crisis: What Base Offers
Dependency versions and configuration are kept inside the module in files configure/RELEASE and configure/CONFIG_SITE.
Files named RELEASE.local and CONFIG_SITE.local one level above the module subdirectories can override these settings. I.e., all modules below a directory use the configuration in these .local files.

## Slide 4
The Deployment Dilemma:
Development and production systems should be well separated.
Deployment into production should only happen under the “triple A”: authentication, authorization and auditing.
In case of a problem, rollback should be fast, simple and secure. (Under AAA.)

## Slide 5
The Deployment Dilemma: What Base Offers
By setting INSTALL_LOCATION, the EPICS build system will install the generated files (libraries, binaries, headers, databases, …) in that place instead of $TOP.

## Slide 6
This Session:
… will introduce existing approaches and solutions to these problems.