## Slide 1
EPICS Web Services
at the
Canadian Light Source
Michael Bree
Controls & Instrumentation Group
EPICS Collaboration Meeting - ITER
June 2019

## Slide 2: Web Services Definition
  machine to machine communication via WWW
  web protocols: e.g., http, https, etc.
  response: XML, JSON, etc.

## Slide 3: REST (Representational State Transfer) APIs
  architectural style for web services (RESTful APIs)
  uniform, predictable URIs
  stateless
  scalable
  standard HTTP methods (GET, POST, etc.)

## Slide 4: RESTful EPICS Web Services at the CLS
  There are some, but…
  Very rudimentary (i.e., prototype level)
  We are here to learn

## Slide 5: Architecture
Python
CA_PROTO_SEARCH
Tornado
Python
Tornado
Browser
Browser
web services
DB
Network
Beacons
(JSON)

## Slide 6: CLS RESTful APIs
https://epicsgateway.clsi.ca
/get_pv/<pv_name>
/list_pvs
/list_iocs
/list_clients
/list_requests
/list_beacons

## Slide 7: CLS RESTful APIs
/list_pvs
/list_pvs/?count=<X>&offset=<Y>
/list_pvs/?count=<X>&offset=<Y>&sort=<mode>
/list_pvs/?count=<X>&offset=<Y>&search=<regex>
/list_pvs/?count=<X>&offset=<Y>&ioc=<id>
/list_pvs/?count=<X>&offset=<Y>&app=<id>
/list_pvs/?count=<X>&offset=<Y>&invalid
/list_pvs/?count=<X>&offset=<Y>&duplicate
/list_pvs/?count=<X>&offset=<Y>&ioc=<id>&search=<regex>&sort=<mode>

## Slide 8: Example: PV Monitor
  List EPICS PVs
      all / host / IOC / applications
      lost / duplicate / invalid names
      most requested
      search
  List EPICS IOCS
      apps / beacons / PVs
  List Requesting Clients

## Slide 17: Lessons Learned
  Enforces modularity
  Separates logic and presentation
  Legacy is difficult
  Develop with testability in mind

## Slide 18: Possible Future Goals
  OAUTH
  API Keys (permissions & roles)
  More clients (not just PV Monitor)
  More APIs:
    Archiver
    Alarms & Notifications
    Data Visualization?