## Slide 1
EPICS Core Developments and Plans Ralph Lange for the EPICS Core Developers
EPICS Collaboration Meeting September 2022

## Slide 2
Outline
Developments
  Changes in EPICS versions released since July 2021
Plans
  Changes under review or development
  Future plans and ideas for the IOC
  Long term plans

## Slide 3
Developments
Since July 2021

## Slide 4
EPICS Releases since July 2021
EPICS 7.0.6.1 06 October 2021
EPICS 7.0.7 07 September 2022

## Slide 5
Changes in EPICS 7.0.6.1
mbboDirect record enhancements: Single bit fields are updated (and monitors sent) when writing VAL Single bit fields can be used to initialize the record value
Minimum required Perl version bumped to 5.10.1
DB links to DBF_MENU fields fixed (broken in 7.0.6)
Long string access to CALC fields fixed (broken since 7.0.5)
Compiler interface for epicsAtomic tidied up Performance improvements under CLANG (built-in instead of mutex)
epicsTime code has been reimplemented
Many improvements in the Record Reference documentation
Full list (with links to issue tickets) at https://epics-controls.org/resources-and-support/base/epics-7/7-0-6/

## Slide 6
Changes in EPICS 7.0.7
Incompatible change to db_field_log This may cause channel filters that manipulate arrays to fail
Automatic COMMANDLINE_LIBRARY with newer compilers Careful: Older compilers need editing of CONFIG_SITE
aaoRecord gains OMSL and DOL I.e., can fetch an array from one record and write it to a different one
RSRV CA server exports RSRV_SERVER_PORT For ‘multiple IOCs on a host’ setups, the used TCP port is available
Simulation mode RAW support for output record types SIMM=RAW on ao, bo, mbbo, mbboDirect records converts the value and writes RVAL using SIOL

## Slide 7
More Changes in EPICS 7.0.7
Make epicsInt8 signed on all architectures epicsInt8 used to be unsigned where char is unsigned (e.g., PowerPC) This fix may change behaviour of existing databases on targets where char is unsigned when using input links to read from CHAR arrays
Allow hexadecimal and octal values in hardware links Might break links that have numbers starting with 0, as these are now interpreted as octal numbers
Colorized messages for errlog ANSI escapes are not used on output not intended for a terminal (e.g., when using errlog, with redirected stderr or when $TERM is not set)
More Doxygen annotations in the code (thanks to the 2022 EPICS Codeathon participants)

## Slide 8
Even More Changes in EPICS 7.0.7
Build system updates Fix top level uninstall triggering the clean target (since 7.0.5) Fix build of Base’s (modularized) structure with INSTALL_LOCATION
Fix time synchronization issues on VxWorks Proper use of OS clock time synchronization on VxWorks 6.9
Full list (with links to issue tickets) at https://epics-controls.org/resources-and-support/base/epics-7/7-0-7/
pvAccessCPP: bug fixes (enum) and performance improvements
pva2pva: access security hooks; timestamp.userTag from UTAG field

## Slide 9
In Other News
PVXS 1.0.0 released Switching to strict numbering policy
P4P (incl. PVA Gateway) 4.1.2 released

## Slide 10
PLANS
What next?

## Slide 11
Under Review or Development
More server-side filters: Access to the record’s info item strings Access to the record timestamp (TIME field)
Add OOPT to output record types (only write “On Change” etc.)
iocShell <TAB> completion (with libreadline)
EXT link modifier Ability to force links to be local unless marked EXT

## Slide 12
Future Plans and Ideas for the IOC
Features being considered:
  Server-side filtering of put operations (semantics tricky)
  How to support complex structures as database fields
  JSON link addresses for device support
Move PVA link support into Base

## Slide 13
Long Term Plans
Moving the next generation user-level API library PVXS into Base
Rebasing the IOC PVA server QSRV on top of PVXS
Next major release – EPICS 7.1
  No specific timetable for this yet
  Will require C99 and C++11 compilers (GCC 4.8.1) -> No support for VxWorks 6.x or RTEMS 4.x
IPv6 is supported by the next-gen PVA implementations Should Channel Access also get it??

## Slide 14
Thank You for Your Attention!
Comments or Questions?