## Slide 1: Summary of the motion WS in Ljubljana, 2022-09-20
Torsten Bögershausen
www.europeanspallationsource.se

## Slide 2: Buzz words
30-40 participants, majority remotely
Seeing new faces, which is good
Using zoom worked "fully OK" (tm)
Stuff will be put on
https://github.com/EPICS-motor-wg

## Slide 3: What did we do
2 shortened presentations EtherCAT HW, TwinCAT SW and ECMC SW solutions used at ESS and collaborating facilities
Good time for discussions

## Slide 4: Functional safety -1
functional safety: (There is TwinSAFE, but)
Personal protection: always separate HW: switches, cables, safety PLCs (PPS group)
Machine protection: similar
Equipment protection: (collision detection) probably possible inside the motion controller. Kill switch.

## Slide 5: Functional safety -2
Functional safety In any case: Make a hazard analyses: - Risk - damage - impact - costs

## Slide 6: EPICS Motor module
Side note: it is the motorRecord.cc, model3 generic driver and specific drivers
Not all implementations for different controllers are the same motor spend effort to make them uniform: I think that those subtle differences in the driver(s) should go to tech talk.
And result in Git patches: PR, MR

## Slide 7: No good answers
Fly scan with absolute encoders, question from Li Ji (No good answers yet)
Replacement of obsolete deltaTau Turbo PMAC (question too late for the WS. But there are modern controllers ;-)

## Slide 8: MotorRecord
motorRecord is a good abstraction for higher control systems
The model 3 driver allows the motorRecord to be used.
caput IOC:m1.VAL (motor Record)
caput IOC:m1-MoveAbs (ao record)

## Slide 9: MotorRecord
Move a motor from 6 to 16 mm, 1mm/sec): time caput -w 20 -c IOC:m1 16 Old : IOC:m1 6 New : IOC:m1 16 real 0m10.476s time caput -w 20 -c IOC:m1-MoveAbs 16 Old : IOC:m1-MoveAbs 6 New : IOC:m1-MoveAbs 16 real 0m0.058s

## Slide 10: What next
See you at the next EPICS meeting
Some follow-up meetings planned to discuss specific items.
Learning about epics motor, motorRecord, model 3:
https://www.youtube.com/embed/N5tzK95j4dg