## Slide 1: Status of KATRIN and TRISTAN
Diana Parno for the KATRIN Collaboration
Carnegie Mellon University
NuTheories, Pittsburgh, November 2018
m2n,eff
m2n,s

## Slide 2: Outline
Neutrino mass through b decay
Basics of the KATRIN experiment
First tritium runs
KATRIN and TRISTAN: eV and keV sterile searches
Outlook

## Slide 3: Probes of Neutrino Mass
 | n oscillation | 0nbb | Cosmology | Decay kinematics
Observable |  |  |  | 
Present knowledge |  | mbb < (0.06-0.4) eV |  | mn,eff < 2 eV
Next gen. / near future |  | 0.01 – 0.05 eV | 0.01 – 0.05 eV | 0.2 eV
Model dependence of mass extraction | No mass-scale information | d1, d2 phases Nuclear matrix elements Requires LNV | LCDM Many parameters H0 tension | Energy conservation

## Slide 4: Kinematics of Tritium Decay
Probability (arb. u.)
b kinetic energy (eV)
Super-allowed decay
  Q = 18.6 keV
  T1/2 = 12.3 yr
3He
e-
ne
3H
mn,eff = 0 eV
mn,eff = 1 eV
b kinetic energy - Q (eV)
Probability (arb. u.)
Extract effective neutrino mass from spectral shape near endpoint
(quasi-degenerate regime)
-5 -4 -3 -2 -1 0

## Slide 5: Molecular Tritium
KATRIN uses a T2 source – not just T
b spectrum depends on excitation energies Vk and probabilities Pk – need 1% accuracy
Saenz et al.
PRL 84 (2000) 242
Binding energy (eV)
Relative probability (%/eV)
Approaches to control uncertainty:
  Ongoing improvement in calculations
  Characterization of initial T2 state
  TRIMS experiment to re-check predicted observable
Bodine, DSP, Robertson, PRC 91 (2015) 035505

## Slide 6: mn,eff2: A Brief History in Tritium
Adapted from J. Wilkerson, Neutrino 2012
Year
Mass Limit (eV)
Mainz
Troitsk
MIBETA
SuperK oscillation result
SNO oscillation result
2025
KATRIN design
?
Neutrinos discovered

## Slide 7: Recipe for a New Measurement
The observable is m2n,eff
  100x better uncertainty  10x better mn,eff sensitivity
Improve statistics
  Luminous b source (1011 decays/s)
  Excellent energy resolution (0.93 eV)
  Low backgrounds (even at sea level)
Improve systematics
  Extensive commissioning
  Molecular physics
  Column density (activity, scattering)
  Point-to-point energy scale
  ...

## Slide 8: Outline
Neutrino mass through b decay
Basics of the KATRIN experiment
First tritium runs
KATRIN and TRISTAN: eV and keV sterile searches
Outlook

## Slide 9: The MAC-E Filter
T2 source
Detector
Electrodes
Analyzing plane
Measure integral spectrum with moving threshold
Magnetic Adiabatic Collimation + Electrostatic filter
pe (without E field)
Detailed application to KATRIN: Kleesiek et al., arXiv:1806.00369

## Slide 10: A Quick Tour of the Beamline
Analyze b energy
Gaseous T2 source
3He
e-
ne
3H
1011 e-/sec
Electron transport + tritium retention
Detect bs
103 e-/sec
1 e-/sec
Calibration
Monitor high voltage

## Slide 11: Windowless, Gaseous T2 Source
16-m cryostat, 7 integrated superconducting solenoids
T2 gas kept at 30 K in beam tube
Backed by closed tritium cycle with purification (40 g/day)
Inject T2
Pump out T2
Pump out T2
Gas dynamics model: Kuckert et al., arXiv:1805.05313
~3 x 10-3 mbar
~2 x 10-5 mbar
~2 x 10-5 mbar
Mar 30, 2018
Temperature (K)
± 0.1%
0 5 10 15 20
Time (hr)
Temperature stability @ 30 K
Two-phase Ne cooling: Grohmann et al., Cryogenics 49 (2009) 413

## Slide 12: Focal-Plane Detector
Image analyzing plane with Si p-i-n diode from Canberra
Amsbaugh et al., NIM A, 778 40 (2015)
90-mm active diameter
Entrance window 150 nm with 46% charge collection
148 pixels in dartboard pattern
Energy resolution around 2 keV FWHM

## Slide 13: KATRIN by the Numbers
1011 tritium decays per second
Magnetic field range 3 – 60000 G
Leopoldshafen, Germany
(near Karlsruhe)
November 2006
Design filter width DE = 0.93 eV
Design sensitivity: 0.2 eV at 90% CL

## Slide 14: Spectrometer Backgrounds
Signal bs have E~0 keV in analyzing plane
Low-energy secondaries mimic the signal
Detector
Emission from walls (cosmic rays, environmental gs)
Muon-induced background: KATRIN collab., arXiv:1805.12173
✓
Magnetic pulses vs stored-e- background: KATRIN collab., EPJC 78, 778 (2018)
e- from ionization (b flux, trapped e-, decays in volume...)
✓
a decay in walls (210Pb chain from Rn plateout) sputters highly excited atoms
Rydberg atoms ionize in volume
Simulated track from Mertens et al., Astropart. Phys. 41, 52 (2013)

## Slide 15: 2017: 83mKr Spectroscopy
July 2017: Monoenergetic electrons from two beamline 83mKr sources
Energy (eV)
Norm. resid.
Count rate (cps)
Differential rate (cps/eV)
Commissioning with isotropic source
  Energy scans
  Demonstrate sub-eV energy resolution
  Calibration, monitoring equipment
Long-term stability of high-voltage divider: 2 ppm over 4 years
KATRIN collab., JINST 13 P04020 (2018)
KATRIN collab., EPJ C 78 368 (2018)
K-32 line
Energy 17.8 keV
Natural width 2.7 eV
Averaged over 40/148 pixels
17816 17820 17824 17828

## Slide 16: Outline
Neutrino mass through b decay
Basics of the KATRIN experiment
First tritium runs
KATRIN and TRISTAN: eV and keV sterile searches
Outlook

## Slide 17: KATRIN’S Very First Tritium
Normal operation: Continuous gas flow through closed tritium cycle with purification
First commissioning: Inject known gas mix from prepared sample cylinders (4 doses)
  0.5% T atoms circulating in D2 gas (90% nominal density)
First tritium injection:
Friday 18 May
7:48 am UTC
Notes: Small doses for ion safety

## Slide 18: Source Stability over 12 Hours
Blue error bars indicate systematic uncertainty
Red dashed lines indicate 0.1% stability tolerance for neutrino-mass running
Slide credit: Magnus Schlösser

## Slide 19: Integral Rate Stability (5 hours)
Retarding potential set to 1000 V below endpoint for 5 hours
Rate stability reflects overall performance of system
Expected 0.1% statistical precision at this rate:
Measured precision (1-minute base)
Slide credit: Magnus Schlösser

## Slide 20: Scanning the Tritium Spectrum
KATRIN tritium scan #1 (Day 2 of tritium commissioning)
Immediate comparison of data to model
Preliminary
Model initialized with system parameters from slow controls
Very good agreement “out of the box”

## Slide 21: Fitting the Tritium Spectrum
Later that day, we fit the last 200 eV of the spectrum
Preliminary
Three fit parameters (neutrino mass fixed to 0):
  Overall activity
  Constant background
  Endpoint energy E0
Statistical errors only in this early fit
c2/dof = 15.0/14

## Slide 22: First Look at Fit Systematics
Examined 400-eV analysis window for a single scan
Covariance-matrix approach to systematics
Propagated correlations with multisim method
Many systematics will improve after this commissioning cycle (e.g., column density)
Preliminary
Preliminary
c2/dof = 15/16

## Slide 23: Inactive-Gas Commissioning
Column density (scattering, activity)
Local space charge (spectral shape)
Ion retention (backgrounds)
Transmission through spectrometer (spectral shape, efficiency)
September– October of this year
Tackle multiple systematics before next tritium runs
Upgraded DAQ (higher rates)

## Slide 24: The Next Few Years
Spring 2019: Further commissioning + tritium purity ramp-up
Summer/Fall: Neutrino mass running
Stay tuned! Even with increased background, we can reach a sensitivity of 0.24 eV by adjusting scan strategy
Full sensitivity (ssyst = sstat) after 3 beam yrs (~5 calendar yrs)
G. Drexlin et al., Adv. High Energy Phys. 2013 (2013) 293986
Full beam time (yrs)
Discovery potential (s)
Full beam time (months)
mn limit (eV, 90% CL)

## Slide 25: Outline
Neutrino mass through b decay
Basics of the KATRIN experiment
First tritium runs
KATRIN and TRISTAN: eV and keV sterile searches
Outlook

## Slide 26: Sterile Neutrinos in b Decay
The large hypothesized mass splitting between the active and sterile sectors could be resolved by KATRIN!
S. Mertens et al., arXiv:1810.06711
Search for characteristic kink structure in spectrum (exaggerated in figure)
Sensitive to eV and keV scales

## Slide 27: Sterile Neutrinos at eV Scales
Kink structure is within standard KATRIN analysis window (order 10 eV below endpoint)
Sensitivity improves further if combined with short-baseline oscillation data
Reactor antineutrino anomaly
68% C.L.
90% C.L.
Projected KATRIN exclusion after 3 years
95% C.L.
99% C.L.
Formaggio and Barrett, PLB 706 (2011) 68

## Slide 28: Sterile Neutrinos at keV Scales
Endpoint of tritium b decay is 18.6 keV
  Sensitivity to ms < 18.6 keV ?
First challenge: statistics
Regular neutrino-mass measurement
keV-scale sterile search
Imagery credit: Susanne Mertens

## Slide 29: keV-Scale Search: Systematics
Now we detect more bs that lost energy:
  Back-scattered on rear wall
  Scattered multiple times in source
Adiabatic guiding of bs even with high surplus energy
Loss of bs back-scattered at detector
Slide credit: Susanne Mertens

## Slide 30: The TRISTAN Project
R&D for KATRIN extension (after neutrino-mass running)
  Characterize KATRIN performance far below T endpoint (backgrounds, stability, transmission)
  Possible upgrades on source side
    Reduce back-scattering on rear wall via changes in composition and magnetic field?
  Detector upgrades
    Anticipated rates of 108 cps or more
    Energy resolution ~ 300 eV (FWHM) at 30 keV
    Minimal backscattering
    High efficiency with minimal energy dependence

## Slide 31: The TRISTAN Project
Anticipated 95% C.L. exclusion limits for 3 beam years of:
S. Mertens et al., arXiv:1810.06711
Standard KATRIN configuration
TRISTAN with 1% of KATRIN source strength
TRISTAN with 100% KATRIN source strength

## Slide 32: TRISTAN Detector Studies
Plan: Silicon drift detectors (SDDs) with integrated nJFET
Prototype: SDDs with external FET-equipped ASICs
Waveform digitization to mitigate ADC nonlinearities
55Fe spectrum
DE = 139 eV
(FWHM)
S. Mertens et al., arXiv:1810.06711
Semiconductor Lab, Max Planck

## Slide 33: TRISTAN Next Steps
Next-generation prototype under construction: 166 pixels
4-cm module to be tested on bench and at Troitsk’s existing MAC-E filter
TRISTAN concept has 21 modules for ~3500 pixels within a 20-cm diameter
Full detector
Detector module

## Slide 34: Outlook
KATRIN is a working experiment
  First full-beamline data, Oct. 2016
  First spectral measurement of radioactive source, July 2017
  First tritium, 6 months ago!
  Fresh systematics data on disk
We expect mn,eff data in first half of 2019
TRISTAN R&D is proceeding well
  Staged detector prototypes
  Analysis of KATRIN commissioning data
  Active engineering work
  Deployment at KATRIN is possible after neutrino-mass run – 2025?

## Slide 35: KATRIN Collaboration
Funding and support from: Helmholtz Association (HGF), Ministry for Education and Research BMBF (05A17PM3, 05A17PX3, 05A17VK2, and 05A17WO3), Helmholtz Alliance for Astroparticle Physics (HAP), and Helmholtz Young Investigator Group (VH-NG-1055) in Germany; Ministry of Education, Youth and Sport (CANAM-LM2011019), cooperation with the JINR Dubna (3+3 grants) 2017–2019 in the Czech Republic; and the Department of Energy through grants DE-FG02-97ER41020, DE-FG02-94ER40818, DE-SC0004036, DE-FG02-
97ER41033, DE-FG02-97ER41041, DE-AC02-05CH11231, DE-SC0011091, and DE-SC0019304 in the United States.

## Slide 36: Backup Slides
Accounting for backgrounds in the KATRIN sensitivity
List of recent technical papers
Brief introduction to the TRIMS experiment

## Slide 37: Background and Sensitivity
Shift scans to lower Eb
Extend data range by 30 eV
Shrink flux tube (slight cost in DE)
Retarding energy qU – E0 (eV)
Rate (cps)
Relative difference
Time (d)
0.38 mT
0.50 mT
0.80 mT
Slide from Kathrin Valerius
mn = 0 meV
mn = 350 meV
Toy run
-60
Notes: We are making a relative shape measurement of the beta spectrum, which gives us flexibility to mitigate background impact by adjusting our measurement strategy. Even without mitigating the Rydberg background events, we can reach a sensitivity of 240 meV by:

## Slide 38: Recent Technical Papers
Mobile, external magnetic-field sensing
  Letnev et al., arXiv:1805.10819 [physics.ins-det]
Large-volume air-coil system
  Erhard et al., JINST 13 (2018) P02003
Electron gun for commissioning
  Behrens et al., Eur. Phys. J. C 77 (2017) 410
Kassiopeia particle-tracking software
  Furse et al., New J. Phys. 19 (2017) 053012

## Slide 39: Tritium Recoil-Ion Mass Spectrometer
Molecular theory1 predicts 3HeT+ should dissociate in 43-61% of b decays near endpoint
Two 1950s experiments2,3 found 5-10% dissociation over b spectrum
TRIMS is a time-of-flight mass spectrometer, now taking data at University of Washington to resolve the discrepancy!
Ion Timing – Beta Timing (ns)
Ion Energy (keV)
30 minutes with HT – T2 gas mix
H+
3He+, T+
3HeH+
3HeT+
Preliminary
1Jonsell et al., PRC 60 034601 (1999)
2Snell et al., J. Inorg. Nucl. Chem. 5 112 (1957)
3Wexler, J. Inorg. Nucl. Chem. 10 8 (1958)
TRIMS Posters (Mon. session)
- TRIMS: Validating Tritium Molecular Effects for Neutrino Mass Experiments (Lin, #6)
- Detecting light ions and electrons with TRIMS silicon detectors (Baek, Vizcaya Hernández, #88)
TRIMS collaboration: Baek, Kallander, Lin, Machado, Parno, Robertson, Vizcaya Hernández