## Slide 1: Characterisation of the GEMINI chip coupled with Aluminium Triple-GEM detector
1° year Seminar
Candidate: Stephanie Cancelli
Tutor: Dr. Marco Tardocchi
Supervisor: Dr. Gabriele Croci

## Slide 2: Outline
Gas Electron Multiplier detectors
PhD project
Aluminium GEM detector
GEMINI chip
GEMINI analog system
Analog system characterisation.

## Slide 3: Gas Electron Multiplier (GEM) detectors
Developed in 1997 by F.Sauli at CERN.
Belong to Micro-pattern Gas Detector.
Gas used: ArCO2(70%-30%).
Standard GEM foil
Thickness of insulating layer: 50 μm
Thickness of conductive layer: 5 μm
Inner diameter of holes: 50 μm
External diameter of holes: 70μ
Pitch:140 μm

## Slide 4: PhD Project
A.Muraro et al. “MBGEM: a stack of borated GEM detector for high efficiency thermal neutron detection”- Eur. Phys. J. Plus (2021)
Development of a 10B multi-layer triple-GEM detectors optimised for slow neutron detection.
BGEM foils
Standard GEM foils and padded anode

## Slide 5: PhD Project
Development of a 10B multi-layer triple-GEM detectors optimised for slow neutron detection.
First prototype of MBGEM detector

## Slide 6: Aluminium triple-GEM detector
GEM detector optimised for Soft X-ray detection.
Three GEM foils covered with 200 nm Al.
Gas mixture of ArCO2(70%-30%).
Two system of GEMINI electronic readout (analog and digital).
Aluminium GEM foils
256 padded anode (one pad of 6x6 mm2)
Al GEM detector with analog and dital system

## Slide 7: GEMINI Chip
Features | GEMINI | CARIOCA
CMOS technology | 180 nm | 250 nm
N° of channels | 16 | 8
Max pixel capacitance | 40 pF | 120 pF
Max count rate | 5 Mcps | 0.8 Mcps
Min detectable charge | 2.5 fC | 10 fC

## Slide 8: GEMINI Analog System
X-ray source
Target
CAEN
digitizer
32 analog channel board and 64D GEMINI chip.
Caen digitizer (8 channels).
X-ray source and Titanium target.
Ch6 | Ch0 | Ch7
Ch1 | Ch 5 | Ch6
Ch3 | Ch4 | 

## Slide 9: Analog System Characterisation
Waveform of a single event
Threshold
ToT

## Slide 10: Analog System Characterisation
ToT and Pulse Hight spectra from analog data

## Slide 11: Analog System Characterisation
ToT as a function of PHS

## Slide 12: Analog System Characterisation
ToT and PHS calibration curves

## Slide 13: Analog System Characterisation
ToT and PHS calibration curves

## Slide 14: Analog System Characterisation
Energy Spectra of a Titanium target
    G = gain

## Slide 15: Analog System Characterisation
Energy Spectra of a Titanium target
Creation of look up tables ToT-q.
    G = gain

## Slide 16: Analog System Characterisation
Energy Resolution
Channel | FWHMTOT (eV) | CenterTOT (eV) | RTOT | FWHMPHS (eV) | CenterPHS (eV) | RPHS
0 | 1711 | 4564±16 | 37% | 1471 | 4598±14 | 32%
1 | 1733 | 4495±16 | 38% | 1450 | 4460±14 | 32%
2 | 1518 | 4565±13 | 33% | 1230 | 4498±11 | 27%
3 | 1706 | 4622±15 | 37% | 1276 | 4485±12 | 28%
4 | 1779 | 4503±15 | 39% | 1311 | 4490±13 | 29%
5 | 1624 | 4505±15 | 36% | 1304 | 4490±12 | 29%
6 | 1734 | 4465±16 | 38% | 1374 | 4475±14 | 30%
7 | 1445 | 4555±15 | 31% | 1342 | 4485±14 | 30%

## Slide 17: Analog System Characterisation
Energy Spectra of a Molybdenum target

## Slide 18: Analog System Characterisation
Energy Spectra of a Molybdenum target

## Slide 19
Thank You
for Your Attention

## Slide 20: Exams
Writing on scientific papers – verbalizzato il 30/06/2021 (1CFU)
Surfing the academic job market: how to publish in hight impact international journals – verbalizzato il 05/03/2021 (1CFU)
Introduction to Python Programming - sostenuto il 31/03/2021 (1CFU)
Advanced Topics in C++ - sostenuto il 13/05/2021 (2CFU)
Acquired CFU: 5

## Slide 21: Publications
S. Cancelli, A. Muraro, E. Perelli Cippo et Al., (2021) “Development of a ceramic double thick GEM detector for transmission measurements at the VESUVIO instrument at ISIS ” – JINST.
Giovanni Romanelli, Dalila Onorati, Pierfrancesco Ulpiani, Stephanie Cancelli et Al., (2021) "Thermal neutron cross sections of amino acids from average contributions of functional groups" - Journal of Physics: Condensed Matter.
A.Muraro, G.Claps, G.Croci, C.-C. Lai, R.De Oliveira, S.Altieri, S.Cancelli et Al., (2021) “MBGEM : a stack of Borated GEM detector for high efficiency thermal neutron detection” - Eur. Phys. J. Plus.

## Slide 22: Analog System Characterisation
ToT as a function of PHS
Channel | FWHM | R
0 | 2,9 | 4,9%
1 | 3,2 | 5,3%
2 | 4,2 | 6,9%
3 | 4,2 | 6,9%
4 | 3,9 | 6,7%
5 | 4,6 | 7,9%
6 | 2,5 | 4,1%
7 | 2,5 | 4,2%

## Slide 23: Digital signal analysis