## Slide 1: Bio-medical imaging using synchrotron radiation
Martin.bech@med.lu.se Medical Radiation Physics

## Slide 2: About me
Associate professor
Department for Medical Radiation Physics
Lund University
Spokesperson for biomedical imaging
beamline project at MAX IV
Martin.Bech@med.lu.se

## Slide 3: Outline
What is phase contrast imaging and dark-field imaging?
Why are these new imaging modalities good for bio-medical imaging?
Future prospects of phase-contrast imaging?

## Slide 4: Biology can best be understood if studied at different length and time scales

## Slide 5: High Contrast / Low Contrast
First x-ray image
made by Röntgen in 1896
Modern x-ray image today

## Slide 6
Synchrotron-based phase contrast micro-CT Electron accelerator, highly parallel X-rays

## Slide 7: Medicine at different length scales
NanoMAX
MedMAX I
BioMAX
MedMAX II
MicroMAX
Cells
Tissues
Biomolecules
Organs
Cellbiology
Molecular Medicine/Drug Design
Disease models
Animals
10-6 m
10-9 m
10-10 m
Atoms
Micro- structures
coSAXS
Molecular complexes

## Slide 8: Phase contrast and dark-field imaging

## Slide 9: Analogy – Visible Light
Diffraction
Refraction
Wikimedia Commons
Notes: 15 Nobel Prizes:
1901 Röntgen, 1914 Laue, 1915 Bragg & Bragg, 1917 Barkla, 1924 Siegbahn, 1927 Compton, 1936 Debye, 1962 Perutz & Kendrew, 1962 Crick & Watson & Wilkins, 1976 Lipscomb, 1979 Cormack & Hounsfield, 1981 Siegbahn, 1985 Karle & Hauptman, 1988 Deisenhofer & Huber & Michel

## Slide 10: Analogy – Visible Light
Phase contrast imaging
Images by Gary S. Settles, Penn State Gas Dynamics Lab
A
B
Notes: Good analogy because it is the same: Electromagnetic waves

## Slide 11
Röntgen was also looking for refraction…
Notes: George de Hevesy, Chemist

## Slide 12: Coherence
Ability to interfere due to particle/wave duality

## Slide 13: Near-field versus far-field
Image courtesy: Timm Weitkamp

## Slide 14: Wave propagation for beginners
Wave propagation regimes: Fresnel number:
a = “resolution”, λ = wavelength, Z = propagation distance
For λ = 10-10 m a Z
Contact regime F >> 1 1 mm 10 cm
Near field regime (Fresnel) F ~ 1 1 µm 10 cm
Far field regime (Fraunhofer) F << 1 1 nm 10 cm
Near field regime (Fresnel) F ~ 1 1 mm 10 km
Near field regime (Fresnel) F ~ 1 1 µm 10 cm
Near field regime (Fresnel) F ~ 1 1 Å 1 Å

## Slide 15: Holotomography
Polystyrene foam.
P. Cloetens 1999

## Slide 16: Outline
What is phase contrast imaging and dark-field imaging?
Why are these new imaging modalities good for bio-medical imaging?
Future prospects of phase-contrast imaging?

## Slide 17: Selected Application
3D imaging by nano holotomography
Notes: Many applications in virtually any field where histology is but.

## Slide 18: Zoom tomography of biopsies from human peripheral nerves

## Slide 19: PIN biopsy method
Posterior interosseus nerve
Radius
Ulna
Collaboration Niels Thomsen and Rayaz Malik
Notes: The PIN biopsy can be performed as an outpatient procedure. Local anasthesia. After innervating the extensor pollicis longus and extensor indicis proprius muscles the distal part of the PIN becomes purely sensory and passes deep to the interosseous membrane in the radial part of the fourth compartment. Innervate the central two-thirds of the dorsal aspect of the radio- and inter-carpal joints. Incision 1 cm proximal to the DRUJ
Open the 4 extensor compartment
Postopr. Light dressing, The patient is encouraged to use the hand for lightweight activities. Removed outher bandage after 5 days, removal of sutures day 10.

## Slide 20: Diabetic Neuropathy – nerve fiber distribution
Posterior interosseous nerve – upper extremity
Notes: Sural nerve biopsy

## Slide 21: Nano tomography @ synchrotron

## Slide 22: Synchrotron Nano CT versus 3D Electron microscopy
Technique | Resolution | Field of View | Acquisition Time | Other
Synchrotron Imaging | 75 nm | ~150 µm | Hours | Non destructive
3D Electron microscopy | In plane: ~ 5-20 nm Slice-wise: ~ 50+ nm |  | Days | Destructive Artifacts in different slices Need for alignment of 2D images
Abdollahzadeh
et al. 2019
~15 x 15 x 15 µm3
Lee et al. 2019 48 x 36 x 20 µm3

## Slide 23: Nano-Tomography at ID-16NI, ESRF
Scientific Reports (2020) 10:7592 https://doi.org/10.1038/s41598-020-64430-5

## Slide 24: X-ray phase contrast zoom tomography

## Slide 25: Node of Ranvier
Berthold et al 1990
Node of Ranvier – myelinated nerve fiber with myelin deleted
Notes: Electron microscopic serial section analysis of nodes of Ranvier

## Slide 26: Regeneration – the birth of an axon

## Slide 27: Data segmentation
Extraction of both inner and outer surface
Data analysis by
Hans Martin Kjer
Dahl, V. A., Trinderup, C. H., Emerson, M. J., & Dahl, A. B. (2018) Content-based Propagation of User Markings for Interactive Segmentation of Patterned Images. IEEE Transactions on Image Processing. 2018

## Slide 28: Morphology: Axonal diameter
Data analysis by Hans Martin Kjer, DTU

## Slide 29: Quantitative data extraction
X10-3
X10-3

## Slide 30: Outline
What is phase contrast imaging and dark-field imaging?
Why are these new imaging modalities good for bio-medical imaging?
Future prospects of synchrotron phase-contrast imaging?

## Slide 31: Outlook: Bio-medical Imaging and pre-clinical implementation

## Slide 32: Bio-imaging at different length scales
Nano/Micro tomography
Protein crystallography
Cells
Tissues
Biomolecules
Organs
Animals
10-6 m
10-9 m
10-10 m
Atoms
Micro- structures
Coherent diffractive imaging
Molecular complexes
Slide courtesy: Tomas Lundqvist

## Slide 33: MedMAX – for biomedical imaging
Imaging beamline
  165 m long
  Large field-of-view
Energy range
  5 – 50 keV
MedMAX

## Slide 34: Technical scope for Biomedical beamline, MedMAX
Conceptual design report
Notes: density sensitivity down to 0.5 mg/cm3

## Slide 35: Imaging with synchrotron x-rays
Truong et al. (2022) Sub-micrometer morphology of human atherosclerotic plaque revealed by synchrotron radiation based μCT—A comparison with histology. PLOS ONE 17(4): e0265598.
Notes: Rupture with plaque tissue exposed to the bloodstream with thrombus formation.
(A) LR SRμCT of a ruptured shoulder region with plaque tissue (asterisk) exposed to the bloodstream with the formation of a thrombus (star). (B) the zoomed-in area of the interface between plaque tissue and thrombus, obtained with HR SRμCT. The white square in (A) corresponds to the area in (B). (C) shows the area of the white square in B with the zoomed-in region of the plaque tissue (asterisk) and thrombus (star) interface. Individual erythrocytes are also seen scattered within the exposed plaque tissue, which is also seen in histology (D-F). The corresponding section in histology, stained for erythrocytes (Glycophorin A), is seen in (D), with the black squares marking zoom-in regions in (E) and further in (F). The black asterisk indicates plaque tissue and the black star marks the thrombus. The "play" symbols in (A) and (B) indicate related movie material, showing the LR (S4 Movie in S1 File) and HR (S5 Movie in S1 File) tomographic image stacks. Plaque ID 1 in S1 Table in S1 File.

## Slide 36: Thank you for your attention
Lund University
Region Skåne
Medicon village