## Slide 1: The Next Generation Dark Matter Project LUX-ZEPLIN
Matthew Szydagis,
on behalf of the LZ Collaboration
TeVPA OSU August 8, 2017
adapted from slides by M.E. Monzani, SLAC
LZ
ADMX
SuperCDMS
The victors of the DoE G2 hunger games
(a merger of 2 collaborations, separate from LUX)

## Slide 2: Sanford Underground Research Facility SURF
4,850 feet below Lead, SD: the former site of the Homestake gold mine
LZ, like LUX, will be installed in the Davis Cavern, once home to the Nobel prize-winning Ray Davis solar neutrino experiment
2

## Slide 3: The Onion-Like Layers of the Beast
The Cathode
High-Voltage
Feedthrough
The Outer
Detector
PMTs (120)
Dual phase xenon TPC, with
494 TPC + 131 Xe skin PMTs
LXe Heat Exchanger
Existing
Water Tank, and SURF Infrastructure
Gadolinium-Loaded
Liquid Scintillator Veto
Instrumentation Conduits
D-D neutron tube
A bigger and better version of LUX, and ZEPLIN.

## Slide 4: A Big Liquid Noble Time Projection Chamber
10 tons, to find WIMP nuclear recoil (NR)
  7 tons in the active volume (drift E-field)
5.6 ton total fiducial mass nominally
  Thanks to unique *triple* veto system
Spin-independent WIMP search sensitivity goal of <= 2.3 x 10^-48 cm^2 interaction cross-section for a mass-energy of 40 GeV
  Clip the neutrino “shoulder” at low mass
Turning on by 2020, with 1,000 initial live-days: get within order mag. high-m n floor
6 keVnr threshold with at least 99.5% discrimination are baseline assumptions
  Threshold means energy at which efficiency (sigmoid-like) is 50%
  Electron recoil (ER) leakage of 0.5% below NR band Gaussian centroid

## Slide 5: Discovery Machine
  61-cm thick Gd-loaded scintillator
  instrumented xenon “skin” layer
  water shield, an active muon veto
  in-situ monitoring of residual backgrounds
RoI + SS Cut + All Vetoes
5
Energy RoI + Single Scatter
  We will be able to tag both neutrons (muon-induced and other) & gammas

## Slide 6: Screening and Simulations: Background Table
Expected counts in 1,000 live days in an indicative 5.6-ton fiducial mass in (1.5-6.5 keVee) and (6-30 keVnr) energy ranges:
ER vs. NR discrimination is critical to success of experiment
PLR analysis: very powerful at rejecting residual ER events

## Slide 7: High-stat LUX Calibrations + NEST
LUX 2015: 1.1 keVnr
LUX 2013: 0 quanta was assumed below 3 keVnr
sum of light and charge yields, found to be a great match to the famous Lindhard “quenching” factor
Efficiency
ER
(tritiated methane)
NR
(D-D neutron generator)
Phys. Rev. Lett. 116, 161301 (2016)
arXiv:1608.05381
Phys. Rev. Lett. 118, 251302 (2017)
2nd science run (~1 live-year)

## Slide 8: An Example WIMP Signal Region
40 GeV WIMP
1σ
2σ
PDF known with great precision
(x5)
(x500)
Technical Design Report (TDR) arXiv:1703.09144

## Slide 9: Simulation of LZ’s Full Initial Exposure
solar n’s
σ = 6 x 10-48 cm2
arXiv:1703.09144

## Slide 10: Latest Sensitivity Projections: Spin-Independent

## Slide 11: Moore’s-like Law for WIMP SI Direct Detection
LUX
LZ < 2.3×10-48 cm2
(~XENONnT)
Ge, NaI no background discrimination
Ge, with discrimination
LXe, with discrimination
XENON1T

## Slide 12: Spin-Dependent Neutron and Proton
Conceptual Design Report (CDR) arXiv:1509.02910
(apologies that slightly outdated: latest PICO SD-p results missing for instance)

## Slide 13: Solar Axions, and Galactic ALPs
Note LUX not here because plots predate that work. See LUX talk for recent results

## Slide 14
The SLAC “System Test” Platform

## Slide 15: SLAC Noble Liquid Test Platform
Grid Prototyping and Testing

## Slide 16
Phase I Test Detector

## Slide 17
Full-Scale Grid Loom at SLAC
(My Student, Jack Genovesi)

## Slide 18: LZ = LUX + ZEPLIN
  A large collaboration, for the field of dark matter:
    38 institutions (US, UK, Portugal, Russia, + South Korea)
    >250 laboratory staff scientists, university faculty, postdocs, graduate students, engineers, & technicians
  The most recent LZ collaboration meeting, at SURF, July 2017

## Slide 19: Summary and Outlook
LZ achieved CD-3 milestone on 02.09.17
  March 2016: LUX removed from Davis
  July 2017 (NOW): surface assembly prep
  July 2018: underground installation
  2020: beginning of LZ commissioning
Long lead-time procurements are underway
Quality assurance and testing for hardware underway; material screening program busy
LZ benefits from excellent LUX calibrations plus understanding of BGs, and from NEST
LZ science run planned to start in 2021:
  1,000 live-days and 5.6T fiducial mass
  Baseline SI sensitivity of 2.3×10-48 cm2
  Start probing the n floor at <10 GeV/c2

## Slide 20
Backup Slides

## Slide 21: Hypothetical 222Rn Scenarios
Powerful background rejection thanks to Profile-Likelihood-Ratio (PLR) analysis
Sensitivity estimate is robust!

## Slide 22: WIMP Signal Region in LZ
10 GeV WIMP
1σ
2σ
(x5)
(x500)

## Slide 23: WIMP Signal Region in LZ
40 GeV WIMP
1σ
2σ
PDF known with great precision
(x5)
(x500)

## Slide 24: WIMP Signal Region in LZ
1 TeV WIMP
1σ
2σ
(x5)
(x500)

## Slide 25: Effective background rejection with PLR
ER + 8B

## Slide 26: What is NEST?
Noble Element Simulation Technique
Simulates excitation, ionization, and elastic scattering processes
Simulates electron recombination and escape/drift
Pulse shapes: S1 triplet and singlet decay times, and photon travel times
http://nest.physics.ucdavis.edu/site/
  See website for publications list
Used by LUX, LZ, XENON100, XENON1T/nT, PandaX