## Slide 1: Subjects for Master Theses
Dr. Aristotelis Kyriakis
Senior Researcher
INPP, NCSR DEMOKRITOS

## Slide 2: Detector Instrumentation Lab
Candidate Profile:
1)Physicist/Engineer
2) Programming skills-> C++ /ROOT
HL –HLC, CMS Tracker Upgrade
Contact persons: loukas@inp.demokritos.gr, kyriakis@inp.demokritos.gr

## Slide 3
MOS
Diode:2.5x2.5 mm2
Diode:1.25x1.25 mm2
2S Sensor
2S Sensor
HL-LHC : 6’’ wafer with 2S Sensors
FZ 240μm width p-type wafer
CMS Tracker Layout

## Slide 4: Sensor Irradiation, CV measurements
Clear evidence of positive charge induced in the oxide of the MOS structures after exposure to gamma photons
Shift of the flatband voltage (Vfb) to higher absolute values and increase of the dopant concentration (Ndop)
Oxide thickness remains not affected because it is a geometric characteristic of the device
60Co, 11TBq

## Slide 5: Sensor Irradiation, IV measurements

## Slide 6: DESY - Test Beam Analysis (I)
1.5 T Dipole Magnet
Mimosa Telescope
MAPS pixel planes
1 x 2 cm2 size
18.4μm pixel pitch

## Slide 7: DESY - Test Beam Analysis (II)
4GeV e- Beam
M2
z = 152cm
M1
z = 0cm
M3
z = 305cm
M6
z = 859cm
M4
z = 556cm
M5
z = 707cm
FEI4
z = 782cm
DUT
AC-M1803
zTOP = 365cm
zBOT = 367cm

## Slide 8: DESY - Test Beam Analysis (III)
Right
Left
CBC0
CBC0
CBC7
DC-DC
Upstream

## Slide 9
HL-LHC : CBC STUB logic

## Slide 10: Stub logic in CBC chip

## Slide 11: Radioactive Source Localization Lab
Contact person: kyriakis@inp.demokritos.gr

## Slide 12: Radioactive Source Localization by a Network of CZT Sensors
Using Planar spectroscopic CZT sensor topology study the capability to localize Radioactive Sources in an open area
Candidate Profile:
1)Physicist/Engineer
2) Programming skills-> C++/ Java /ROOT
Main task: Localization of light shielded and/or moving sources

## Slide 13: Radioactive Source Localization by an autonomous rover equipped with CZT Sensors
Candidate Profile:
1)Physicist/Engineer
2) Programming skills-> C++/ Java /python
Main task: write a stand alone software in java to retrieve data from CZT sensor and analyze them

## Slide 14: Low-Cost Radiation detectors
Candidate Profile:
1)Physicist/Engineer
2) Programming skills-> Cadence/Orcad/Pspice simulation packages
Main Task: Design Low noise board + evaluation software