## Slide 1: Absolute radii of chlorine and potassium: A heavyweight solution to a small problem
Michael Heines
Supervisor: Thomas Cocolios
On behalf of the muX collaboration

## Slide 2: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 3: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 4: Measurements of
[1] Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
[2] Garcia Ruiz, R. , et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.
Notes: Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
Garcia Ruiz, Ronald Fernando, et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.

## Slide 5: Benefit of absolute radii
Visualizing global trends
Input for other experiments
Isotone shifts
Mirror nuclei
[1] Angeli, István, and Krassimira Petrova Marinova. "Table of experimental nuclear ground state charge radii: An update." Atomic Data and Nuclear Data Tables 99.1 (2013): 69-95.
[1]

## Slide 6
Notes: Yang, X. F., et al. "Laser spectroscopy for the study of exotic nuclei." Progress in Particle and Nuclear Physics 129 (2023): 104005.

## Slide 7: King plot
  : Mass shift factor
  : Field shift factor

## Slide 8: King plot
  : Mass shift factor
  : Field shift factor

## Slide 9: King plot
  : Mass shift factor
  : Field shift factor
No odd-Z element with 3 stable isotopes!

## Slide 10: King plot
  : Mass shift factor
  : Field shift factor
[1] Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
[2] Garcia Ruiz, R. , et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.

## Slide 11: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 12: Muonic atoms
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects
K

## Slide 13: Muonic atoms
K
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects

## Slide 14: Muonic atoms
µK
µ-
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects

## Slide 15: Muonic atoms
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects
µK
µ-
Muon n = 14 orbital is inside electron n = 1 orbital  electron correlation is negligible

## Slide 16: Extracting radii
Finite size correction scales with
Calculate transition energy for many radii  Compare with experiment
Typical limitations:
  Nuclear polarization (theory)
  Nuclear shape (electron scattering)
  Energy calibration
Simple calculations with mudirac code [1]
[1] Sturniolo, Simone, and Adrian Hillier. "Mudirac: A Dirac equation solver for elemental analysis with muonic X‐rays." X‐Ray Spectrometry 50.3 (2021): 180-196.

## Slide 17: Extracting radii
Finite size correction scales with
Calculate transition energy for many radii  Compare with experiment
Typical limitations:
  Nuclear polarization (theory)
  Nuclear shape (electron scattering)
  Energy calibration
Image courtesy: Ben Ohayon
Relative precision
Proton number

## Slide 18: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 19: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
Muon veto
Muon entrance
Target
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 20: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µ-
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 21: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µH
D2
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 22: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µD
MFPµD >> MFPµH
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 23: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µZ
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 24: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µZ
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 25: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 26: Primary goals
Remeasurement of 39, 41K (macroscopic target)
First measurement of 40K (microscopic implanted target)
a
First measurement of isotopically pure 35, 37Cl (macroscopic target)
q

## Slide 27: PSI – High intensity proton accelerator facility (HIPA)

## Slide 28: Setup

## Slide 29: Setup
µ beam
Gas inlet

## Slide 30: Data filtering: Timing optimization
IDS at ISOLDE:
Background contributions:
Continuous
Muon lifetime
Muonic atom lifetime
Image and IDS numbers from R. Lica and Z. Yue

## Slide 31: Data filtering: Timing optimization
ns
Best detectors:  5 times better timing

## Slide 32: Data filtering: Gain drift correction
Before correcting
After correcting

## Slide 33: Data filtering: Gain drift correction
Before correcting
After correcting

## Slide 34: Energy calibration
Long statistics
One of the most linear detectors
Linear background (possible reason for deviations)
Still trying to improve

## Slide 35: Interpreting energy Vs time plots
110mAg

## Slide 36: Interpreting energy Vs time plots
110mAg

## Slide 37: Interpreting energy Vs time plots
39K np-1s

## Slide 38: Interpreting energy Vs time plots
110mAg
Muon capture

## Slide 39: Potassium muonic isotope shift (preliminary)
5 days
10 hours
10 hours
Ag-110m

## Slide 40: Potassium muonic isotope shift (preliminary)

## Slide 41: Chlorine measurement (preliminary)
Literature
Muonic 2p-1s energy:
  natCl: 578.56(30) keV
Expected improvement on 2p-1s transition energy:
  300 eV  Most likely < 30 eV
Expected improvement on radii:
  0.45%  ~0.10-0.15 % (including systematics)

## Slide 42: Chlorine measurement (preliminary)
Literature
Muonic 2p-1s energy:
  natCl: 578.56(30) keV
Expected improvement on 2p-1s transition energy:
  300 eV  Most likely < 30 eV
Expected improvement on radii:
  0.45%  ~0.10-0.15 % (including systematics)

## Slide 43: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experimental campaign on potassium and chlorine
Different physics cases

## Slide 44: Other stuff we’ve done
248Cm
Quadrupoles of stable Re
Use of microcalorimeters

## Slide 45: Future plans
Charge radius for Z= 3-10
Benchmarking laser spectroscopy
Charge radius of 226Ra

## Slide 46: Conclusion
Muonic atoms can be used as precise probes for the nucleus
  Giving input for laser spectroscopy
  Inputs for other experiments
  Radii comparison across elements
Measured transition energies of Cl and K
  Theory calculations have been initiated
  In-depth analysis ongoing (ideal precision < 20 eV)

## Slide 47: Thank you for your attention!
Thanks to the muX collaboration and the QUARTET collaboration:

## Slide 48: Backup slides

## Slide 49
Field-theoretical approach
Slide courtesy: Igor Valuev

## Slide 50
Modified photon propagator
Slide courtesy: Igor Valuev

## Slide 51
What is needed from the nuclear side
Slide courtesy: Igor Valuev

## Slide 52: Dynamic hyperfine splitting
Slide courtesy: Stella Vogiatzi

## Slide 53: Including the quadrupole moment (248Cm)
Slide courtesy: Stella Vogiatzi

## Slide 54: Development – anticoincidence spectrum

## Slide 55: Muonic x rays
Captured in high-n state  Cascade down
X rays emitted in atomic transition
  Electronic atoms: < 100 keV
  Muonic atoms: Up to 10 MeV
Information about energy levels  Extract nuclear properties

## Slide 56: How sensitive are we?
Groundstate wavefunction has sizeable overlap with the nucleus
Sensitivity increase:
  Nuclear size:
  Quadrupole:
  Octupole:
[1] S. M. Vogiatzi. The fitting of the hyperfine splitting of the 5 -> 4 transitions in muonic Re-185. Master’s thesis, ETH Zurich, 2018.
[1]

## Slide 57: How sensitive are we?
Groundstate wavefunction has sizeable overlap with the nucleus
Sensitivity increase:
  Nuclear size:
  Quadrupole:
  Octupole:
[1] S. M. Vogiatzi. The fitting of the hyperfine splitting of the 5 -> 4 transitions in muonic Re-185. Master’s thesis, ETH Zurich, 2018.
[1]

## Slide 58: Background – Producing muons
p+
12C
p+
Protons on a graphite target
n(p, p )p

p(p, p ) n


## Slide 59: Muon half-life
Yamazaki, T., et al. "Negative moun spin rotation." Physica Scripta 11.3-4 (1975): 133.

## Slide 60: Muon-catalyzed fusion
Muonic deuterium + hydrogen form a molecule
Interatomic distance ~200 times smaller
Thermal vibrations break through fusion barrier (down to 1K)
Not sufficient for net gain, but still very cool

## Slide 61: General time cut
Suboptimal time window:
  Too small  Miss significant signal
  Too large  Include additional background
Imperfect timing  [-50ns; 500ns]
Adamczak, A., et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 62: Fitting with Hypermet
Model
  Gaussian
  Low energy tail
  Step function
  Linear background

## Slide 63: Online optimization – Trapezoid

## Slide 64: Online optimization – Trapezoid

## Slide 65: MMC detector

## Slide 66: Compare to other methods
Limited to ~10-3
Electron scattering: A lot of disagreement  Conservative estimate 0.5-1% uncertainty on radii